test12344

318 Lower Snake River

PSE

Report Number test12344\_Revision1\_20231121

Revision Number 1

Report Period 2022-12-31 – 2023-11-21

Generated on 2023-11-21

Table of Contents

[Table of Contents 2](#_Toc0000000001)

[Revisions 3](#_Toc0000000002)

[Report Revisions 3](#_Toc0000000003)

[Template Revisions 3](#_Toc0000000004)

[Definitions 4](#_Toc0000000005)

[Introduction 4](#_Toc0000000006)

[Summary 5](#_Toc0000000007)

[Performance Monitoring 6](#_Toc0000000008)

[Production Availability Report 6](#_Toc0000000009)

[Overview of Operational Adjustments to Availability 6](#_Toc0000000010)

[Availability Incidents and Downtime Allocation 6](#_Toc0000000011)

[Production Availability of Current Production Period 7](#_Toc0000000012)

[Availability(%) for the past 12 months 7](#_Toc0000000013)

[Production(MWh) for the past 12 months 7](#_Toc0000000014)

[Maintenance and Service 8](#_Toc0000000015)

[Completed Service 8](#_Toc0000000016)

[Parts Consumed for Completed Service 28](#_Toc0000000017)

[In Progress 29](#_Toc0000000018)

[Modernization/Upgrade 29](#_Toc0000000019)

[Completed Retrofits 29](#_Toc0000000020)

[Parts Consumed for Completed Retrofits 29](#_Toc0000000021)

[Environment, Health and Safety Performance 30](#_Toc0000000022)

[Signed on behalf of: 31](#_Toc0000000023)

Revisions

Report Revisions

|  |  |  |  |
| --- | --- | --- | --- |
| **Report Revision  No.** | **Comments** | **Date** | **Generated by** |
| 1 | Initial Version of Report | 2023-06-12 | juan.delacruz@siemensgamesa.com |

Template Revisions

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Template**  **Name** | **Template Type** | **Template Revision  No.** | **Comments** | **Date** | **Created by** |
| Report\_Template 1 | Contractual Monthly Report | 1 |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

Definitions

Insert definitions statement

Introduction

This report contains a monthly summary of the turbine performance data for turbine type(s) [EXAMPLE TEXT] This report contains a monthly summary of the XYZ data and events on site and represents the production data and error messages for turbine type(s) SWT-2.3-101.

The definitions of the formula used in the calculation of the technical report are taken from availability of the service agreement of the applicable contract. For more information, see the chapter: Warranty and availability.

In addition, this report includes information on completed corrective and preventive maintenance, and retrofits, and corrective and preventive maintenance in progress since the reported month.

Summary

Paragraph text to be inserted summarizing the overall status of the windfarm

Overall Availability: Overall Availability: 0.00%

Overall Production: Overall Production: 0.00kWh

Overall Capacity Factor: Overall Capacity Factor: 0.00%

Performance Monitoring

Production Availability Report

| **Turbine Name** | **Production (kWh)** | **Total Time (Period Hours)** | **SGRE Down-time (MD)** | **Grid Down-time (GD)** | **Wind Down-time (WD)** | **Other Down-time (OD)** | **Service Down-time (SD)** | **Total Down-time** | **TBA (%)** | **CF (%)** | **Equiv. Hours** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Contract Summary** | 0.00 | 0 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |

Overview of Operational Adjustments to Availability

| **Adjustment Status** | **Turbine Name** | **Start Date and Time** | **End Date and Time** | **Duration in Hours** | **Adjustment Type** | **Latest Comment** |
| --- | --- | --- | --- | --- | --- | --- |

Availability Incidents and Downtime Allocation

| **Turbine Name** | **Initial Alarm** | **Start Date and Time** | **End Date and Time** | **Duration in Hours** | **SGRE Down-time (MD)** | **Grid Down-time (GD)** | **Wind Down-time (WD)** | **Other Down-time (OD)** | **Service Down-time (SD)** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Production Availability of Current Production Period

Start Date: 1/1/0001 End Date:1/1/0001

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Turbine Name** | **Production (kWh)** | **Total Time (Period Hours)** | **SGRE Down-time (MD)** | **Grid Down-time (GD)** | **Wind Down-time (WD)** | **Other Down-time (OD)** | **Service Down-time (SD)** | **Total Down-time** | **TBA (%)** | **CF (%)** | **Equiv. Hours** |
| **Contract Summary** | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Availability(%) for the past 12 months

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Average** | **100.00** | **100.00** | **100.00** | **100.00** | **100.00** | **100.00** | **100.00** | **100.00** | **100.00** | **100.00** | **100.00** | **100.00** | **100.00** |
| **Turbine Name** | **Mon01** | **Mon02** | **Mon03** | **Mon04** | **Mon05** | **Mon06** | **Mon07** | **Mon08** | **Mon09** | **Mon10** | **Mon11** | **Mon12** | **Average** |
| T12345678 | 100.00 | 100.00 | 100.00 | 100.00 | 100.00 | 100.00 | 100.00 | 100.00 | 100.00 | 100.00 | 100.00 | 100.00 | 100.00 |

Production(MWh) for the past 12 months

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Grand Total** | **12340.5** | **12340.5** | **12340.5** | **12340.5** | **12340.5** | **12340.5** | **12340.5** | **12340.5** | **12340.5** | **12340.5** | **12340.5** | **12340.5** | **123400.5** |
| **Turbine Name** | **Mon01** | **Mon02** | **Mon03** | **Mon04** | **Mon05** | **Mon06** | **Mon07** | **Mon08** | **Mon09** | **Mon10** | **Mon11** | **Mon12** | **Total** |
| T12345678 | 1234.5 | 1234.5 | 1234.5 | 1234.5 | 1234.5 | 1234.5 | 1234.5 | 1234.5 | 1234.5 | 1234.5 | 1234.5 | 1234.5 | 12340.5 |

Maintenance and Service

Completed Service

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Turbine** | **Order Type** | **Maintenance Activity Type** | **Order Number** | **Order Description** | **Planned Start Date** | **Actual Start Date** | **Actual End Date** | **TECO Date** | **Total Hours** |
| K-04 | Corrective | MINOR | 60801678 | K04 No Comm | 7/10/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-05 | Corrective | MAJOR | 60803750 | LSR E05 GBX 500 Hr Inspection | 7/11/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-04 | Corrective | MAJOR | 60803753 | LSR K04 GBX 500 Hr Inspection | 9/21/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60803838 | J03 Gear Box Inspection | 7/11/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| F-06 | Corrective | MINOR | 60803967 | F06 Pitch Pawl Hose | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-07 | Corrective | MINOR | 60803968 | F07 IO3 Board replaced | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| H-03 | Corrective | MINOR | 60843649 | H03 A21 Fan RePment | 8/9/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| I-04 | Corrective | MINOR | 60843652 | I04 A21 Fan RePlment | 8/15/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60843655 | J03 RPM Sensor error | 8/9/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60843683 | R05 GBX Support | 8/12/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| O-05 | Corrective | MINOR | 60843872 | O05 Cap Fan Blown | 8/9/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60840444 | M-07 replace #2 yaw motor | 8/6/2023 12:00:00 AM |  |  | 9/28/2023 12:00:00 AM |  |
| H-04 | Corrective | MINOR | 60841287 | H04 Blow Off Valve RPlment | 8/7/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-05 | Corrective | MINOR | 60841288 | H05 PPawl Hose Replment | 8/7/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| F-04 | Corrective | MINOR | 60797482 | F-04 replace crane hoses | 7/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-02 | Corrective | MINOR | 60797483 | F-02 replace pur rubber | 7/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-04 | Corrective | MINOR | 60798937 | F04 CCJ Pump replacement | 7/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-06 | Corrective | MINOR | 60800062 | E06 Hub Mod Replacement | 7/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60800063 | K04 MC reset | 7/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60794248 | K-04 t/s no comms | 7/3/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-03 | Corrective | MINOR | 60796733 | C03 RPM Sensor T/S | 7/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| L-04 | Corrective | MINOR | 60796734 | L04 Leaking Hydro Hose | 7/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-08 | Corrective | MINOR | 60792109 | M-08 replace I O board | 6/30/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-05 | Corrective | MINOR | 60792110 | L-05 replace cdabinet fans | 6/30/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-09 | Corrective | MINOR | 60793319 | A-09 t/s smoke in the inverter | 7/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-03 | Corrective | MINOR | 60794240 | N-03 t/s main braker cutout | 7/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-07 | Corrective | MINOR | 60784772 | E07 Replace of HMF Hoses | 6/28/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-03 | Corrective | MINOR | 60784774 | M03 GBX Dressing | 6/27/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| F-01 | Corrective | MINOR | 60791013 | F01 Climb Ass. Pully | 6/29/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-08 | Corrective | MINOR | 60668049 | D08 No lube to Hub TS | 3/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-06 | Corrective | MINOR | 60668050 | O06 Vavle 116 replacment | 3/22/2023 12:00:00 AM | 3/22/2023 5:00:00 AM | 3/22/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 13.00 |
| C-07 | Corrective | MINOR | 60668902 | C-07 Exchange Gen Bearings | 3/23/2023 12:00:00 AM | 3/29/2023 7:00:00 AM | 3/30/2023 6:00:00 PM | 9/6/2023 12:00:00 AM | 44.00 |
| C-03 | Corrective | MINOR | 60671276 | C03 Gear Oil pump/Motor Replacement | 3/26/2023 12:00:00 AM | 3/26/2023 7:00:00 AM | 3/26/2023 3:30:00 PM | 9/6/2023 12:00:00 AM | 17.00 |
| E-05 | Corrective | MINOR | 60778976 | E05 Yaw Converter Error | 6/25/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60779014 | K04 No Comm | 6/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-04 | Corrective | MINOR | 60779019 | L04 Grid FIlter Res Error | 6/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-06 | Corrective | MINOR | 60779616 | E06 A21 Cabinet Lock Replace | 6/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-05 | Corrective | MINOR | 60783156 | L05 Yaw Mtr #1 Replaced | 6/27/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-06 | Corrective | MINOR | 60783157 | E06 Yaw Gr Leak Repair | 6/27/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60783158 | K04 TOR TVF | 6/27/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-06 | Corrective | MINOR | 60663407 | A06 Hydro return hose Leak | 3/18/2023 12:00:00 AM | 3/18/2023 9:30:00 AM | 3/20/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 44.00 |
| S-05 | Corrective | MINOR | 60663411 | S05 Rotating Union and hoses Leaking | 3/18/2023 12:00:00 AM | 3/18/2023 1:30:00 PM | 3/20/2023 3:30:00 PM | 9/6/2023 12:00:00 AM | 38.00 |
| N-06 | Corrective | MINOR | 60663440 | N06 Internal Blade Inspection | 3/20/2023 12:00:00 AM | 3/20/2023 7:00:00 AM | 3/20/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 12.00 |
| N-07 | Corrective | MINOR | 60663445 | N07 Internal Blade inspection | 3/20/2023 12:00:00 AM | 3/20/2023 11:00:00 AM | 3/20/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 12.00 |
| G-03 | Corrective | MINOR | 60663448 | G03 Replace Yaw Motor #5 | 3/18/2023 12:00:00 AM | 3/18/2023 11:30:00 AM | 3/18/2023 1:30:00 PM | 9/8/2023 12:00:00 AM | 4.00 |
| R-03 | Corrective | MINOR | 60663453 | R03 HS GB Beariung temps PT | 3/18/2023 12:00:00 AM | 3/18/2023 3:30:00 PM | 3/19/2023 7:00:00 PM | 9/6/2023 12:00:00 AM | 25.00 |
| O-02 | Corrective | MINOR | 60665700 | O02 Internal Blade Inspections | 3/21/2023 12:00:00 AM | 3/21/2023 6:30:00 AM | 3/21/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 19.50 |
| O-03 | Corrective | MINOR | 60665703 | O03 Internal Blade Inspections | 3/21/2023 12:00:00 AM | 3/21/2023 11:00:00 AM | 3/21/2023 3:30:00 PM | 10/5/2023 12:00:00 AM | 13.50 |
| N-08 | Corrective | MINOR | 60665704 | N08 Internal Blade Inspection | 3/21/2023 12:00:00 AM | 3/21/2023 7:00:00 AM | 3/21/2023 11:00:00 AM | 10/5/2023 12:00:00 AM | 12.00 |
| O-01 | Corrective | MINOR | 60665706 | O01 Internal Blade Inspection | 3/21/2023 12:00:00 AM | 3/21/2023 11:00:00 AM | 3/21/2023 5:00:00 PM | 10/5/2023 12:00:00 AM | 15.00 |
| G-04 | Corrective | MINOR | 60665849 | G04 IMS exchange | 4/9/2023 12:00:00 AM |  |  | 8/18/2023 12:00:00 AM |  |
| O-02 | Corrective | MINOR | 60666286 | O02 Crane Hose repair | 3/21/2023 12:00:00 AM | 3/21/2023 5:00:00 AM | 3/21/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 11.00 |
| O-04 | Corrective | MINOR | 60666288 | O04 Grid Cap Fan Replacement | 3/21/2023 12:00:00 AM | 3/21/2023 7:00:00 AM | 3/21/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 16.00 |
| R-07 | Corrective | MINOR | 60666289 | R07 Low Yaw Grease | 3/21/2023 12:00:00 AM | 3/21/2023 11:00:00 AM | 3/21/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 16.00 |
| L-04 | Corrective | MINOR | 60666458 | L04 Climb assist repair | 3/21/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-04 | Corrective | MINOR | 60666869 | O04 Internal Blade Inspection | 3/22/2023 12:00:00 AM | 3/22/2023 6:30:00 AM | 3/22/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 20.50 |
| O-05 | Corrective | MINOR | 60666870 | O05 Internal Blade Inspections | 3/22/2023 12:00:00 AM | 3/22/2023 11:00:00 AM | 3/22/2023 5:00:00 PM | 10/5/2023 12:00:00 AM | 16.00 |
| O-06 | Corrective | MINOR | 60666872 | O06 Internal Blade Inspection | 3/22/2023 12:00:00 AM | 3/22/2023 7:00:00 AM | 3/22/2023 11:00:00 AM | 10/5/2023 12:00:00 AM | 11.00 |
| O-07 | Corrective | MINOR | 60666877 | O07 Internal Blade Inspection | 3/22/2023 12:00:00 AM | 3/22/2023 11:00:00 AM | 3/23/2023 5:00:00 PM | 10/5/2023 12:00:00 AM | 23.50 |
| O-08 | Corrective | MINOR | 60666878 | O08 Internal Blade Inspection | 3/27/2023 12:00:00 AM | 3/27/2023 5:00:00 AM | 3/27/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 24.00 |
| B-02 | Corrective | MINOR | 60667513 | B02 Tower Lights Issues | 3/22/2023 12:00:00 AM | 3/22/2023 6:30:00 AM | 3/22/2023 3:30:00 PM | 9/8/2023 12:00:00 AM | 33.50 |
| E-02 | Corrective | MINOR | 60775944 | E02 A21 Fan Replacement | 6/22/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-03 | Corrective | MINOR | 60775947 | E03 Cable Clamp Replacement | 6/23/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60777001 | B01 Repair GB ELbow | 6/23/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-04 | Corrective | MINOR | 60777006 | C04 Repair of Yaw Gear 6 | 6/23/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-06 | Corrective | MINOR | 60777007 | C06 Replace Inline elbow | 6/23/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| E-04 | Corrective | MINOR | 60777010 | E04 Replace Blowoff Valve | 6/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-08 | Corrective | MINOR | 60777081 | F08 Tower Cleaning Support | 6/24/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-04 | Corrective | MINOR | 60777082 | L04 GBX Support | 6/24/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-01 | Corrective | MINOR | 60593059 | D01 Internal Blade Inspection | 1/23/2023 12:00:00 AM | 1/23/2023 6:00:00 AM | 1/23/2023 11:30:00 AM | 9/8/2023 12:00:00 AM | 14.00 |
| D-02 | Corrective | MINOR | 60593100 | D02 Internal Blade Inspections | 1/23/2023 12:00:00 AM | 1/23/2023 11:00:00 AM | 1/23/2023 4:30:00 PM | 9/8/2023 12:00:00 AM | 15.50 |
| D-03 | Corrective | MINOR | 60594148 | D03 Internal Blade Inspection | 1/24/2023 12:00:00 AM | 1/24/2023 7:00:00 AM | 1/24/2023 12:00:00 PM | 9/8/2023 12:00:00 AM | 14.00 |
| D-04 | Corrective | MINOR | 60594157 | D04 Internal Blade Inspections | 1/24/2023 12:00:00 AM | 1/24/2023 12:00:00 PM | 1/24/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 15.00 |
| D-06 | Corrective | MINOR | 60594159 | D06 Internal Blade Inspection | 1/24/2023 12:00:00 AM | 1/24/2023 7:00:00 AM | 1/24/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 12.00 |
| D-07 | Corrective | MINOR | 60594184 | D07 Internal Blade Inspection | 1/24/2023 12:00:00 AM | 1/24/2023 11:00:00 AM | 1/24/2023 4:00:00 PM | 9/8/2023 12:00:00 AM | 15.00 |
| J-01 | Corrective | MINOR | 60594189 | J01 IO Board failure | 1/24/2023 12:00:00 AM | 1/24/2023 5:00:00 AM | 1/24/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 32.00 |
| D-06 | Corrective | MINOR | 60594366 | D06 Electrical lights TS | 1/24/2023 12:00:00 AM | 1/24/2023 6:00:00 AM | 1/24/2023 4:30:00 PM | 9/8/2023 12:00:00 AM | 18.50 |
| D-03 | Corrective | MINOR | 60594370 | D03 Hydro Gasket x change | 1/24/2023 12:00:00 AM | 1/24/2023 11:00:00 AM | 1/24/2023 12:00:00 PM | 8/18/2023 12:00:00 AM | 1.00 |
| D-08 | Corrective | MINOR | 60595452 | D08 Internal Blade Inspection | 1/25/2023 12:00:00 AM | 1/25/2023 7:00:00 AM | 1/25/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 12.00 |
| D-09 | Corrective | MINOR | 60595453 | D09 Internal Blade Inspection | 1/25/2023 12:00:00 AM | 1/25/2023 11:00:00 AM | 1/25/2023 3:30:00 PM | 9/8/2023 12:00:00 AM | 12.00 |
| E-01 | Corrective | MINOR | 60595454 | E01 Internal Blade Inspection | 1/25/2023 12:00:00 AM | 1/25/2023 7:00:00 AM | 1/25/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 12.00 |
| E-02 | Corrective | MINOR | 60595457 | E02 Internal Blade Inspetion | 1/25/2023 12:00:00 AM | 1/25/2023 11:00:00 AM | 1/26/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 20.00 |
| E-03 | Corrective | MINOR | 60595458 | E03 Internal Blade Inspection | 1/25/2023 12:00:00 AM | 1/25/2023 6:30:00 AM | 1/25/2023 3:00:00 PM | 8/18/2023 12:00:00 AM | 18.50 |
| E-04 | Corrective | MINOR | 60595459 | E04 Internal Blade Inspection | 1/25/2023 12:00:00 AM | 1/25/2023 6:00:00 AM | 1/25/2023 3:30:00 PM | 9/8/2023 12:00:00 AM | 16.00 |
| H-04 | Corrective | MINOR | 60595520 | H04 Yaw Fail Stop | 1/25/2023 12:00:00 AM | 1/25/2023 5:00:00 AM | 1/25/2023 5:30:00 PM | 9/6/2023 12:00:00 AM | 22.50 |
| G-04 | Corrective | MINOR | 60595562 | G04 Gen Luber TS | 1/25/2023 12:00:00 AM | 1/25/2023 12:51:00 AM | 1/25/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 10.07 |
| D-09 | Corrective | MINOR | 60595563 | D09 CCJ Breaker TS | 1/25/2023 12:00:00 AM | 1/25/2023 2:30:00 PM | 2/14/2023 7:00:00 AM | 8/18/2023 12:00:00 AM | 1.50 |
| N-02 | Corrective | MINOR | 60706861 | N02 Yaw Motor TS | 4/24/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-01 | Corrective | MINOR | 60707486 | A01 Base Bolt Tentsion | 4/25/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-02 | Corrective | MINOR | 60707487 | A02 Base Bolt Tentsion | 4/25/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-03 | Corrective | MINOR | 60707489 | A03 Base Bolt Tentsion | 4/25/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-04 | Corrective | MINOR | 60707499 | A04 Base Blot Tentsion | 4/25/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-05 | Corrective | MINOR | 60707562 | A05 Base Bolt Tentsion | 4/25/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-06 | Corrective | MINOR | 60707567 | A06 Base Bolt Tension | 4/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| R-10 | Corrective | MINOR | 60707575 | R10 RPM Sensor | 4/25/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-02 | Corrective | MINOR | 60707579 | C02 IO Board Failure | 4/25/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60708244 | M07 Converter | 4/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| B-01 | Corrective | MAJOR | 60760024 | LSR B01 GBX 500 Hr Inspection | 8/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-04 | Corrective | MAJOR | 60760025 | LSR E04 GBX 500 Hr Inspection | 9/4/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| C-08 | Corrective | MINOR | 60760138 | C08 Hydro Filter Gaskit | 6/8/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60761094 | M07 MV3000 CDC Grid Rplc | 6/9/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| C-09 | Corrective | MINOR | 60761095 | C09 Yaw Deck Bracket | 6/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-09 | Corrective | MINOR | 60824098 | B-09 t/s pitch hydro superheat | 7/26/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| M-05 | Corrective | MINOR | 60824099 | M-05 t/s coolant low | 7/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-01 | Corrective | MINOR | 60824160 | G-01 replace hydro valves | 7/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-04 | Corrective | MINOR | 60824175 | L-04 t/s pitchpump error | 7/27/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-01 | Corrective | MINOR | 60824176 | I-01 t/s slip ring errors | 7/27/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| G-03 | Corrective | MINOR | 60826279 | G-03 replace cabinet fan | 7/27/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-01 | Corrective | MINOR | 60856781 | J01 Replace V 119 | 8/23/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| A-01 | Corrective | MINOR | 60510119 | top up coolant A-01 | 11/10/2022 12:00:00 AM | 11/10/2022 7:00:00 AM | 11/10/2022 5:00:00 PM | 4/26/2023 12:00:00 AM | 11.00 |
| A-03 | Corrective | MINOR | 60510180 | top up coolant A-03 | 11/10/2022 12:00:00 AM | 11/10/2022 5:00:00 AM | 11/10/2022 2:00:00 PM | 4/26/2023 12:00:00 AM | 10.00 |
| A-07 | Corrective | MINOR | 60510183 | top up coolant A-07 | 11/9/2022 12:00:00 AM | 11/10/2022 12:00:00 PM | 11/10/2022 12:30:00 PM | 4/26/2023 12:00:00 AM | 1.00 |
| F-07 | Corrective | MINOR | 60510185 | top up coolant F-07 | 11/10/2022 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-08 | Corrective | MINOR | 60510189 | top up coolant F-08 | 11/10/2022 12:00:00 AM | 11/10/2022 4:30:00 PM | 11/10/2022 5:00:00 PM | 8/18/2023 12:00:00 AM | 1.00 |
| D-02 | Corrective | MINOR | 60510192 | top up coolant D-02 | 11/10/2022 12:00:00 AM | 11/10/2022 1:00:00 PM | 11/10/2022 1:30:00 PM | 8/18/2023 12:00:00 AM | 1.00 |
| E-06 | Corrective | MINOR | 60510193 | top up coolant E-06 | 11/10/2022 12:00:00 AM | 11/10/2022 2:30:00 PM | 11/10/2022 3:00:00 PM | 8/18/2023 12:00:00 AM | 1.00 |
| F-04 | Corrective | MINOR | 60510194 | top up coolant F-04 | 11/10/2022 12:00:00 AM | 11/10/2022 4:00:00 PM | 11/10/2022 4:30:00 PM | 8/18/2023 12:00:00 AM | 1.00 |
| H-02 | Corrective | MINOR | 60510196 | top up coolant H-02 | 11/10/2022 12:00:00 AM | 11/11/2022 12:00:00 PM | 11/11/2022 1:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| L-05 | Corrective | MINOR | 60510240 | top up coolant L-05 | 11/10/2022 12:00:00 AM | 11/11/2022 4:00:00 PM | 11/11/2022 4:30:00 PM | 9/8/2023 12:00:00 AM | 1.00 |
| C-08 | Corrective | MINOR | 60510243 | top up coolant C-08 | 11/10/2022 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-08 | Corrective | MINOR | 60510245 | top up coolant D-08 | 11/10/2022 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| E-01 | Corrective | MINOR | 60510246 | top up coolant E-01 | 11/10/2022 12:00:00 AM | 11/10/2022 2:00:00 PM | 11/10/2022 2:30:00 PM | 8/18/2023 12:00:00 AM | 1.00 |
| F-01 | Corrective | MINOR | 60510247 | top up coolant F-01 | 11/10/2022 12:00:00 AM | 11/10/2022 3:00:00 PM | 11/10/2022 3:30:00 PM | 8/18/2023 12:00:00 AM | 1.00 |
| F-03 | Corrective | MINOR | 60510248 | top up coolant F-03 | 11/10/2022 12:00:00 AM | 11/10/2022 3:30:00 PM | 11/10/2022 4:00:00 PM | 8/18/2023 12:00:00 AM | 1.00 |
| G-02 | Corrective | MINOR | 60510249 | top up coolant G-02 | 11/10/2022 12:00:00 AM | 11/11/2022 9:00:00 AM | 11/11/2022 10:00:00 AM | 8/18/2023 12:00:00 AM | 2.00 |
| G-04 | Corrective | MINOR | 60510250 | top up coolant G-04 | 11/10/2022 12:00:00 AM | 11/11/2022 10:00:00 AM | 11/11/2022 11:00:00 AM | 10/5/2023 12:00:00 AM | 2.00 |
| G-05 | Corrective | MINOR | 60510251 | top up coolant G-05 | 11/10/2022 12:00:00 AM | 11/11/2022 11:00:00 AM | 11/11/2022 12:00:00 PM | 10/5/2023 12:00:00 AM | 2.00 |
| H-05 | Corrective | MINOR | 60510252 | top up coolant H-05 | 11/10/2022 12:00:00 AM | 11/11/2022 1:00:00 PM | 11/11/2022 2:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| I-03 | Corrective | MINOR | 60510253 | top up coolant I-03 | 11/10/2022 12:00:00 AM | 11/11/2022 2:00:00 PM | 11/11/2022 3:00:00 PM | 9/7/2023 12:00:00 AM | 2.00 |
| K-01 | Corrective | MINOR | 60510254 | top up coolant K-01 | 11/10/2022 12:00:00 AM | 11/11/2022 3:00:00 PM | 11/11/2022 4:00:00 PM | 9/7/2023 12:00:00 AM | 2.00 |
| A-04 | Corrective | MINOR | 60510256 | top up coolant A-04 | 11/10/2022 12:00:00 AM | 11/15/2022 10:00:00 AM | 11/15/2022 11:00:00 AM | 9/6/2023 12:00:00 AM | 2.00 |
| A-08 | Corrective | MINOR | 60510257 | top up coolant A-08 | 11/10/2022 12:00:00 AM | 11/11/2022 7:00:00 AM | 11/11/2022 8:00:00 AM | 4/26/2023 12:00:00 AM | 2.00 |
| A-06 | Corrective | MINOR | 60510258 | top up coolant A-06 | 11/10/2022 12:00:00 AM | 11/15/2022 11:00:00 AM | 11/15/2022 12:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| B-04 | Corrective | MINOR | 60510259 | top up coolant B-04 | 11/10/2022 12:00:00 AM | 11/15/2022 12:00:00 PM | 11/15/2022 3:00:00 PM | 9/8/2023 12:00:00 AM | 4.00 |
| B-08 | Corrective | MINOR | 60510280 | top up coolant B-08 | 11/10/2022 12:00:00 AM | 11/11/2022 8:00:00 AM | 11/11/2022 9:00:00 AM | 9/6/2023 12:00:00 AM | 2.00 |
| B-09 | Corrective | MINOR | 60510281 | top up coolant B-09 | 11/10/2022 12:00:00 AM | 11/15/2022 1:00:00 PM | 11/15/2022 2:00:00 PM | 9/6/2023 12:00:00 AM | 1.00 |
| B-10 | Corrective | MINOR | 60510282 | top up coolant B-10 | 11/10/2022 12:00:00 AM | 11/17/2022 1:00:00 PM | 11/17/2022 2:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| C-03 | Corrective | MINOR | 60510283 | top up coolant C-03 | 11/10/2022 12:00:00 AM | 11/17/2022 3:00:00 PM | 11/17/2022 4:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| C-09 | Corrective | MINOR | 60510357 | top up coolant C-09 | 11/11/2022 12:00:00 AM | 11/10/2022 12:30:00 PM | 11/10/2022 1:00:00 PM | 8/18/2023 12:00:00 AM | 1.00 |
| D-06 | Corrective | MINOR | 60510358 | top up coolant D-06 | 11/11/2022 12:00:00 AM | 11/10/2022 1:30:00 PM | 11/10/2022 2:00:00 PM | 8/18/2023 12:00:00 AM | 1.00 |
| C-03 | Corrective | MINOR | 60586586 | C03 Internal Blade Inspection | 1/18/2023 12:00:00 AM | 1/18/2023 5:00:00 AM | 1/18/2023 5:30:00 PM | 9/6/2023 12:00:00 AM | 27.50 |
| C-04 | Corrective | MINOR | 60586587 | C04 Internal Blade Inspection | 1/18/2023 12:00:00 AM | 1/18/2023 7:30:00 AM | 1/18/2023 4:30:00 PM | 8/18/2023 12:00:00 AM | 21.50 |
| H-05 | Corrective | MINOR | 60586589 | H05 Internal Blade Inspections | 1/18/2023 12:00:00 AM | 1/18/2023 6:00:00 AM | 1/18/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 30.00 |
| G-01 | Corrective | MINOR | 60586752 | G01 IO3 Board replacement TS | 1/18/2023 12:00:00 AM | 1/18/2023 7:00:00 AM | 1/18/2023 10:00:00 AM | 9/8/2023 12:00:00 AM | 9.00 |
| B-01 | Corrective | MINOR | 60586753 | B01 Hydro high Temp TS | 1/19/2023 12:00:00 AM | 1/20/2023 5:00:00 AM | 1/20/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 20.00 |
| C-05 | Corrective | MINOR | 60586954 | replace deltas C-05 | 1/18/2023 12:00:00 AM | 1/18/2023 6:30:00 AM | 1/18/2023 7:00:00 AM | 8/18/2023 12:00:00 AM | 0.50 |
| I-09 | Corrective | MINOR | 60586963 | replace deltas I-09 | 1/18/2023 12:00:00 AM | 1/18/2023 7:00:00 AM | 1/18/2023 7:30:00 AM | 8/18/2023 12:00:00 AM | 0.50 |
| C-05 | Corrective | MINOR | 60588497 | C05 Internal Blade Inspection | 1/19/2023 12:00:00 AM | 1/19/2023 6:30:00 AM | 1/20/2023 11:00:00 AM | 9/6/2023 12:00:00 AM | 20.50 |
| C-06 | Corrective | MINOR | 60588499 | C06 Internal Blade Inspection | 1/20/2023 12:00:00 AM | 1/20/2023 11:00:00 AM | 1/20/2023 3:30:00 PM | 9/6/2023 12:00:00 AM | 13.50 |
| J-01 | Corrective | MINOR | 60588523 | J01 Internal Inspection | 1/20/2023 12:00:00 AM | 1/20/2023 6:00:00 AM | 1/20/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 27.50 |
| P-03 | Corrective | MINOR | 60590768 | P03 Coolant Top up TS | 1/20/2023 12:00:00 AM | 1/20/2023 6:30:00 AM | 1/20/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 11.00 |
| B-09 | Corrective | MINOR | 60590770 | B09 Coolant top up | 1/20/2023 12:00:00 AM | 1/20/2023 11:00:00 AM | 1/20/2023 12:30:00 PM | 9/6/2023 12:00:00 AM | 2.50 |
| P-01 | Corrective | MINOR | 60590771 | top up low coolant P-01 | 1/20/2023 12:00:00 AM | 1/20/2023 1:00:00 PM | 1/20/2023 3:30:00 PM | 9/6/2023 12:00:00 AM | 2.50 |
| P-01 | Corrective | MINOR | 60590772 | P01 Coolant top up | 1/20/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60590793 | top up low coolant P-03 | 1/20/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| B-09 | Corrective | MINOR | 60590794 | top up low coolant B-09 | 1/20/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-04 | Corrective | MINOR | 60590795 | top up low coolant S-04 | 1/20/2023 12:00:00 AM | 1/20/2023 12:00:00 PM | 1/20/2023 2:00:00 PM | 9/6/2023 12:00:00 AM | 2.50 |
| P-06 | Corrective | MINOR | 60699290 | P06 Yaw Converter TS | 4/18/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-05 | Corrective | MINOR | 60699881 | C05 YawConverter errors | 4/19/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| J-08 | Corrective | MINOR | 60699889 | J08 Door Latch Repair | 4/20/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| H-05 | Corrective | MINOR | 60699893 | H05 Door Latch TS | 4/19/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| E-01 | Corrective | MINOR | 60699899 | E01 Yaw Converter errors | 4/20/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60699927 | G06 Fan Shrouds | 4/19/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| F-05 | Corrective | MINOR | 60699930 | F05 Fan Shrouds | 4/20/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-04 | Corrective | MINOR | 60699932 | J04 Fan Shrouds TS | 4/20/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| A-02 | Corrective | MINOR | 60699936 | A02 CCJ Superheat TS | 4/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-03 | Corrective | MINOR | 60699961 | G03 Grid FIlter Temp Errors | 4/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-04 | Corrective | MINOR | 60699964 | G04 Gen Greaser TS | 4/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-08 | Corrective | MINOR | 60699966 | N08 Plate form adjustment | 4/19/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60700761 | G-06 replace coolant tank strap | 4/19/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| E-01 | Corrective | MINOR | 60702205 | e-01 REPLACE #6 YAW PINION | 4/20/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-04 | Corrective | MAJOR | 60757340 | Lower Snake River K04 GearBox Exchange | 6/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-09 | Corrective | MINOR | 60757352 | C09 Hydro level Check T&T | 6/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-07 | Corrective | MINOR | 60757354 | C07 Valve 33 Replamcement | 6/6/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-05 | Corrective | MINOR | 60757317 | C-05 replace lost ccj nut | 6/6/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| J-04 | Corrective | MINOR | 60758232 | J04 Gear Oil Sample | 6/7/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| O-08 | Corrective | MINOR | 60758390 | O08 Gear Oil Sample | 6/7/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60758391 | P03 Top up Coolant | 6/7/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-06 | Corrective | MINOR | 60758619 | C-06 check hydro level | 6/7/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-06 | Corrective | MINOR | 60821516 | P06 Reacter Fan | 7/24/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| O-09 | Corrective | MINOR | 60821720 | O-09 t/s reacter temp error | 7/24/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| K-04 | Corrective | MAJOR | 60822399 | LSR K04 GBX 500 Hr Inspection | 9/18/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-04 | Corrective | MAJOR | 60822426 | LSR L04 GBX 500 Hr Inspection | 9/19/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-07 | Corrective | MAJOR | 60822429 | LSR L07 GBX 500 Hr Inspection | 9/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-03 | Corrective | MAJOR | 60822439 | LSR M03 GBX 500 Hr Inspection | 9/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-02 | Corrective | MINOR | 60822774 | O-02 t/s converter tripped | 7/25/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| S-04 | Corrective | MINOR | 60822775 | S-04 t/s reactor temp errors | 7/25/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| N-05 | Corrective | MINOR | 60822776 | N-05 t/s no comm | 7/25/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-04 | Corrective | MINOR | 60853929 | J04 Control Contactors TVF | 8/19/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| P-01 | Corrective | MINOR | 60853933 | P01 Hydro Level Low | 8/19/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-02 | Corrective | MINOR | 60854483 | A02 Low Hydro Clean Up | 8/21/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| I-07 | Corrective | MINOR | 60855545 | I07 A21 Fan Replacment | 8/22/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-06 | Corrective | MINOR | 60855546 | I06 Replace Crane Hose | 8/22/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-06 | Corrective | MINOR | 60855550 | I06 Light Ballist Replacement | 8/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-04 | Corrective | MINOR | 60507786 | R04 Replacement of Yaw Gear #3 TS | 11/7/2022 12:00:00 AM | 11/7/2022 7:00:00 AM | 11/8/2022 5:00:00 PM | 9/6/2023 12:00:00 AM | 41.50 |
| L-02 | Corrective | MINOR | 60509415 | L-02 t/s yaw system | 11/9/2022 12:00:00 AM | 11/9/2022 7:00:00 AM | 11/9/2022 3:30:00 PM | 9/8/2023 12:00:00 AM | 12.50 |
| C-07 | Corrective | MINOR | 60509416 | C-07 top up coolant | 11/9/2022 12:00:00 AM | 11/9/2022 2:00:00 PM | 11/9/2022 3:00:00 PM | 8/18/2023 12:00:00 AM | 2.00 |
| H-03 | Corrective | MINOR | 60509417 | H-03 top up coolant | 11/9/2022 12:00:00 AM | 11/9/2022 4:00:00 PM | 11/9/2022 5:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| F-05 | Corrective | MINOR | 60509419 | F-05 top uop coolant | 11/9/2022 12:00:00 AM | 11/9/2022 3:00:00 PM | 11/9/2022 4:00:00 PM | 8/18/2023 12:00:00 AM | 2.00 |
| J-07 | Corrective | MINOR | 60509561 | J-07 top up coolant | 11/9/2022 12:00:00 AM | 11/9/2022 4:59:00 AM | 11/9/2022 2:00:00 PM | 9/7/2023 12:00:00 AM | 2.17 |
| I-07 | Corrective | MINOR | 60509566 | I-07 top up coolant | 11/9/2022 12:00:00 AM | 11/9/2022 12:00:00 PM | 11/9/2022 1:00:00 PM | 9/7/2023 12:00:00 AM | 2.00 |
| O-09 | Corrective | MINOR | 60509517 | O09 Grid Filter Current over load TS | 11/9/2022 12:00:00 AM | 11/9/2022 5:00:00 AM | 11/10/2022 11:00:00 AM | 9/6/2023 12:00:00 AM | 26.50 |
| S-09 | Corrective | MINOR | 60509660 | S09 CCJ Breaker Replacement TS MK | 11/9/2022 12:00:00 AM | 11/9/2022 3:00:00 PM | 11/11/2022 5:30:00 PM | 9/6/2023 12:00:00 AM | 5.50 |
| S-06 | Corrective | MINOR | 60581816 | S06 TOpped up Hydro TS | 1/14/2023 12:00:00 AM | 1/14/2023 7:00:00 AM | 1/14/2023 1:00:00 PM | 2/18/2023 12:00:00 AM | 12.00 |
| D-02 | Corrective | MINOR | 60581818 | D02 Grid Filter Res Temp TS | 1/16/2023 12:00:00 AM | 1/16/2023 7:00:00 AM | 1/16/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 18.00 |
| G-07 | Corrective | MINOR | 60581841 | G07 Yaw Gear replacement | 1/16/2023 12:00:00 AM | 1/16/2023 5:00:00 AM | 1/16/2023 5:00:00 PM | 10/5/2023 12:00:00 AM | 22.00 |
| C-01 | Corrective | MINOR | 60581842 | C01 Internal Blade Inspection | 1/16/2023 12:00:00 AM | 1/16/2023 7:00:00 AM | 1/16/2023 11:00:00 AM | 2/18/2023 12:00:00 AM | 12.00 |
| C-02 | Corrective | MINOR | 60581845 | C02 Internal Blade Inpection | 1/16/2023 12:00:00 AM | 1/16/2023 6:30:00 AM | 1/16/2023 3:00:00 PM | 2/18/2023 12:00:00 AM | 20.50 |
| P-02 | Corrective | MINOR | 60584479 | P02 Yaw Motor Super Heat | 1/17/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-02 | Corrective | MINOR | 60584686 | t/s yaw system error P-02 | 1/17/2023 12:00:00 AM | 1/17/2023 5:00:00 AM | 1/17/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 41.00 |
| I-07 | Corrective | MINOR | 60694894 | I07 HMF adjustment TS | 4/13/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| P-02 | Corrective | MINOR | 60695446 | P02 Yaw Fail TS | 4/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-06 | Corrective | MINOR | 60695447 | P06 A4 Fan replacement | 4/14/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-03 | Corrective | MINOR | 60695448 | O03 Emergency Light | 4/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60695449 | M07 Converter Comm Issues | 4/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-04 | Corrective | MINOR | 60697167 | L04 T/S Yaw errors | 4/16/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-09 | Corrective | MINOR | 60697501 | J-09 t/s yaw errors | 4/17/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| O-06 | Corrective | MINOR | 60697502 | O-06 t/s yaw errors | 4/17/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60697503 | J-03 replace lightning card | 4/17/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| L-02 | Corrective | MINOR | 60697504 | L-02 t/s tower lights | 4/17/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-02 | Corrective | MINOR | 60697507 | L-02 replace hydro return | 4/17/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60697508 | J-03 install 110v outlet cover | 4/17/2023 12:00:00 AM |  |  | 4/26/2023 12:00:00 AM |  |
| L-07 | Corrective | MINOR | 60697509 | L-07 replace door knob | 4/17/2023 12:00:00 AM |  |  | 4/26/2023 12:00:00 AM |  |
| I-07 | Corrective | MINOR | 60697511 | I-07 replace cabinet fan | 4/17/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| E-05 | Corrective | MINOR | 60755482 | E05 Gear Box xChange Support | 6/4/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-04 | Corrective | MINOR | 60755487 | E04 RPM Senesor TS | 6/3/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| H-03 | Corrective | MINOR | 60755489 | H03 Yaw motor #5 Replaced | 6/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| I-02 | Corrective | MINOR | 60755493 | I02 Delta Replacement Grd 2 | 6/3/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| C-04 | Corrective | MINOR | 60755958 | C04 Chain Hoist Pendent Rplacment | 6/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-06 | Corrective | MINOR | 60755959 | C06 Light Balliist Replacement | 6/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| I-07 | Corrective | MINOR | 60756074 | I07 Low Hydro TS | 6/5/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-07 | Corrective | MINOR | 60755650 | I-07 tswa tower cleaners I-07 | 6/6/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| G-02 | Corrective | MINOR | 60819026 | G02 Valve 25 replacement | 7/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-10 | Corrective | MINOR | 60821049 | B10 Delta TS | 7/24/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| M-08 | Corrective | MINOR | 60821162 | M08 Dleta TS'ing | 7/24/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-07 | Corrective | MINOR | 60851936 | B07 Delta Temp High | 8/18/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-05 | Corrective | MINOR | 60851960 | C05 Gen INV Volt High | 8/18/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| N-02 | Corrective | MINOR | 60851961 | N02 Hyd Oil Temp | 8/18/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| P-04 | Corrective | MINOR | 60852528 | P04 Hydro Temp Error TS | 8/18/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60852529 | R05 GBX Support | 8/18/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| F-08 | Corrective | MAJOR | 60504335 | LSR F08 Generator Replacement | 11/3/2022 12:00:00 AM | 12/19/2022 8:00:00 AM | 12/20/2022 3:00:00 PM | 9/8/2023 12:00:00 AM | 88.00 |
| F-08 | Corrective | MINOR | 60504367 | F08 Generator Inspection | 11/3/2022 12:00:00 AM | 11/3/2022 5:00:00 AM | 11/3/2022 5:30:00 PM | 9/8/2023 12:00:00 AM | 18.50 |
| L-09 | Corrective | MINOR | 60504369 | L09 Smoke in the A18 TS | 11/3/2022 12:00:00 AM | 11/3/2022 5:00:00 AM | 11/3/2022 3:00:00 PM | 9/8/2023 12:00:00 AM | 16.00 |
| R-04 | Corrective | MINOR | 60504370 | R04 Replacement of bad A21 Fan TS JM | 11/9/2022 12:00:00 AM | 11/9/2022 7:00:00 AM | 11/9/2022 9:00:00 AM | 2/17/2023 12:00:00 AM | 2.00 |
| F-07 | Corrective | MINOR | 60506744 | F07 Yaw Converter Errors TS | 11/5/2022 12:00:00 AM | 11/5/2022 7:00:00 AM | 11/6/2022 1:00:00 PM | 9/8/2023 12:00:00 AM | 14.00 |
| M-01 | Corrective | MINOR | 60506745 | M01 Yaw Converter Error TS | 11/5/2022 12:00:00 AM | 11/5/2022 12:30:00 PM | 11/5/2022 2:00:00 PM | 9/12/2023 12:00:00 AM | 3.00 |
| O-08 | Corrective | MINOR | 60506748 | O08 Yaw Converter Errors TS | 11/5/2022 12:00:00 AM | 11/5/2022 8:00:00 AM | 11/5/2022 9:30:00 AM | 9/6/2023 12:00:00 AM | 3.00 |
| O-09 | Corrective | MINOR | 60506749 | O09 Yaw Converter Errors TS | 11/5/2022 12:00:00 AM | 11/5/2022 9:30:00 AM | 11/5/2022 11:00:00 AM | 2/17/2023 12:00:00 AM | 3.00 |
| P-05 | Corrective | MINOR | 60506751 | P05 Yaw Gear Broken #5 TS | 11/5/2022 12:00:00 AM | 11/5/2022 11:00:00 AM | 11/8/2022 5:00:00 PM | 2/17/2023 12:00:00 AM | 71.00 |
| M-08 | Corrective | MINOR | 60506754 | M08 Yaw Converter Error TS | 11/6/2022 12:00:00 AM | 11/6/2022 3:00:00 PM | 11/6/2022 6:00:00 PM | 9/8/2023 12:00:00 AM | 6.00 |
| N-04 | Corrective | MINOR | 60575939 | N04 Replacement of Deltas. | 1/11/2023 12:00:00 AM | 1/11/2023 5:00:00 AM | 1/11/2023 5:00:00 PM | 10/5/2023 12:00:00 AM | 34.00 |
| D-05 | Corrective | MINOR | 60577081 | D05 Yaw Converter issues TS | 1/11/2023 12:00:00 AM | 1/11/2023 7:00:00 AM | 1/11/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 27.50 |
| L-08 | Corrective | MINOR | 60577083 | L08 Internal Blade Inspections | 1/11/2023 12:00:00 AM | 1/11/2023 7:00:00 AM | 1/11/2023 4:00:00 PM | 9/8/2023 12:00:00 AM | 25.50 |
| B-05 | Corrective | MINOR | 60577087 | B05 DC link Cut out TS | 1/11/2023 12:00:00 AM | 1/11/2023 7:00:00 AM | 1/11/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 8.00 |
| D-04 | Corrective | MINOR | 60577122 | D04 Internal Blade Inspection | 1/11/2023 12:00:00 AM | 1/11/2023 7:00:00 AM | 1/11/2023 5:00:00 PM | 8/18/2023 12:00:00 AM | 10.00 |
| J-08 | Corrective | MINOR | 60577768 | J08 Replacement of Yaw Gear TS | 1/12/2023 12:00:00 AM | 1/12/2023 7:00:00 AM | 1/12/2023 5:30:00 PM | 9/7/2023 12:00:00 AM | 37.50 |
| L-08 | Corrective | MINOR | 60577769 | L08 Yaw Pinion #2 replacement TS | 1/12/2023 12:00:00 AM | 1/12/2023 5:00:00 AM | 1/12/2023 6:00:00 PM | 9/8/2023 12:00:00 AM | 21.00 |
| P-04 | Corrective | MINOR | 60577770 | P04 Yaw Pinion Replacement TS | 1/12/2023 12:00:00 AM | 1/12/2023 6:00:00 AM | 1/12/2023 4:30:00 PM | 9/6/2023 12:00:00 AM | 27.00 |
| O-02 | Corrective | MINOR | 60577771 | O02 Yaw Pinion Replacement | 1/12/2023 12:00:00 AM | 1/12/2023 7:00:00 AM | 1/12/2023 6:00:00 PM | 9/8/2023 12:00:00 AM | 34.00 |
| E-02 | Corrective | MINOR | 60578690 | E02 Yaw COnverter error. TS | 1/13/2023 12:00:00 AM | 1/13/2023 5:00:00 AM | 1/13/2023 3:30:00 PM | 9/8/2023 12:00:00 AM | 34.50 |
| J-05 | Corrective | MINOR | 60578694 | J05 Yaw Fail waiting TS | 1/13/2023 12:00:00 AM | 1/13/2023 6:00:00 AM | 1/13/2023 3:30:00 PM | 9/7/2023 12:00:00 AM | 34.00 |
| L-08 | Corrective | MINOR | 60578697 | L08 Yaw Motor Super Heat TS | 1/13/2023 12:00:00 AM | 1/13/2023 7:00:00 AM | 1/13/2023 3:00:00 PM | 2/18/2023 12:00:00 AM | 24.00 |
| P-06 | Corrective | MAJOR | 60688378 | P06 Generator Exchange | 4/27/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60689972 | M07 DC Link Charging Time Out | 4/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-05 | Corrective | MINOR | 60689976 | I05 Grid Filter Temp Diff | 4/11/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| S-05 | Corrective | MINOR | 60691665 | S05 Exchange of 10 Bar Accum. | 4/12/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-08 | Corrective | MINOR | 60691666 | S08 Replacement of 116 Valve | 4/12/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| J-07 | Corrective | MINOR | 60691668 | J07 Grid Filter Temp TS | 4/12/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| M-01 | Corrective | MINOR | 60747236 | M-01 replace blown deltas | 5/31/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-04 | Corrective | MINOR | 60747237 | E-04 gear box assembly | 5/31/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-08 | Corrective | MINOR | 60747238 | I-08 replace stic box | 5/31/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| B-09 | Corrective | MINOR | 60747239 | B-09 replace cabinet fan | 5/31/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-01 | Corrective | MINOR | 60751360 | C-01 replace 116 valve | 6/1/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| E-04 | Corrective | MINOR | 60751364 | E-04 t/s gearoilpump | 6/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-02 | Corrective | MINOR | 60751365 | C-02 replace cabinet fan | 5/31/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-05 | Corrective | MINOR | 60751366 | C-05 t/s no comms | 6/1/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| J-06 | Corrective | MINOR | 60627192 | J06 Internal Blade Inspections | 2/16/2023 12:00:00 AM | 2/16/2023 6:30:00 AM | 2/16/2023 3:00:00 PM | 9/7/2023 12:00:00 AM | 19.50 |
| J-07 | Corrective | MINOR | 60627194 | J07 Internal Blade Inspection | 2/16/2023 12:00:00 AM | 2/16/2023 5:00:00 AM | 2/16/2023 5:00:00 PM | 9/7/2023 12:00:00 AM | 28.50 |
| E-04 | Corrective | MINOR | 60753603 | E-04 t/s m system | 6/2/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-04 | Corrective | MINOR | 60753604 | E-04 repair chain hoist | 6/2/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-03 | Corrective | MINOR | 60753605 | C-03 replace crane hose | 6/2/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| E-04 | Corrective | MINOR | 60753613 | E-04 replace offline pump/motor | 6/2/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-02 | Corrective | MINOR | 60814840 | I02 DC LInk TS | 7/19/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| M-08 | Corrective | MINOR | 60814844 | M08 Communication issues | 7/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-09 | Corrective | MINOR | 60814848 | L09 No Comm | 7/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-01 | Corrective | MINOR | 60814851 | A01 Substation Work | 7/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-03 | Corrective | MAJOR | 60816588 | Lower Snake J-03 Gearbox Exchange | 8/2/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| G-01 | Corrective | MINOR | 60818386 | G01 Yaw retro | 7/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-01 | Corrective | MINOR | 60818387 | G01 Crane Hose Replacement | 7/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-03 | Corrective | MINOR | 60818389 | M03 Liftra Support | 7/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| E-05 | Corrective | MINOR | 60818396 | E05 Hub Current Overload | 7/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-02 | Corrective | MINOR | 60818399 | F02 UPS bypass TS | 7/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60818421 | K04 No Comm TS | 7/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-03 | Corrective | MINOR | 60850136 | G-03 t/s hydro temp errors | 8/16/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60850290 | R05 GBX Support HvCrane | 8/16/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| N-07 | Corrective | MINOR | 60851326 | N07 Delta Fan Temp TS | 8/17/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-08 | Corrective | MINOR | 60851338 | O08 Delta Fan Temps | 8/17/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60851361 | K04 Delta Fan Temp | 8/17/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| R-02 | Corrective | MINOR | 60851362 | R02 Delta Temp | 8/17/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-08 | Corrective | MINOR | 60851363 | R08 Converter Trip | 8/16/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-05 | Corrective | MINOR | 60851364 | S05 Delta Temps | 8/17/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60851351 | T/S elta IO P03 | 8/17/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-09 | Corrective | MINOR | 60851352 | T?S Delta IO J09 | 8/17/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-08 | Corrective | MINOR | 60851353 | T/S Delta IO J08 | 8/17/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-05 | Corrective | MINOR | 60851356 | T/S Delta IO I05 | 8/17/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| H-06 | Corrective | MINOR | 60851358 | T/S Delta IO H06 | 8/17/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| K-03 | Corrective | MINOR | 60851359 | T/S Delta IO K03 | 8/17/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-07 | Corrective | MINOR | 60851380 | T/S Delta IO L07 | 8/17/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| A-02 | Corrective | MINOR | 60851884 | A02 Low Hydro | 8/18/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-03 | Corrective | MINOR | 60851886 | A03 DeltaTemp High | 8/18/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| P-04 | Preventive | Basic Maintenance | 60492130 | 11th Annual Maintenance | 10/28/2022 12:00:00 AM | 10/28/2022 7:00:00 AM | 11/3/2022 6:00:00 PM | 4/25/2023 12:00:00 AM | 68.00 |
| P-05 | Preventive | Basic Maintenance | 60492131 | 11th Annual Maintenance | 10/27/2022 12:00:00 AM | 10/27/2022 7:00:00 AM | 10/28/2022 3:00:00 PM | 2/18/2023 12:00:00 AM | 49.50 |
| R-01 | Preventive | Basic Maintenance | 60492133 | 11th Annual Maintenance | 10/27/2022 12:00:00 AM | 10/27/2022 7:00:00 AM | 10/27/2022 4:00:00 PM | 4/25/2023 12:00:00 AM | 18.00 |
| R-03 | Preventive | Basic Maintenance | 60492135 | 11th Annual Maintenance | 11/8/2022 12:00:00 AM | 11/8/2022 7:00:00 AM | 11/10/2022 5:00:00 PM | 4/25/2023 12:00:00 AM | 69.00 |
| R-04 | Preventive | Basic Maintenance | 60492136 | 11th Annual Maintenance | 10/19/2022 12:00:00 AM | 11/3/2022 7:00:00 AM | 11/9/2022 4:30:00 PM | 4/25/2023 12:00:00 AM | 56.00 |
| R-05 | Preventive | Basic Maintenance | 60492137 | 11th Annual Maintenance | 10/27/2022 12:00:00 AM | 10/27/2022 7:00:00 AM | 10/27/2022 3:30:00 PM | 4/25/2023 12:00:00 AM | 14.00 |
| R-06 | Preventive | Basic Maintenance | 60492138 | 11th Annual Maintenance | 10/28/2022 12:00:00 AM | 10/28/2022 7:00:00 AM | 11/3/2022 5:00:00 PM | 2/18/2023 12:00:00 AM | 63.50 |
| R-07 | Preventive | Basic Maintenance | 60492139 | 11th Annual Maintenance | 11/11/2022 12:00:00 AM | 11/11/2022 7:00:00 AM | 11/15/2022 3:00:00 PM | 4/25/2023 12:00:00 AM | 67.00 |
| R-08 | Preventive | Basic Maintenance | 60492140 | 11th Annual Maintenance | 10/19/2022 12:00:00 AM | 11/7/2022 7:00:00 AM | 11/9/2022 4:30:00 PM | 4/25/2023 12:00:00 AM | 60.00 |
| R-09 | Preventive | Basic Maintenance | 60492141 | 11th Annual Maintenance | 11/14/2022 12:00:00 AM | 11/11/2022 7:00:00 AM | 11/15/2022 3:30:00 PM | 2/18/2023 12:00:00 AM | 54.00 |
| R-10 | Preventive | Basic Maintenance | 60492142 | 11th Annual Maintenance | 10/19/2022 12:00:00 AM | 11/16/2022 7:00:00 AM | 11/18/2022 4:00:00 PM | 4/25/2023 12:00:00 AM | 54.00 |
| S-04 | Preventive | Basic Maintenance | 60492143 | 11th Annual Maintenance | 11/10/2022 12:00:00 AM | 11/10/2022 7:00:00 AM | 11/15/2022 5:30:00 PM | 4/25/2023 12:00:00 AM | 64.50 |
| S-05 | Preventive | Basic Maintenance | 60492144 | 11th Annual Maintenance | 11/18/2022 12:00:00 AM | 11/16/2022 7:00:00 AM | 11/21/2022 6:00:00 PM | 4/25/2023 12:00:00 AM | 70.00 |
| S-06 | Preventive | Basic Maintenance | 60492145 | 11th Annual Maintenance | 11/16/2022 12:00:00 AM | 11/16/2022 7:00:00 AM | 11/18/2022 5:00:00 PM | 2/18/2023 12:00:00 AM | 66.00 |
| S-07 | Preventive | Basic Maintenance | 60492146 | 11th Annual Maintenance | 11/22/2022 12:00:00 AM | 11/22/2022 7:00:00 AM | 11/29/2022 3:00:00 PM | 4/25/2023 12:00:00 AM | 71.00 |
| S-08 | Preventive | Basic Maintenance | 60492147 | 11th Annual Maintenance | 10/19/2022 12:00:00 AM | 11/21/2022 6:00:00 AM | 11/22/2022 5:00:00 PM | 4/25/2023 12:00:00 AM | 85.00 |
| S-09 | Preventive | Basic Maintenance | 60492148 | 11th Annual Maintenance S09 | 11/3/2022 12:00:00 AM | 11/3/2022 6:00:00 AM | 11/11/2022 4:30:00 PM | 4/25/2023 12:00:00 AM | 139.50 |
| P-04 | Corrective | MINOR | 60498085 | P04 Valve 116 Replacement TS NA | 11/1/2022 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| C-04 | Corrective | MINOR | 60498087 | C04 IO Board #1 Replacement TS Jm | 11/1/2022 12:00:00 AM | 11/2/2022 7:00:00 AM | 11/2/2022 3:00:00 PM | 8/18/2023 12:00:00 AM | 24.00 |
| G-06 | Corrective | MINOR | 60498091 | G06 Yaw Twist Switch TS MK | 11/1/2022 12:00:00 AM | 11/1/2022 6:30:00 AM | 11/1/2022 12:00:00 PM | 8/18/2023 12:00:00 AM | 10.50 |
| J-06 | Corrective | MINOR | 60498092 | J06 Motor Valve Replacement TS MK | 11/1/2022 12:00:00 AM | 11/3/2022 1:00:00 PM | 11/3/2022 5:00:00 PM | 9/7/2023 12:00:00 AM | 6.50 |
| L-05 | Corrective | MINOR | 60498093 | L05 Top up Coolant TS MK | 11/1/2022 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| I-09 | Corrective | MINOR | 60498311 | I09 Gen 3nd Grid 3 lta Exchange TS | 11/1/2022 12:00:00 AM | 11/1/2022 5:00:00 AM | 11/1/2022 6:00:00 PM | 9/7/2023 12:00:00 AM | 23.50 |
| F-08 | Corrective | MINOR | 60501303 | F08 Gen and Grid Delta 1 TS | 11/2/2022 12:00:00 AM | 11/2/2022 5:00:00 AM | 11/2/2022 5:30:00 PM | 9/8/2023 12:00:00 AM | 33.50 |
| H-04 | Corrective | MINOR | 60571356 | H04 Yaw Motor #2 Replaced | 1/8/2023 12:00:00 AM | 1/8/2023 12:00:00 PM | 1/8/2023 5:30:00 PM | 9/6/2023 12:00:00 AM | 11.00 |
| B-03 | Corrective | MINOR | 60571359 | B03 Yaw Motor #2 Replaced | 1/7/2023 12:00:00 AM | 1/7/2023 9:00:00 AM | 1/7/2023 2:00:00 PM | 9/8/2023 12:00:00 AM | 10.00 |
| M-02 | Corrective | MINOR | 60572174 | t/s yaw system error M-02 | 1/9/2023 12:00:00 AM | 1/9/2023 5:00:00 AM | 1/9/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 37.50 |
| G-02 | Corrective | MINOR | 60572980 |  | 1/10/2023 12:00:00 AM | 1/10/2023 7:00:00 AM | 1/10/2023 1:00:00 PM | 9/8/2023 12:00:00 AM | 16.00 |
| B-01 | Corrective | MINOR | 60572983 | t/s hydro temp error B-01 | 1/10/2023 12:00:00 AM | 1/10/2023 5:00:00 AM | 1/10/2023 5:00:00 PM | 4/26/2023 12:00:00 AM | 12.00 |
| C-01 | Corrective | MINOR | 60572986 | t/s a21 temp error C-01 | 1/10/2023 12:00:00 AM | 1/10/2023 1:00:00 PM | 1/10/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 8.00 |
| A-09 | Corrective | MINOR | 60572995 | t/s IO board errors A-09 | 1/10/2023 12:00:00 AM | 1/10/2023 6:00:00 AM | 1/10/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 9.00 |
| E-05 | Corrective | MINOR | 60572997 | t/s a9 temp error E-05 | 1/10/2023 12:00:00 AM | 1/10/2023 11:00:00 AM | 1/10/2023 2:00:00 PM | 9/8/2023 12:00:00 AM | 6.00 |
| F-09 | Corrective | MINOR | 60572999 | t/s hub luber error F-09 | 1/10/2023 12:00:00 AM | 1/10/2023 2:00:00 PM | 1/10/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 6.00 |
| R-09 | Corrective | MINOR | 60685465 | R-09 blade inspection | 4/6/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-10 | Corrective | MINOR | 60685474 | R-10 blade inspection | 4/6/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-06 | Corrective | MINOR | 60686555 | P06 Internal Blade Inspection | 4/7/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-07 | Corrective | MINOR | 60686581 | S07 Internal Blade Inspections | 4/7/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| O-09 | Corrective | MINOR | 60686683 | O09 Gen 3 Delta replaced | 4/7/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-06 | Corrective | MINOR | 60686684 | P06 HMF 3 way fitting | 4/7/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| S-07 | Corrective | MINOR | 60686876 | S07 valve 116 replacement | 4/7/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-08 | Corrective | MINOR | 60686877 | A08 Yaw Leak | 4/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-08 | Corrective | MINOR | 60688092 | D08 SMISS Rail for A03 | 4/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| S-08 | Corrective | MINOR | 60688141 | S08 Internal Blade Insepctions | 4/10/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| G-02 | Corrective | MINOR | 60747233 | G-02 t/s brake temp too high | 5/30/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-01 | Corrective | MINOR | 60747234 | M-01 hydro temp too high | 5/30/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| B-10 | Corrective | MINOR | 60747235 | B-10 crane hose | 5/30/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| D-08 | Corrective | MINOR | 60811554 | D08 Bad Generator | 7/17/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-07 | Corrective | MINOR | 60813699 | F07 A3 Fan Replacement | 7/18/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-02 | Corrective | MINOR | 60813765 | G02 Hydro Leak TS | 7/18/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-08 | Corrective | MAJOR | 60814040 | D-08 Generator Replacement | 7/31/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-02 | Corrective | MINOR | 60814065 | B02 Pitch Pawl Fail | 7/18/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| R-10 | Corrective | MINOR | 60848240 | R10 Yaw Converter Errors | 8/12/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| G-05 | Corrective | MINOR | 60848241 | G05 Slip Ring Replacment | 8/13/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-08 | Corrective | MINOR | 60848589 | A08 MSsytem Comm | 8/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-06 | Corrective | MINOR | 60848590 | C06 Msystem Comm | 8/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| J-05 | Corrective | MINOR | 60848593 | J05 MSystem Comm | 8/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-02 | Corrective | MINOR | 60849121 | I02 A21 Fan Replacement | 8/15/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60849477 | R05 LOTO for GBX | 8/15/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-04 | Corrective | MINOR | 60849520 | T/S R04 UPS Fail | 8/15/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| M-08 | Corrective | MINOR | 60849523 | TS Smoke in Invert M08 | 8/15/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60496052 | M07 CCJ Motor / Pump Replacement TS | 10/28/2022 12:00:00 AM |  |  | 9/12/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60496055 | K04 CCJ motor / pump exchange TS | 10/28/2022 12:00:00 AM | 10/28/2022 5:00:00 AM | 10/28/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 40.50 |
| P-05 | Corrective | MINOR | 60497007 | P05 Yaw Motor Replacement TS | 10/30/2022 12:00:00 AM | 10/30/2022 1:00:00 PM | 10/30/2022 7:00:00 PM | 2/17/2023 12:00:00 AM | 12.00 |
| P-05 | Corrective | MINOR | 60497210 | P05 Repair of Yaw Gear w/ Rebuild | 10/31/2022 12:00:00 AM | 10/31/2022 5:00:00 AM | 10/31/2022 5:00:00 PM | 9/6/2023 12:00:00 AM | 38.00 |
| B-03 | Corrective | MINOR | 60497211 | B03 Replacement of IO 2 TS | 10/31/2022 12:00:00 AM | 10/31/2022 5:00:00 AM | 10/31/2022 3:30:00 PM | 2/17/2023 12:00:00 AM | 34.50 |
| J-01 | Corrective | MINOR | 60497218 | J01 Yaw Motor #5 Replaced TS | 10/31/2022 12:00:00 AM | 10/31/2022 7:00:00 AM | 10/31/2022 5:00:00 PM | 2/17/2023 12:00:00 AM | 26.00 |
| F-07 | Corrective | MINOR | 60566144 | F07 Repair Coolant Leak/Elecrtronic TS | 1/3/2023 12:00:00 AM | 1/3/2023 5:00:00 AM | 1/6/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 86.00 |
| P-04 | Corrective | MINOR | 60566146 | P04 Yaw System Exchange/Hybird | 1/2/2023 12:00:00 AM | 1/3/2023 6:00:00 AM | 1/6/2023 4:30:00 PM | 10/5/2023 12:00:00 AM | 101.50 |
| B-04 | Corrective | MINOR | 60567492 | internal blade insp B-04 | 1/4/2023 12:00:00 AM | 1/4/2023 7:00:00 AM | 1/4/2023 11:30:00 AM | 2/18/2023 12:00:00 AM | 13.00 |
| B-05 | Corrective | MINOR | 60567494 | internal blade insp B-05 | 1/4/2023 12:00:00 AM | 1/4/2023 11:00:00 AM | 1/4/2023 4:00:00 PM | 2/18/2023 12:00:00 AM | 14.00 |
| B-06 | Corrective | MINOR | 60567495 | internal blade insp B-06 | 1/3/2023 12:00:00 AM | 1/3/2023 7:00:00 AM | 1/4/2023 3:30:00 PM | 4/26/2023 12:00:00 AM | 24.50 |
| B-07 | Corrective | MINOR | 60567496 | internal blade insp B-07 | 1/4/2023 12:00:00 AM | 1/10/2023 1:00:00 PM | 1/10/2023 5:00:00 PM | 4/26/2023 12:00:00 AM | 12.00 |
| B-06 | Corrective | MINOR | 60567497 | replace IOB B-06 | 1/4/2023 12:00:00 AM | 1/4/2023 5:00:00 AM | 1/4/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 21.50 |
| N-04 | Corrective | MINOR | 60568805 | t/s dc fuse blown N-04 | 1/5/2023 12:00:00 AM | 1/5/2023 6:30:00 AM | 1/5/2023 3:00:00 PM | 10/5/2023 12:00:00 AM | 14.50 |
| G-07 | Corrective | MINOR | 60568811 | t/s yaw system error G-07 | 1/5/2023 12:00:00 AM | 1/5/2023 5:00:00 AM | 1/5/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 22.00 |
| F-09 | Corrective | MINOR | 60568817 | t/s yaw system error F-09 | 1/5/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-01 | Corrective | MINOR | 60568818 | t/s main breaker fault A-01 | 1/5/2023 12:00:00 AM | 1/5/2023 7:00:00 AM | 1/5/2023 11:00:00 AM | 2/18/2023 12:00:00 AM | 12.00 |
| H-01 | Corrective | MINOR | 60568843 | t/s yaw system error H-01 | 1/5/2023 12:00:00 AM | 1/5/2023 11:00:00 AM | 1/5/2023 3:30:00 PM | 2/18/2023 12:00:00 AM | 12.50 |
| A-01 | Corrective | MAJOR | 60568868 | LSR A01 Generator Replacement | 1/5/2023 12:00:00 AM | 1/17/2023 7:00:00 AM | 1/17/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 40.00 |
| C-07 | Corrective | MINOR | 60681954 | C-07 inspect generator bearings | 4/3/2023 12:00:00 AM |  |  | 8/18/2023 12:00:00 AM |  |
| J-04 | Corrective | MINOR | 60682615 | J-04 t/s yaw system errors | 4/4/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| G-02 | Corrective | MINOR | 60682616 | G-02 t/s lmu overspeed | 4/4/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| I-07 | Corrective | MAJOR | 60683914 | I-07 Generator Exchange | 4/27/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60684492 | G06 Yaw Issues | 4/5/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| R-07 | Corrective | MINOR | 60684494 | Blade Inspection | 4/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-08 | Corrective | MINOR | 60684497 | R08 Blade Inspections | 4/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-05 | Corrective | MINOR | 60684500 | P05 Blade Inspections | 4/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-04 | Corrective | MINOR | 60684523 | S04 Blade Inspections | 4/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-05 | Corrective | MINOR | 60684669 | P05 Door Latch Repair | 4/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60742864 | B01 Tower Door Latch Replacement | 5/25/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-03 | Corrective | MINOR | 60743957 | K03 Low Hydro TS | 5/25/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| A-09 | Corrective | MINOR | 60743959 | A09 Low Hydro QA | 5/25/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-07 | Corrective | MINOR | 60743960 | B07 Low Hydro QA | 5/26/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| E-04 | Corrective | MINOR | 60743964 | E04 Gear Box X Change Support | 5/25/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-06 | Corrective | MINOR | 60744105 | B06 Crane Hose Replacment | 5/25/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-08 | Corrective | MINOR | 60744106 | B08 Vavle 33 replacement | 5/25/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| L-06 | Corrective | MINOR | 60746132 | L06 Stic Box replacement | 5/27/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-01 | Corrective | MINOR | 60807138 | C01 P Pawl Feed Back TS | 7/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| L-07 | Corrective | MINOR | 60807184 | L07 Hydro Leak | 7/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-07 | Corrective | MINOR | 60807186 | F07 Yaw Retro | 7/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-03 | Corrective | MINOR | 60807188 | M03 GBX Xchange Support | 7/15/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-03 | Corrective | MINOR | 60807193 | M03 Yaw TS Issues | 7/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60807221 | J03 Gear Box Inspection | 7/18/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60807243 | K04 No Comm | 7/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-04 | Corrective | MINOR | 60810930 | N04 Yaw Converter Error REset | 7/16/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-08 | Corrective | MINOR | 60491440 | I08 Grd 3 Exchange TS | 10/25/2022 12:00:00 AM | 10/25/2022 4:30:00 AM | 10/25/2022 4:00:00 PM | 9/7/2023 12:00:00 AM | 33.50 |
| M-03 | Corrective | MINOR | 60494423 | M03 No Comm Stic Reset TS | 10/26/2022 12:00:00 AM |  |  | 9/12/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60495252 | R05 Yaw Pinion Seal Replacement TS | 10/27/2022 12:00:00 AM | 10/27/2022 7:00:00 AM | 10/27/2022 10:00:00 AM | 2/17/2023 12:00:00 AM | 3.00 |
| M-06 | Corrective | MINOR | 60495316 | M06 Msystem Replacement TS | 10/27/2022 12:00:00 AM | 10/27/2022 5:00:00 AM | 10/27/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 42.00 |
| R-01 | Corrective | MINOR | 60495771 | R01 Sonic Replaced TS | 10/28/2022 12:00:00 AM |  |  | 9/12/2023 12:00:00 AM |  |
| P-04 | Corrective | MINOR | 60559735 | P04 Yaw Motor Super Heat TS | 12/29/2022 12:00:00 AM | 12/29/2022 7:00:00 AM | 12/29/2022 1:00:00 PM | 10/5/2023 12:00:00 AM | 12.00 |
| F-08 | Corrective | MINOR | 60559784 | F08 Low Hydro TS | 12/29/2022 12:00:00 AM | 12/29/2022 1:00:00 PM | 12/29/2022 5:30:00 PM | 9/8/2023 12:00:00 AM | 16.00 |
| F-02 | Corrective | MINOR | 60559789 | F02 Yaw Converter Errors TS | 12/29/2022 12:00:00 AM | 12/29/2022 5:00:00 AM | 12/29/2022 6:00:00 PM | 9/8/2023 12:00:00 AM | 19.00 |
| A-06 | Corrective | MINOR | 60559793 | A06 Break Accum, sensor TS | 12/29/2022 12:00:00 AM | 12/29/2022 6:30:00 AM | 12/29/2022 4:00:00 PM | 9/6/2023 12:00:00 AM | 18.00 |
| B-09 | Corrective | MINOR | 60560320 | REPLACE 10 BAR ACC B-09 | 1/6/2023 12:00:00 AM | 1/6/2023 6:30:00 AM | 1/6/2023 7:00:00 AM | 2/17/2023 12:00:00 AM | 0.50 |
| H-04 | Corrective | MINOR | 60565971 | H04 Gen RPM Sensor TS | 12/30/2022 12:00:00 AM | 12/30/2022 7:30:00 AM | 12/30/2022 12:30:00 PM | 9/6/2023 12:00:00 AM | 10.00 |
| A-08 | Corrective | MINOR | 60565973 | A08 Replaced reactor Fan TS | 1/1/2023 12:00:00 AM | 1/1/2023 9:00:00 AM | 1/2/2023 4:30:00 PM | 9/8/2023 12:00:00 AM | 13.00 |
| A-06 | Corrective | MINOR | 60566113 | A06 Smoke in the Inverter TS | 1/3/2023 12:00:00 AM | 1/3/2023 6:30:00 AM | 1/3/2023 4:30:00 PM | 2/18/2023 12:00:00 AM | 27.50 |
| F-08 | Corrective | MINOR | 60566116 | F08 Blade Inspection | 1/3/2023 12:00:00 AM | 1/3/2023 7:00:00 AM | 1/4/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 24.00 |
| R-05 | Corrective | MINOR | 60674740 | R-05 internal blade insp | 3/30/2023 12:00:00 AM | 3/30/2023 6:30:00 AM | 3/30/2023 3:00:00 PM | 10/5/2023 12:00:00 AM | 20.50 |
| I-01 | Corrective | MINOR | 60676248 | I-01 replace #3 yaw motor | 4/3/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| L-02 | Corrective | MINOR | 60676250 | L-02 replace #5 yaw motor | 4/2/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-08 | Corrective | MINOR | 60681805 | I-08 t/s smoke in converter | 4/3/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-07 | Corrective | MINOR | 60681809 | I-07 generator inspection | 4/3/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60740100 | P-03 t/s yaw system errors | 5/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60740195 | P03 Yaw Gear 6,7,8 Replacement | 5/22/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| M-05 | Corrective | MINOR | 60740930 | M05 Generator Inspection | 5/23/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60740932 | M07 Converter Comm Issues | 5/24/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-03 | Corrective | MINOR | 60740972 | B03 Slew Hose Replacement | 5/24/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60741167 | B01 Blade Flush from Hydro leak | 5/23/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-05 | Corrective | MAJOR | 60741602 | LSR M05 Generator Exchange | 6/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-02 | Corrective | MINOR | 60741611 | B02 PILTZ replacment TS | 5/23/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60740114 | R05 Gear Oil S. Heat Inspec. | 5/23/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| L-01 | Corrective | MINOR | 60804573 | L-01 t/s gearoil low level | 7/12/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| I-06 | Corrective | MINOR | 60804574 | I-06 replace I O board | 7/12/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-06 | Corrective | MINOR | 60804575 | J-06 replace I O board | 7/12/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| C-05 | Corrective | MINOR | 60805839 | C05 No Comm | 7/12/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| D-06 | Corrective | MINOR | 60806040 | D06 No Comm | 7/13/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-02 | Corrective | MINOR | 60806041 | F02 UPS By Pass | 7/13/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-08 | Corrective | MINOR | 60806043 | F08 Main CPU Replacement | 7/13/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-04 | Corrective | MINOR | 60806046 | I04 Main Breaker Reset | 7/13/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| K-01 | Corrective | MINOR | 60806050 | K01 No Comm | 7/13/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| L-01 | Corrective | MINOR | 60806051 | L01 HS Rotor Sensor Error | 7/13/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-03 | Corrective | MINOR | 60806054 | M03 E Stop Piltz | 7/13/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-03 | Corrective | MINOR | 60806055 | N03 Main Breaker Reset | 7/13/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-01 | Corrective | MINOR | 60806056 | O01 Grid Filter Current Over Load | 7/13/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60806057 | P03 No Comm | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-08 | Corrective | MINOR | 60806058 | R08 E Stop TS | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-04 | Corrective | MINOR | 60806059 | S04 Low Coolant TS | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| O-09 | Corrective | MINOR | 60806213 | O09 SMoke in the inverter | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| O-06 | Corrective | MINOR | 60806216 | O06 Grid Inv Errors TS | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| E-02 | Corrective | MINOR | 60806245 | E02 Smoke in the inverter | 7/13/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-06 | Corrective | MINOR | 60806300 | I06 Yaw Issues TS | 7/13/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-06 | Corrective | MINOR | 60806308 | R07 DC Link Exchange | 7/13/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60846193 | R05 Yaw issuses TS | 8/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| I-01 | Corrective | MINOR | 60846196 | I01 Yaw Seal Repair | 8/11/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-03 | Corrective | MINOR | 60846200 | I03 A21 Fan Replacment | 8/11/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| R-01 | Corrective | MAJOR | 60846205 | Lower Snake River R01 GearBox Exchange | 9/19/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-03 | Corrective | MAJOR | 60846933 | LSR J03 GBX 500 Hr Inspection | 9/26/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| G-01 | Corrective | MAJOR | 60846934 | Lower Snake River G01 GearBox Exchange | 9/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-04 | Preventive | Basic Maintenance | 60467281 | WT P04 Basic Maintenance | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| P-05 | Preventive | Basic Maintenance | 60467282 | WT P05 Basic Maintenance | 10/24/2022 12:00:00 AM | 10/24/2022 7:00:00 AM | 10/24/2022 5:00:00 PM | 4/25/2023 12:00:00 AM | 19.50 |
| P-06 | Preventive | Basic Maintenance | 60467283 | WT P06 Basic Maintenance | 10/19/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| R-01 | Preventive | Basic Maintenance | 60467284 | WT R01 Basic Maintenance | 10/24/2022 12:00:00 AM | 10/20/2022 7:00:00 AM | 10/27/2022 4:00:00 PM | 4/25/2023 12:00:00 AM | 51.00 |
| R-02 | Preventive | Basic Maintenance | 60467285 | WT R02 Basic Maintenance | 10/24/2022 12:00:00 AM | 10/20/2022 7:00:00 AM | 10/24/2022 5:00:00 PM | 4/25/2023 12:00:00 AM | 21.00 |
| R-05 | Preventive | Basic Maintenance | 60467288 | WT R05 Basic Maintenance | 10/19/2022 12:00:00 AM | 10/20/2022 7:00:00 AM | 10/24/2022 4:00:00 PM | 4/25/2023 12:00:00 AM | 17.00 |
| R-07 | Preventive | Basic Maintenance | 60467290 | WT R07 Basic Maintenance | 10/25/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| O-09 | Corrective | MINOR | 60490525 | O09 Pitch Pawl Breaker Replacement | 10/24/2022 12:00:00 AM | 10/24/2022 5:00:00 AM | 10/24/2022 5:00:00 PM | 9/12/2023 12:00:00 AM | 22.00 |
| A-09 | Corrective | MINOR | 60490526 | A09 IO board replacement | 10/24/2022 12:00:00 AM | 10/24/2022 5:00:00 AM | 10/24/2022 3:00:00 PM | 9/8/2023 12:00:00 AM | 20.00 |
| S-09 | Corrective | MINOR | 60491458 | S09 Master SMPS Grid Side TS | 10/25/2022 12:00:00 AM | 10/25/2022 5:00:00 AM | 10/25/2022 5:00:00 PM | 9/6/2023 12:00:00 AM | 36.00 |
| A-08 | Corrective | MINOR | 60558311 | A05 Low Hydro Topped up | 12/25/2022 12:00:00 AM | 12/25/2022 11:00:00 AM | 12/25/2022 4:00:00 PM | 9/8/2023 12:00:00 AM | 10.00 |
| M-02 | Corrective | MINOR | 60558313 | M02 Low Hydro Topped up. | 12/26/2022 12:00:00 AM | 12/26/2022 7:00:00 AM | 12/26/2022 10:00:00 AM | 9/8/2023 12:00:00 AM | 6.00 |
| J-04 | Corrective | MINOR | 60558315 | J04 A21 Fan Grid Drop | 12/26/2022 12:00:00 AM | 12/26/2022 10:00:00 AM | 12/26/2022 12:00:00 PM | 9/7/2023 12:00:00 AM | 4.00 |
| F-08 | Corrective | MINOR | 60558445 | t/s rpm sensor error F-08 | 12/27/2022 12:00:00 AM | 12/27/2022 5:00:00 AM | 12/27/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 22.00 |
| J-04 | Corrective | MINOR | 60558446 | t/s no comm J-04 | 12/27/2022 12:00:00 AM | 12/27/2022 6:30:00 AM | 12/27/2022 5:00:00 PM | 9/7/2023 12:00:00 AM | 20.00 |
| E-07 | Corrective | MINOR | 60558447 | replace deltas E-07 | 12/27/2022 12:00:00 AM | 12/27/2022 7:00:00 AM | 1/17/2023 7:00:00 AM | 9/8/2023 12:00:00 AM | 30.50 |
| L-08 | Corrective | MINOR | 60558448 | t/s yaw system error L-08 | 12/27/2022 12:00:00 AM | 12/27/2022 7:00:00 AM | 12/27/2022 9:00:00 AM | 2/17/2023 12:00:00 AM | 4.00 |
| C-05 | Corrective | MINOR | 60558449 | t/s converter error C-05 | 12/27/2022 12:00:00 AM | 12/27/2022 9:00:00 AM | 12/27/2022 2:00:00 PM | 2/17/2023 12:00:00 AM | 10.00 |
| M-03 | Corrective | MINOR | 60558456 | t/s no comm M-03 | 12/27/2022 12:00:00 AM | 12/27/2022 2:00:00 PM | 12/27/2022 5:00:00 PM | 10/5/2023 12:00:00 AM | 6.00 |
| C-05 | Corrective | MINOR | 60559261 | t/s gearoilpump/blower superheated C-05 | 12/28/2022 12:00:00 AM | 12/28/2022 6:00:00 AM | 12/28/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 15.50 |
| J-03 | Corrective | MINOR | 60559262 | t/s gearoilpump/blower superheated J-03 | 12/28/2022 12:00:00 AM | 12/28/2022 5:00:00 AM | 12/28/2022 6:30:00 PM | 9/7/2023 12:00:00 AM | 19.50 |
| J-06 | Corrective | MINOR | 60559263 | t/s gearoilpump/blower superheat J-06 | 12/28/2022 12:00:00 AM | 12/28/2022 9:00:00 AM | 12/28/2022 11:00:00 AM | 9/7/2023 12:00:00 AM | 6.00 |
| O-08 | Corrective | MINOR | 60559264 | t/s gearoilpump/blower superheat O-08 | 12/28/2022 12:00:00 AM | 12/28/2022 9:00:00 AM | 12/28/2022 11:00:00 AM | 2/18/2023 12:00:00 AM | 4.00 |
| M-01 | Corrective | MINOR | 60559265 | t/s gearoilpump/blower superheat M-01 | 12/28/2022 12:00:00 AM | 12/28/2022 7:00:00 AM | 12/28/2022 9:00:00 AM | 2/18/2023 12:00:00 AM | 4.00 |
| E-02 | Corrective | MINOR | 60559274 | t/s yaw system error E-02 | 12/28/2022 12:00:00 AM | 12/28/2022 10:00:00 AM | 12/28/2022 2:00:00 PM | 9/8/2023 12:00:00 AM | 8.00 |
| B-04 | Corrective | MINOR | 60559278 | t/s yaw system error B-04 | 12/28/2022 12:00:00 AM | 12/28/2022 2:00:00 PM | 12/28/2022 4:00:00 PM | 9/8/2023 12:00:00 AM | 4.00 |
| J-08 | Corrective | MINOR | 60559321 | t/s yaw system error J-08 | 12/28/2022 12:00:00 AM | 12/28/2022 2:00:00 PM | 12/28/2022 6:30:00 PM | 9/7/2023 12:00:00 AM | 13.50 |
| O-09 | Corrective | MINOR | 60559322 | t/s yaw system error O-09 | 12/28/2022 12:00:00 AM | 12/28/2022 11:00:00 AM | 12/28/2022 6:30:00 PM | 9/6/2023 12:00:00 AM | 7.00 |
| M-04 | Corrective | MINOR | 60559326 | t/s yaw system error M-04 | 12/28/2022 12:00:00 AM | 12/28/2022 11:00:00 AM | 12/28/2022 2:00:00 PM | 9/8/2023 12:00:00 AM | 9.00 |
| F-01 | Corrective | MINOR | 60559330 | t/s yaw system error F-01 | 12/28/2022 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60559386 | t/s yaw system error G-06 | 12/28/2022 12:00:00 AM | 12/28/2022 1:00:00 PM | 12/28/2022 4:30:00 PM | 2/18/2023 12:00:00 AM | 7.00 |
| G-07 | Corrective | MINOR | 60559389 | t/s yaw system error G-07 | 12/28/2022 12:00:00 AM | 12/28/2022 12:00:00 PM | 12/28/2022 1:00:00 PM | 10/5/2023 12:00:00 AM | 2.00 |
| O-02 | Corrective | MINOR | 60559455 | t/s yaw system error O-02 | 12/29/2022 12:00:00 AM | 12/29/2022 7:00:00 AM | 12/29/2022 5:30:00 PM | 9/8/2023 12:00:00 AM | 29.50 |
| P-02 | Corrective | MINOR | 60559456 | t/s yaw system error P-02 | 12/28/2022 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-09 | Corrective | MINOR | 60671315 | O09 Internal Blade Inspection | 3/27/2023 12:00:00 AM | 3/27/2023 6:30:00 AM | 3/27/2023 3:30:00 PM | 9/6/2023 12:00:00 AM | 21.00 |
| P-01 | Corrective | MINOR | 60671317 | P01 Internal Blade Inspection | 3/27/2023 12:00:00 AM | 3/27/2023 7:00:00 AM | 3/27/2023 11:00:00 AM | 9/6/2023 12:00:00 AM | 11.00 |
| P-02 | Corrective | MINOR | 60671400 | P02 Internal Blade Inspection | 3/27/2023 12:00:00 AM | 3/27/2023 11:00:00 AM | 3/27/2023 4:00:00 PM | 9/6/2023 12:00:00 AM | 15.00 |
| D-03 | Corrective | MINOR | 60671525 | D03 IO 3 Replacement | 3/27/2023 12:00:00 AM | 3/27/2023 7:00:00 AM | 3/27/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 20.00 |
| P-01 | Corrective | MINOR | 60671527 | P01 Upper Crane Hoses | 3/27/2023 12:00:00 AM | 3/27/2023 7:00:00 AM | 3/27/2023 8:00:00 AM | 9/6/2023 12:00:00 AM | 1.00 |
| P-03 | Corrective | MINOR | 60672536 | P03 Internal Blade Inspection | 3/28/2023 12:00:00 AM | 3/28/2023 6:30:00 AM | 3/28/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 19.50 |
| P-04 | Corrective | MINOR | 60672538 | P04 Internal Blade Insepction | 3/28/2023 12:00:00 AM | 3/28/2023 11:00:00 AM | 3/28/2023 3:30:00 PM | 9/6/2023 12:00:00 AM | 13.00 |
| R-01 | Corrective | MINOR | 60672562 | R01 Internal Blade Inspection | 3/28/2023 12:00:00 AM | 3/28/2023 7:00:00 AM | 3/28/2023 11:00:00 AM | 10/5/2023 12:00:00 AM | 8.00 |
| R-02 | Corrective | MINOR | 60672564 | R02 Internal Blade Inspection | 3/28/2023 12:00:00 AM | 3/28/2023 11:00:00 AM | 3/28/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 12.00 |
| C-03 | Corrective | MINOR | 60672567 | C03 Gear Oil Super Heat/ TS | 3/28/2023 12:00:00 AM | 3/28/2023 5:00:00 AM | 3/28/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 24.00 |
| P-04 | Corrective | MINOR | 60672731 | P04 Valve 28 replacement | 3/28/2023 12:00:00 AM | 3/28/2023 3:00:00 PM | 3/28/2023 3:30:00 PM | 9/6/2023 12:00:00 AM | 0.50 |
| P-06 | Corrective | MINOR | 60672818 | P06 Tear down/Inspecti Gen Bearing | 4/3/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-02 | Corrective | MINOR | 60672925 | R02 Rope Replacement | 3/28/2023 12:00:00 AM | 3/28/2023 2:00:00 PM | 3/28/2023 3:00:00 PM | 10/5/2023 12:00:00 AM | 1.00 |
| P-03 | Corrective | MINOR | 60672926 | P03 Crane Hoses | 3/28/2023 12:00:00 AM | 3/28/2023 7:00:00 AM | 3/28/2023 8:00:00 AM | 10/5/2023 12:00:00 AM | 1.00 |
| R-01 | Corrective | MINOR | 60672934 | R01 Lightning Card Replacement | 3/28/2023 12:00:00 AM | 3/28/2023 7:00:00 AM | 3/28/2023 12:00:00 PM | 9/6/2023 12:00:00 AM | 5.00 |
| C-03 | Corrective | MINOR | 60672935 | C03 replacment of Crane Hoses | 3/28/2023 12:00:00 AM | 3/28/2023 11:00:00 AM | 3/28/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 12.00 |
| R-03 | Corrective | MINOR | 60673467 | R03 Internal Blade Inspection | 3/29/2023 12:00:00 AM | 3/29/2023 6:30:00 AM | 3/29/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 20.50 |
| R-04 | Corrective | MINOR | 60673469 | R04 Internal Blade Inspection | 3/29/2023 12:00:00 AM | 3/29/2023 5:00:00 AM | 3/29/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 18.00 |
| C-08 | Corrective | MINOR | 60673639 | C08 Yaw Issuses TS | 3/29/2023 12:00:00 AM | 3/29/2023 7:00:00 AM | 3/29/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 26.00 |
| A-08 | Corrective | MINOR | 60736192 | A09 Daisy Knob Replacement | 5/18/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-07 | Corrective | MINOR | 60738146 | A07 DC Charging time out | 5/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-03 | Corrective | MINOR | 60738153 | B03 Yaw Motor replacement | 5/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-02 | Corrective | MINOR | 60738155 | B02 Valve 116 Replacement | 5/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60739721 | J03 Yaw Motor #1 Replacement | 5/20/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60739722 | K04 COmmunication STCK Box | 5/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-04 | Corrective | MINOR | 60739726 | B04 Twisted yaw Deck Bracket | 5/22/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-05 | Corrective | MINOR | 60801282 | F05 A21 Fan Replacement | 7/10/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-08 | Corrective | MINOR | 60487039 | O08 Gear Oil Pump Replacement | 10/20/2022 12:00:00 AM | 10/20/2022 7:00:00 AM | 10/20/2022 5:30:00 PM | 9/6/2023 12:00:00 AM | 10.50 |
| E-04 | Corrective | MINOR | 60487881 | E04 Top up of Coolant TS | 10/20/2022 12:00:00 AM | 10/20/2022 12:00:00 PM | 10/20/2022 5:00:00 PM | 8/18/2023 12:00:00 AM | 5.00 |
| G-07 | Corrective | MAJOR | 60487924 | LSR G07 Generator Replacement | 10/21/2022 12:00:00 AM | 11/1/2022 7:00:00 AM | 11/1/2022 6:00:00 PM | 10/5/2023 12:00:00 AM | 44.00 |
| I-08 | Corrective | MINOR | 60530404 | replace delta black out I-08 | 11/29/2022 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| M-05 | Corrective | MINOR | 60530407 | ccj pump blackout M -05 | 11/29/2022 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| I-07 | Corrective | MINOR | 60530408 | 10 bar acc blackout I-07 | 11/29/2022 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| F-05 | Corrective | MINOR | 60530409 | 10 bar acc blackout F-05 | 11/29/2022 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-06 | Corrective | MINOR | 60530410 | 10 bar acc blackout K-06 | 11/29/2022 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| I-04 | Corrective | MINOR | 60532407 | Main Breaker Reset | 10/24/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 9/7/2023 12:00:00 AM | 0.00 |
| J-04 | Corrective | MINOR | 60532408 | TS thermostate on UPS | 10/24/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 9/7/2023 12:00:00 AM | 0.00 |
| J-01 | Corrective | MINOR | 60532409 | Replacement of Smoke Detector iin Invert | 10/24/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 9/8/2023 12:00:00 AM | 0.00 |
| A-09 | Corrective | MINOR | 60532410 | Replaced IO Board | 10/24/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 4/26/2023 12:00:00 AM | 0.00 |
| I-08 | Corrective | MINOR | 60532411 | I08 Grid 3 Delta Exchange | 10/25/2022 12:00:00 AM | 10/25/2022 12:00:00 AM | 10/25/2022 12:00:00 AM | 9/7/2023 12:00:00 AM | 0.00 |
| M-03 | Corrective | MINOR | 60532412 | M03 No Comm, Stick issues | 10/26/2022 12:00:00 AM | 10/26/2022 12:00:00 AM | 10/26/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| K-04 | Corrective | MINOR | 60532413 | CCJ | 10/28/2022 12:00:00 AM | 10/28/2022 12:00:00 AM | 10/28/2022 12:00:00 AM | 9/8/2023 12:00:00 AM | 0.00 |
| B-03 | Corrective | MINOR | 60532414 | IO 2 Board replacement | 10/31/2022 12:00:00 AM | 10/31/2022 12:00:00 AM | 10/31/2022 12:00:00 AM | 4/26/2023 12:00:00 AM | 0.00 |
| J-01 | Corrective | MINOR | 60532415 | replacement of yaw Motor | 10/31/2022 12:00:00 AM | 10/31/2022 12:00:00 AM | 10/31/2022 12:00:00 AM | 9/8/2023 12:00:00 AM | 0.00 |
| I-09 | Corrective | MINOR | 60532416 | Delta 3 Gen and Grid Replacement | 11/1/2022 12:00:00 AM | 11/1/2022 12:00:00 AM | 11/1/2022 12:00:00 AM | 9/7/2023 12:00:00 AM | 0.00 |
| C-04 | Corrective | MINOR | 60532417 | IO Board # 1 Replacement | 11/2/2022 12:00:00 AM | 11/2/2022 12:00:00 AM | 11/2/2022 12:00:00 AM | 8/18/2023 12:00:00 AM | 0.00 |
| F-08 | Corrective | MINOR | 60532418 | Bad Generator | 11/2/2022 12:00:00 AM | 11/2/2022 12:00:00 AM | 11/3/2022 12:00:00 AM | 9/8/2023 12:00:00 AM | 0.00 |
| L-09 | Corrective | MINOR | 60532419 | Smoke in the A18 | 11/3/2022 12:00:00 AM | 11/3/2022 12:00:00 AM | 11/3/2022 12:00:00 AM | 9/8/2023 12:00:00 AM | 0.00 |
| J-06 | Corrective | MINOR | 60532420 | Motor Valve replacement | 11/3/2022 12:00:00 AM | 11/3/2022 12:00:00 AM | 11/3/2022 12:00:00 AM | 9/7/2023 12:00:00 AM | 0.00 |
| F-07 | Corrective | MINOR | 60532422 | Replaced Resolver Motor | 11/7/2022 12:00:00 AM | 11/7/2022 12:00:00 AM | 11/7/2022 12:00:00 AM | 9/8/2023 12:00:00 AM | 0.00 |
| R-04 | Corrective | MINOR | 60532423 | Yaw Gear Replacement of #3 | 11/7/2022 12:00:00 AM | 11/7/2022 12:00:00 AM | 11/8/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| C-07 | Corrective | MINOR | 60532424 | Coolant Low Topped Up | 11/9/2022 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| H-03 | Corrective | MINOR | 60532425 | Coolant Low Topped Up | 11/9/2022 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| J-07 | Corrective | MINOR | 60532426 | Coolant Low Topped Up | 11/9/2022 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| F-05 | Corrective | MINOR | 60532427 | Coolant Low Topped Up | 11/9/2022 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-07 | Corrective | MINOR | 60532428 | Coolant Low Topped Up | 11/9/2022 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| R-01 | Corrective | MAJOR | 60907219 | LSR R01 GBX 500 Hr Inspection | 10/4/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| D-02 | Corrective | MINOR | 60907265 | D02 TS Too Many Yaw Converter Errors | 10/4/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-05 | Corrective | MAJOR | 60907281 | LSR R05 GBX 500 Hr Inspection | 10/4/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| E-07 | Corrective | MAJOR | 60907283 | LSR E07 GBX 500 Hr Inspection | 10/4/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-07 | Corrective | MINOR | 60636833 | O-07 REPLACE YAW PINION #4 | 2/24/2023 12:00:00 AM | 2/24/2023 6:00:00 AM | 2/24/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 9.00 |
| G-01 | Corrective | MINOR | 60636838 | G-01 REPLACE YAW GEAR #2 | 2/24/2023 12:00:00 AM | 2/24/2023 7:00:00 AM | 2/24/2023 12:00:00 PM | 9/8/2023 12:00:00 AM | 15.00 |
| P-01 | Corrective | MINOR | 60636839 | P-01 T/S LOW COOLANT PSI | 2/24/2023 12:00:00 AM | 2/24/2023 2:00:00 PM | 2/24/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 3.00 |
| S-04 | Corrective | MINOR | 60636860 | S-04 T/S LOW COOLANT PSI | 2/24/2023 12:00:00 AM | 2/24/2023 3:00:00 PM | 2/24/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 5.00 |
| O-09 | Corrective | MINOR | 60636865 | O-09 T/S MOTOR VALVE | 2/24/2023 12:00:00 AM | 2/24/2023 12:00:00 PM | 2/24/2023 2:00:00 PM | 9/6/2023 12:00:00 AM | 6.00 |
| G-07 | Corrective | MINOR | 60636870 | G-07 REPLACE YAW PINION #4 | 2/24/2023 12:00:00 AM | 2/24/2023 6:00:00 AM | 2/24/2023 5:30:00 PM | 9/6/2023 12:00:00 AM | 19.50 |
| D-06 | Corrective | MINOR | 60636873 | D-06 T/S LOW COOLANT PSI | 2/24/2023 12:00:00 AM | 2/24/2023 1:00:00 PM | 2/24/2023 2:00:00 PM | 9/8/2023 12:00:00 AM | 2.00 |
| M-05 | Corrective | MINOR | 60636876 | M-05 T/S LOW COOLANT PSI | 2/24/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-03 | Corrective | MINOR | 60636878 | R-03 REPLACE IOB | 2/24/2023 12:00:00 AM | 2/24/2023 2:00:00 PM | 2/24/2023 6:30:00 PM | 9/6/2023 12:00:00 AM | 9.00 |
| G-01 | Corrective | MINOR | 60636879 | G-02 T/S MOTOR VALVE | 2/24/2023 12:00:00 AM | 2/24/2023 11:00:00 AM | 2/24/2023 1:00:00 PM | 9/8/2023 12:00:00 AM | 4.00 |
| O-01 | Corrective | MINOR | 60899312 | O01 Main Breaker Replacement | 9/27/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-02 | Corrective | MINOR | 60899314 | K02 Hydro Temp issues TS | 9/27/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-05 | Corrective | MINOR | 60900840 | J05 Stick Box Replacement | 9/28/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-03 | Corrective | MINOR | 60900841 | M03 CCJ Pump | 9/28/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| C-05 | Corrective | MINOR | 60900844 | C04 M-system Replacment | 9/28/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60900845 | G06 M System T/S | 9/28/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-02 | Corrective | MINOR | 60900383 | J02 Smoke in Inverter | 9/28/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| G-07 | Corrective | MINOR | 60901583 | G07 Hydro T/S'ing | 9/29/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-05 | Corrective | MINOR | 60901953 | M05 Blow Off Valve Replacement | 9/29/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60901955 | M07 Piltz Replacement | 9/29/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| A-07 | Corrective | MINOR | 60903669 | A07 Coolant Top Up | 10/2/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| C-07 | Corrective | MINOR | 60903677 | C07 Top Up Coolant | 10/2/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| F-04 | Corrective | MINOR | 60903678 | F04 Top Up Coolant | 10/2/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| G-04 | Corrective | MINOR | 60903679 | G04 Top Up Coolant | 10/2/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-06 | Corrective | MINOR | 60903746 | M06 Coolant Top Up | 10/2/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60904020 | M07 Replace Lightbulbs | 10/2/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-01 | Corrective | MINOR | 60904033 | J01Delta issues T/S'ing | 10/2/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60905187 | M07 Delta exchange | 10/3/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-08 | Corrective | MINOR | 60905188 | M08 Pitch Pawl Hoses | 10/3/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-06 | Corrective | MINOR | 60905190 | M06 CCJ Pump Replacement | 10/3/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| S-07 | Corrective | MINOR | 60633189 | S-07 t/s yaw system errors | 2/21/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-01 | Corrective | MINOR | 60633192 | P-01 t/s yaw system errors | 2/21/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| G-01 | Corrective | MINOR | 60633193 | G-01 t/s yaw system errors | 2/21/2023 12:00:00 AM | 2/22/2023 7:00:00 AM | 2/22/2023 10:00:00 AM | 9/8/2023 12:00:00 AM | 6.00 |
| O-07 | Corrective | MINOR | 60634927 | O-07 REPLACE YAW PINION #2 | 2/22/2023 12:00:00 AM | 2/22/2023 7:00:00 AM | 2/22/2023 11:00:00 AM | 9/6/2023 12:00:00 AM | 8.00 |
| O-07 | Corrective | MINOR | 60634976 | O-07 REPLACE YAW PINION #4 | 2/22/2023 12:00:00 AM | 2/22/2023 11:00:00 AM | 2/22/2023 4:00:00 PM | 9/6/2023 12:00:00 AM | 9.50 |
| P-03 | Corrective | MINOR | 60634978 | P-03 REPLACE YAW PINION #8 | 2/22/2023 12:00:00 AM | 2/22/2023 7:00:00 AM | 2/22/2023 11:00:00 AM | 9/6/2023 12:00:00 AM | 8.00 |
| P-03 | Corrective | MINOR | 60635227 | P-03 REPLACE YAW PINION #5 | 2/22/2023 12:00:00 AM | 2/22/2023 11:00:00 AM | 2/22/2023 2:00:00 PM | 9/6/2023 12:00:00 AM | 6.00 |
| P-03 | Corrective | MINOR | 60635230 | P-03 REPLACE YAW PINION #4 | 2/22/2023 12:00:00 AM | 2/22/2023 2:00:00 PM | 2/22/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 6.00 |
| O-09 | Corrective | MINOR | 60635743 | O09 Replace Yaw pinion 4 | 2/23/2023 12:00:00 AM | 2/23/2023 6:30:00 AM | 2/23/2023 3:30:00 PM | 10/5/2023 12:00:00 AM | 17.00 |
| O-09 | Corrective | MINOR | 60635746 | O09 Replace Yaw Pinion 8 | 2/23/2023 12:00:00 AM | 2/23/2023 11:00:00 AM | 2/23/2023 3:00:00 PM | 10/5/2023 12:00:00 AM | 8.00 |
| O-07 | Corrective | MINOR | 60635783 | O07 Replace yaw pinion 2 | 2/22/2023 12:00:00 AM | 2/22/2023 6:00:00 AM | 2/22/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 11.00 |
| R-05 | Corrective | MINOR | 60635977 | R-05 t/s hub valve error | 2/23/2023 12:00:00 AM | 2/23/2023 7:00:00 AM | 2/23/2023 11:00:00 AM | 8/18/2023 12:00:00 AM | 8.00 |
| J-09 | Corrective | MINOR | 60885285 | J-09 replace yaw motor | 9/23/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| H-05 | Corrective | MAJOR | 60895146 | Lower Snake River H05 GearBox Exchange | 9/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| D-09 | Corrective | MAJOR | 60895149 | Lower Snake River D09 GearBox Exchange | 9/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-01 | Corrective | MINOR | 60895848 | M01 Pitch Pawl Hoses | 9/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-02 | Corrective | MINOR | 60895852 | K02 Hydro Temp issues TS | 9/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-01 | Corrective | MINOR | 60896543 | O01 Main Breaker Tripped | 9/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-04 | Corrective | MINOR | 60896891 | M04 Hydro Fitting replacement | 9/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-01 | Corrective | MINOR | 60896893 | R01 Coolant Top Up | 9/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-09 | Corrective | MINOR | 60896894 | O09 Coolant Top Up | 9/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| S-08 | Corrective | MINOR | 60896895 | S08 Coolant Top Up | 9/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| S-09 | Corrective | MINOR | 60896896 | S09 Coolant Top Up | 9/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60896899 | P03 Coolant Top Up | 9/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| A-01 | Corrective | MINOR | 60896962 | A01 GBX Inspection | 9/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| B-10 | Corrective | MINOR | 60896964 | B10 GBX Inspection | 9/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| F-02 | Corrective | MINOR | 60896968 | F02 GBX Inspection | 9/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-02 | Corrective | MINOR | 60896973 | P02 GBX Inspection | 9/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| C-05 | Corrective | MINOR | 60630409 | C05 Yaw Converter Error TS | 2/20/2023 12:00:00 AM | 2/20/2023 7:00:00 AM | 2/20/2023 12:00:00 PM | 9/6/2023 12:00:00 AM | 10.00 |
| S-08 | Corrective | MINOR | 60630419 | S08 Yaw Fail TS | 2/20/2023 12:00:00 AM | 2/20/2023 12:00:00 PM | 2/20/2023 1:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| D-08 | Corrective | MINOR | 60630512 | D08 Too many yaw converter errors TS | 2/20/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-07 | Corrective | MINOR | 60630513 | G07 Yaw Fail Stop | 2/21/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| O-09 | Corrective | MINOR | 60630514 | O09 Yaw Fail Stop | 2/20/2023 12:00:00 AM | 2/21/2023 7:00:00 AM | 2/21/2023 10:00:00 AM | 9/6/2023 12:00:00 AM | 3.00 |
| P-01 | Corrective | MINOR | 60630516 | P01 Too many yaw converter errors | 2/20/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| D-08 | Corrective | MINOR | 60630583 | D08 Too many yaw converter errors TS | 2/20/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-07 | Corrective | MINOR | 60630584 | G07 Yaw Fail Stop | 2/20/2023 12:00:00 AM | 2/20/2023 6:30:00 AM | 2/22/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 17.50 |
| A-02 | Corrective | MINOR | 60630587 | Drone Inspections | 6/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-03 | Corrective | MINOR | 60630588 | Drone Inspections | 7/3/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-04 | Corrective | MINOR | 60630589 | Drone Inspections | 6/1/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-05 | Corrective | MINOR | 60630590 | Drone Inspections | 6/1/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-06 | Corrective | MINOR | 60630591 | Drone Inspections | 6/1/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-07 | Corrective | MINOR | 60630592 | Drone Inspections | 6/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-08 | Corrective | MINOR | 60630593 | Drone Inspections | 6/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-09 | Corrective | MINOR | 60630594 | Drone Inspections | 6/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60630595 | Drone Inspections | 6/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-02 | Corrective | MINOR | 60630596 | Drone Inspections B02 | 7/5/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-03 | Corrective | MINOR | 60630597 | Drone Inspections B03 | 7/5/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-04 | Corrective | MINOR | 60630598 | Drone Inspections B04 | 7/5/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-05 | Corrective | MINOR | 60630599 | Drone Inspections B05 | 7/5/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-06 | Corrective | MINOR | 60630620 | Drone Inspections B06 | 7/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-07 | Corrective | MINOR | 60630621 | Drone Inspections B07 | 7/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-08 | Corrective | MINOR | 60630622 | Drone Inspections B08 | 7/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-09 | Corrective | MINOR | 60630623 | Drone Inspections B09 | 7/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-10 | Corrective | MINOR | 60630624 | Drone Inspections B10 | 7/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-01 | Corrective | MINOR | 60630625 | Drone Inspections C01 | 7/5/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-02 | Corrective | MINOR | 60630626 | Drone Inspections C02 | 7/6/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-03 | Corrective | MINOR | 60630627 | Drone Inspections C03 | 7/6/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-04 | Corrective | MINOR | 60630628 | Drone Inspections C04 | 7/6/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-05 | Corrective | MINOR | 60630629 | Drone Inspections C05 | 7/6/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-06 | Corrective | MINOR | 60630630 | Drone Inspections C06 | 7/6/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-07 | Corrective | MINOR | 60630631 | Drone Inspections C07 | 7/6/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-08 | Corrective | MINOR | 60630632 | Drone Inspections C08 | 7/6/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-09 | Corrective | MINOR | 60630633 | Drone Inspections C09 | 7/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-01 | Corrective | MINOR | 60630634 | Drone Inspections D01 | 7/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-02 | Corrective | MINOR | 60630635 | Drone Inspections D02 | 7/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-03 | Corrective | MINOR | 60630636 | Drone Inspections D03 | 7/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-04 | Corrective | MINOR | 60630637 | Drone Inspections D04 | 7/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-05 | Corrective | MINOR | 60630638 | Drone Inspections D05 | 7/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-06 | Corrective | MINOR | 60630639 | Drone Inspections D06 | 7/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-07 | Corrective | MINOR | 60630640 | Drone Inspections D07 | 7/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-08 | Corrective | MINOR | 60630641 | Drone Inspections D08 | 7/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-09 | Corrective | MINOR | 60630642 | Drone Inspections D09 | 7/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-01 | Corrective | MINOR | 60630643 | Drone Inspections E01 | 7/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-02 | Corrective | MINOR | 60630644 | Drone Inspections E02 | 7/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-03 | Corrective | MINOR | 60630645 | Drone Inspections E03 | 7/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-04 | Corrective | MINOR | 60630646 | Drone Inspections E04 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-05 | Corrective | MINOR | 60630647 | Drone Inspections E05 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-06 | Corrective | MINOR | 60630648 | Drone Inspections E06 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-07 | Corrective | MINOR | 60630649 | Drone Inspections E07 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-01 | Corrective | MINOR | 60630650 | Drone Inspections F01 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-02 | Corrective | MINOR | 60630651 | Drone Inspections F02 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-03 | Corrective | MINOR | 60630652 | Drone Inspections F03 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-04 | Corrective | MINOR | 60630653 | Drone Inspections F04 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-05 | Corrective | MINOR | 60630654 | Drone Inspections F05 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-06 | Corrective | MINOR | 60630655 | Drone Inspections F06 | 7/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-07 | Corrective | MINOR | 60630656 | Drone Inspections F07 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-08 | Corrective | MINOR | 60630657 | Drone Inspections F08 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| F-09 | Corrective | MINOR | 60630658 | Drone Inspections F09 | 7/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-01 | Corrective | MINOR | 60630659 | Drone Inspections G01 | 7/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-02 | Corrective | MINOR | 60630660 | Drone Inspections G02 | 7/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-03 | Corrective | MINOR | 60630661 | Drone Inspections G03 | 7/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-04 | Corrective | MINOR | 60630662 | Drone Inspections G04 | 7/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-05 | Corrective | MINOR | 60630663 | Drone Inspections G05 | 7/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60630664 | Drone Inspections G06 | 7/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-07 | Corrective | MINOR | 60630665 | Drone Inspections G07 | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-01 | Corrective | MINOR | 60630666 | Drone Inspections H01 | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-02 | Corrective | MINOR | 60630667 | Drone Inspections H02 | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-03 | Corrective | MINOR | 60630668 | Drone Inspections H03 | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-04 | Corrective | MINOR | 60630669 | Drone Inspections H04 | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-05 | Corrective | MINOR | 60630670 | Drone Inspections H05 | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-06 | Corrective | MINOR | 60630671 | Drone Inspections H06 | 7/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| I-01 | Corrective | MINOR | 60630672 | Drone Inspections I01 | 7/13/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-02 | Corrective | MINOR | 60630673 | Drone Inspections I02 | 7/13/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-03 | Corrective | MINOR | 60630674 | Drone Inspections I03 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-04 | Corrective | MINOR | 60630675 | Drone Inspections I04 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-05 | Corrective | MINOR | 60630676 | Drone Inspections I05 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-06 | Corrective | MINOR | 60630677 | Drone Inspections I06 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-07 | Corrective | MINOR | 60630678 | Drone Inspections I07 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-08 | Corrective | MINOR | 60630679 | Drone Inspections I08 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-09 | Corrective | MINOR | 60630680 | Drone Inspections I09 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-01 | Corrective | MINOR | 60630681 | Drone Inspections J01 | 7/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-02 | Corrective | MINOR | 60630682 | Drone Inspections J02 | 7/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60630683 | Drone Inspections J03 | 8/9/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-04 | Corrective | MINOR | 60630684 | Drone Inspections J04 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-05 | Corrective | MINOR | 60630685 | Drone Inspections J05 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-06 | Corrective | MINOR | 60630686 | Drone Inspections J06 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-07 | Corrective | MINOR | 60630687 | Drone Inspections J07 | 7/12/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-08 | Corrective | MINOR | 60630688 | Drone Inspections J08 | 7/12/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-09 | Corrective | MINOR | 60630689 | Drone Inspections J09 | 7/12/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| K-01 | Corrective | MINOR | 60630690 | Drone Inspections K01 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| K-02 | Corrective | MINOR | 60630691 | Drone Inspections K02 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| K-03 | Corrective | MINOR | 60630692 | Drone Inspections K03 | 7/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60630693 | Drone Inspections K04 | 7/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-05 | Corrective | MINOR | 60630694 | Drone Inspections K05 | 7/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-06 | Corrective | MINOR | 60630695 | Drone Inspections K06 | 7/14/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-07 | Corrective | MINOR | 60630696 | Drone Inspections K07 | 8/4/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-08 | Corrective | MINOR | 60630697 | Drone Inspections K08 | 7/14/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-09 | Corrective | MINOR | 60630698 | Drone Inspections K09 | 8/4/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-01 | Corrective | MINOR | 60630699 | Drone Inspections L01 | 8/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-02 | Corrective | MINOR | 60630700 | Drone Inspections L02 | 8/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-03 | Corrective | MINOR | 60630701 | Drone Inspections L03 | 8/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-04 | Corrective | MINOR | 60630702 | Drone Inspections L04 | 8/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-05 | Corrective | MINOR | 60630703 | Drone Inspections L05 | 8/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-06 | Corrective | MINOR | 60630704 | Drone Inspections L06 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-07 | Corrective | MINOR | 60630705 | Drone Inspections L07 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-08 | Corrective | MINOR | 60630706 | Drone Inspections L08 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-09 | Corrective | MINOR | 60630707 | Drone Inspections L09 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-01 | Corrective | MINOR | 60630708 | Drone Inspections M01 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-02 | Corrective | MINOR | 60630709 | Drone Inspections M02 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-03 | Corrective | MINOR | 60630710 | Drone Inspections M03 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-04 | Corrective | MINOR | 60630711 | Drone Inspections M04 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-05 | Corrective | MINOR | 60630712 | Drone Inspections M05 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-06 | Corrective | MINOR | 60630713 | Drone Inspections M06 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60630714 | Drone Inspections M07 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-08 | Corrective | MINOR | 60630715 | Drone Inspections M08 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-01 | Corrective | MINOR | 60630716 | Drone Inspections N01 | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-02 | Corrective | MINOR | 60630717 | Drone Inspections N02 | 8/9/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-03 | Corrective | MINOR | 60630718 | Drone Inspections N03 | 8/9/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-04 | Corrective | MINOR | 60630719 | Drone Inspections N04 | 8/9/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-05 | Corrective | MINOR | 60630720 | Drone Inspections N05 | 8/9/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-06 | Corrective | MINOR | 60630721 | Drone Inspections N06 | 8/9/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-07 | Corrective | MINOR | 60630722 | Drone Inspections N07 | 8/9/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-08 | Corrective | MINOR | 60630723 | Drone Inspections N08 | 8/9/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-01 | Corrective | MINOR | 60630724 | Drone Inspections O01 | 8/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-02 | Corrective | MINOR | 60630725 | Drone Inspections O02 | 8/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-03 | Corrective | MINOR | 60630726 | Drone Inspections O03 | 8/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-04 | Corrective | MINOR | 60630727 | Drone Inspections O04 | 8/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-05 | Corrective | MINOR | 60630728 | Drone Inspections O05 | 8/11/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-06 | Corrective | MINOR | 60630729 | Drone Inspections O06 | 8/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| O-07 | Corrective | MINOR | 60630730 | Drone Inspections O07 | 8/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| O-08 | Corrective | MINOR | 60630731 | Drone Inspections O08 | 8/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| O-09 | Corrective | MINOR | 60630732 | Drone Inspections O09 | 8/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-01 | Corrective | MINOR | 60630734 | Drone Inspections P01 | 8/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-02 | Corrective | MINOR | 60630735 | Drone Inspections P02 | 8/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60630736 | Drone Inspections P03 | 8/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-04 | Corrective | MINOR | 60630737 | Drone Inspections P04 | 8/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-05 | Corrective | MINOR | 60630738 | Drone Inspections P05 | 8/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-06 | Corrective | MINOR | 60630739 | Drone Inspections P06 | 8/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-01 | Corrective | MINOR | 60630740 | Drone Inspections R01 | 8/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-02 | Corrective | MINOR | 60630741 | Drone Inspections R02 | 8/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-03 | Corrective | MINOR | 60630742 | Drone Inspections R03 | 8/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-04 | Corrective | MINOR | 60630743 | Drone Inspections R04 | 8/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60630744 | Drone Inspections R05 | 8/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-06 | Corrective | MINOR | 60630745 | Drone Inspections R06 | 8/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-07 | Corrective | MINOR | 60630746 | Drone Inspections R07 | 8/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-08 | Corrective | MINOR | 60630747 | Drone Inspections R08 | 8/4/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-09 | Corrective | MINOR | 60630748 | Drone Inspections R09 | 8/4/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| R-10 | Corrective | MINOR | 60630749 | Drone Inspections R10 | 8/4/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-04 | Corrective | MINOR | 60630750 | Drone Inspections S04 | 8/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-05 | Corrective | MINOR | 60630751 | Drone Inspections S05 | 8/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-06 | Corrective | MINOR | 60630752 | Drone Inspections S06 | 8/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-07 | Corrective | MINOR | 60630753 | Drone Inspections S07 | 8/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-08 | Corrective | MINOR | 60630754 | Drone Inspections S08 | 8/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| S-09 | Corrective | MINOR | 60630755 | Drone Inspections S09 | 8/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-01 | Corrective | MINOR | 60630758 | Drone Inspections | 6/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60632941 | P-03 t/s yaw system | 2/21/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-04 | Corrective | MINOR | 60632942 | P-04 t/s low hydro oil psi | 2/21/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| I-02 | Corrective | MINOR | 60632944 | I-02 t/s yaw system errors | 2/21/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| N-04 | Corrective | MINOR | 60632945 | N-04 t/s yaw system errors | 2/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-05 | Corrective | MINOR | 60632947 | L-05 t/s gen converter errors | 2/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| R-02 | Corrective | MINOR | 60632949 | R-02 t/s yaw system errors | 2/21/2023 12:00:00 AM | 2/22/2023 10:00:00 AM | 2/22/2023 4:30:00 PM | 10/5/2023 12:00:00 AM | 12.00 |
| O-07 | Corrective | MINOR | 60632951 | O-07 t/s yaw system errors | 2/21/2023 12:00:00 AM | 2/22/2023 7:00:00 AM | 2/22/2023 3:30:00 PM | 9/6/2023 12:00:00 AM | 8.50 |
| O-08 | Corrective | MINOR | 60632952 | O-08 t/s yaw system errors | 2/21/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-06 | Corrective | MINOR | 60888321 | L06 Replacment of Hydro Hose | 9/20/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-02 | Corrective | MINOR | 60888322 | K02 Hydro Temp issues TS | 9/20/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-03 | Corrective | MINOR | 60888330 | L04 Hydro Filter Unit replaced | 9/20/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60885282 | J03 Delta REREplacemnet | 9/20/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-08 | Corrective | MINOR | 60890737 | L08 replaced PP Hoses | 9/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-01 | Corrective | MINOR | 60890900 | R01 Valve 109/119 Replacement | 9/21/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| I-09 | Corrective | MINOR | 60890903 | I09 Low Coolant topup | 9/21/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-01 | Corrective | MINOR | 60890904 | P01 Coolant top up | 9/21/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-05 | Corrective | MINOR | 60885564 | L-05 replace hydro hose | 9/21/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| B-06 | Corrective | MINOR | 60891542 | B06 Valve 119/109 Replacement | 9/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| E-07 | Corrective | MINOR | 60891556 | E07 GBX Support | 9/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-07 | Corrective | MINOR | 60891694 | L07 RPM Sensor Issues | 9/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| C-04 | Corrective | MINOR | 60891697 | C04 Msystem TS'ing | 9/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-07 | Corrective | MINOR | 60891699 | K07 Msystem TS'ing | 9/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-08 | Corrective | MINOR | 60891760 | L08 CCJ Pump Motor | 9/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-09 | Corrective | MINOR | 60891762 | L09 GearOil Pump | 9/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-07 | Corrective | MINOR | 60891899 | R07 Msystem TS'ing | 9/22/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-03 | Corrective | MINOR | 60885283 | R-03 t/s no comm | 9/23/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-04 | Corrective | MINOR | 60885284 | M-04 t/s slip ring errors | 9/23/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| G-01 | Corrective | MINOR | 60556217 | topped up coolant G-01 | 12/22/2022 12:00:00 AM | 12/22/2022 9:00:00 AM | 12/22/2022 11:00:00 AM | 9/8/2023 12:00:00 AM | 4.00 |
| G-02 | Corrective | MINOR | 60556218 | topped up coolant G-02 | 12/22/2022 12:00:00 AM | 12/22/2022 11:00:00 AM | 12/22/2022 4:00:00 PM | 9/8/2023 12:00:00 AM | 7.00 |
| E-02 | Corrective | MINOR | 60556319 | topped up coolant E-02 | 12/22/2022 12:00:00 AM | 12/22/2022 6:30:00 AM | 12/22/2022 5:30:00 PM | 9/8/2023 12:00:00 AM | 15.00 |
| L-06 | Corrective | MINOR | 60556340 | topped up coolant L-06 | 12/22/2022 12:00:00 AM | 12/22/2022 10:00:00 AM | 12/22/2022 1:00:00 PM | 9/8/2023 12:00:00 AM | 6.00 |
| M-07 | Corrective | MINOR | 60556341 | topped up coolant M-07 | 12/22/2022 12:00:00 AM | 12/22/2022 6:00:00 AM | 12/22/2022 10:00:00 AM | 9/8/2023 12:00:00 AM | 7.00 |
| F-07 | Corrective | MINOR | 60556343 | topped up coolant F-07 | 12/22/2022 12:00:00 AM | 12/22/2022 5:00:00 AM | 12/22/2022 6:00:00 PM | 9/8/2023 12:00:00 AM | 17.00 |
| H-02 | Corrective | MINOR | 60556346 | topped up coolant H-02 | 12/22/2022 12:00:00 AM | 12/22/2022 1:00:00 PM | 12/22/2022 2:00:00 PM | 2/18/2023 12:00:00 AM | 2.00 |
| P-01 | Corrective | MINOR | 60556348 | topped up coolant P-01 | 12/22/2022 12:00:00 AM | 12/22/2022 7:00:00 AM | 12/22/2022 8:00:00 AM | 9/6/2023 12:00:00 AM | 2.00 |
| P-03 | Corrective | MINOR | 60556351 | topped up coolant P-03 | 12/22/2022 12:00:00 AM | 12/22/2022 8:00:00 AM | 12/22/2022 9:00:00 AM | 9/6/2023 12:00:00 AM | 2.00 |
| I-03 | Corrective | MINOR | 60556353 | topped up coolant I-03 | 12/22/2022 12:00:00 AM | 12/22/2022 10:00:00 AM | 12/22/2022 11:00:00 AM | 9/7/2023 12:00:00 AM | 2.00 |
| R-01 | Corrective | MINOR | 60556355 | topped up coolant R-01 | 12/22/2022 12:00:00 AM | 12/22/2022 9:00:00 AM | 12/22/2022 10:00:00 AM | 9/6/2023 12:00:00 AM | 2.00 |
| J-05 | Corrective | MINOR | 60556380 | topped up coolant J-05 | 12/22/2022 12:00:00 AM | 12/22/2022 11:00:00 AM | 12/22/2022 12:00:00 PM | 9/7/2023 12:00:00 AM | 2.00 |
| J-06 | Corrective | MINOR | 60556384 | topped up coolant J-06 | 12/22/2022 12:00:00 AM | 12/22/2022 12:00:00 PM | 12/22/2022 1:00:00 PM | 9/7/2023 12:00:00 AM | 2.00 |
| L-01 | Corrective | MINOR | 60556397 | topped up coolant L-01 | 12/22/2022 12:00:00 AM | 12/22/2022 1:00:00 PM | 12/22/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 7.00 |
| H-04 | Corrective | MINOR | 60556398 | topped up coolant H-04 | 12/22/2022 12:00:00 AM | 12/22/2022 1:00:00 PM | 12/22/2022 4:00:00 PM | 9/6/2023 12:00:00 AM | 3.00 |
| M-03 | Corrective | MINOR | 60657690 | M-03 replace escape door knob | 7/19/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-07 | Corrective | MINOR | 60657694 | L-07 replace escape door knob | 3/14/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-04 | Corrective | MINOR | 60657793 | P04 Break Pad Replacement | 3/14/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| C-07 | Corrective | MINOR | 60657794 | C07 Generator Inspection | 3/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| S-07 | Corrective | MINOR | 60659830 | S07 Drone Re-inspection | 3/15/2023 12:00:00 AM | 3/16/2023 7:00:00 AM | 3/16/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 4.00 |
| I-04 | Corrective | MINOR | 60659835 | I04 Internal Blade Inspection | 3/16/2023 12:00:00 AM | 3/16/2023 7:00:00 AM | 3/16/2023 10:30:00 AM | 9/7/2023 12:00:00 AM | 4.50 |
| C-01 | Corrective | MINOR | 60659839 | C01 Blade C Re-inspection | 3/16/2023 12:00:00 AM | 3/16/2023 6:30:00 AM | 3/16/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 17.50 |
| M-08 | Corrective | MINOR | 60659851 | M08 Internal Blade Inspection | 3/16/2023 12:00:00 AM | 3/16/2023 12:00:00 PM | 3/16/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 15.00 |
| B-04 | Corrective | MINOR | 60659860 | B04 Replacement of 119/109 | 3/16/2023 12:00:00 AM | 3/16/2023 5:00:00 AM | 3/16/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 21.00 |
| M-07 | Corrective | MINOR | 60659864 | M07 Internal Blade Inspection | 3/16/2023 12:00:00 AM | 3/16/2023 7:00:00 AM | 3/16/2023 12:00:00 PM | 9/8/2023 12:00:00 AM | 13.00 |
| N-01 | Corrective | MINOR | 60659898 | N01 Internal Blade Inspection | 3/16/2023 12:00:00 AM | 3/16/2023 7:00:00 AM | 3/16/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 12.00 |
| N-02 | Corrective | MINOR | 60659899 | N02 Internal Blade Inspections | 3/16/2023 12:00:00 AM | 3/16/2023 11:00:00 AM | 3/16/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 12.00 |
| R-06 | Corrective | MINOR | 60659927 | R06 Drone Re-Inspection | 3/16/2023 12:00:00 AM | 3/16/2023 10:00:00 AM | 3/16/2023 1:00:00 PM | 9/6/2023 12:00:00 AM | 4.50 |
| M-07 | Corrective | MINOR | 60660084 | M07 Carbon Brush Bracket | 3/16/2023 12:00:00 AM | 3/16/2023 7:00:00 AM | 3/16/2023 9:00:00 AM | 9/8/2023 12:00:00 AM | 2.00 |
| C-02 | Corrective | MINOR | 60660085 | C02 Yaw Lube TS'ing | 3/16/2023 12:00:00 AM | 3/16/2023 6:00:00 AM | 3/16/2023 11:00:00 AM | 9/6/2023 12:00:00 AM | 9.00 |
| I-08 | Corrective | MINOR | 60660086 | I08 Gear Oil Temp TS | 3/16/2023 12:00:00 AM | 3/16/2023 11:00:00 AM | 3/16/2023 5:00:00 PM | 9/7/2023 12:00:00 AM | 10.00 |
| N-03 | Corrective | MINOR | 60661106 | N03 Internal Blade Inspections | 3/17/2023 12:00:00 AM | 3/17/2023 7:00:00 AM | 3/17/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 24.00 |
| N-04 | Corrective | MINOR | 60661107 | N04 Internal Blade Inspection | 3/17/2023 12:00:00 AM | 3/17/2023 7:00:00 AM | 3/17/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 24.00 |
| N-05 | Corrective | MINOR | 60661109 | N05 Internal Blade Inspection | 3/17/2023 12:00:00 AM | 3/17/2023 7:00:00 AM | 3/17/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 24.00 |
| N-04 | Corrective | MINOR | 60661213 | N04 Primary Wind Anamon. | 3/17/2023 12:00:00 AM | 3/17/2023 6:00:00 AM | 3/17/2023 3:00:00 PM | 10/5/2023 12:00:00 AM | 9.00 |
| N-05 | Corrective | MINOR | 60661246 | N05 Coolant temp Motor TS | 3/17/2023 12:00:00 AM | 3/17/2023 5:00:00 AM | 3/17/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 29.00 |
| J-01 | Corrective | MINOR | 60551836 | J01 Coolant top up TS | 12/19/2022 12:00:00 AM | 12/19/2022 5:00:00 AM | 12/19/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 35.00 |
| D-05 | Corrective | MINOR | 60554199 | topped up coolant D-05 | 12/20/2022 12:00:00 AM | 12/20/2022 5:00:00 AM | 12/20/2022 5:00:00 PM | 8/18/2023 12:00:00 AM | 32.00 |
| F-06 | Corrective | MINOR | 60555427 | t/s low hydro error F-06 | 12/21/2022 12:00:00 AM | 12/21/2022 5:00:00 AM | 12/21/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 33.50 |
| I-07 | Corrective | MINOR | 60555428 | topped up coolant I-07 | 12/21/2022 12:00:00 AM | 12/21/2022 12:00:00 PM | 12/21/2022 2:00:00 PM | 9/7/2023 12:00:00 AM | 3.00 |
| C-02 | Corrective | MINOR | 60555429 | topped up coolant C-02 | 12/21/2022 12:00:00 AM | 12/21/2022 12:00:00 PM | 12/21/2022 2:00:00 PM | 9/6/2023 12:00:00 AM | 3.00 |
| P-01 | Corrective | MINOR | 60555431 | topped up coolant P-01 | 12/21/2022 12:00:00 AM | 12/21/2022 11:00:00 AM | 12/21/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 3.00 |
| C-05 | Corrective | MINOR | 60555434 | topped up coolant C-05 | 12/21/2022 12:00:00 AM | 12/21/2022 11:00:00 AM | 12/21/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 3.00 |
| B-08 | Corrective | MINOR | 60555436 | topped up coolant B-08 | 12/21/2022 12:00:00 AM | 12/21/2022 7:00:00 AM | 12/21/2022 9:00:00 AM | 9/6/2023 12:00:00 AM | 6.00 |
| E-05 | Corrective | MINOR | 60555437 | topped up coolant E-05 | 12/21/2022 12:00:00 AM | 12/21/2022 9:00:00 AM | 12/21/2022 11:00:00 AM | 9/8/2023 12:00:00 AM | 6.00 |
| E-04 | Corrective | MINOR | 60555438 | topped up coolant E-04 | 12/21/2022 12:00:00 AM | 12/21/2022 11:00:00 AM | 12/21/2022 1:00:00 PM | 9/8/2023 12:00:00 AM | 6.00 |
| G-03 | Corrective | MINOR | 60555439 | topped up coolant G-03 | 12/21/2022 12:00:00 AM | 12/21/2022 1:00:00 PM | 12/21/2022 2:00:00 PM | 9/8/2023 12:00:00 AM | 3.00 |
| G-06 | Corrective | MINOR | 60555441 | topped up coolant G-06 | 12/21/2022 12:00:00 AM | 12/21/2022 2:00:00 PM | 12/21/2022 5:00:00 PM | 9/6/2023 12:00:00 AM | 7.00 |
| B-02 | Corrective | MINOR | 60547563 | internal blade insp. B-02 | 12/15/2022 12:00:00 AM | 12/15/2022 7:00:00 AM | 12/15/2022 3:00:00 PM | 4/26/2023 12:00:00 AM | 24.00 |
| B-03 | Corrective | MINOR | 60547564 | internal blade insp. B-03 | 12/15/2022 12:00:00 AM |  |  | 4/26/2023 12:00:00 AM |  |
| O-09 | Corrective | MINOR | 60547565 | t/s yaw system errors O-09 | 12/15/2022 12:00:00 AM | 12/15/2022 6:00:00 AM | 12/15/2022 5:00:00 PM | 10/5/2023 12:00:00 AM | 29.00 |
| S-06 | Corrective | MINOR | 60547821 | replace yaw pinions S-06 | 12/15/2022 12:00:00 AM | 12/15/2022 7:00:00 AM | 12/15/2022 3:00:00 PM | 2/17/2023 12:00:00 AM | 8.00 |
| J-01 | Corrective | MINOR | 60547872 | somthing hydraulic J-01 | 12/15/2022 12:00:00 AM | 12/15/2022 5:00:00 AM | 12/15/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 12.00 |
| F-08 | Corrective | MINOR | 60548589 | REPLACE GRID FILTER CONTACTOR f-08 | 12/16/2022 12:00:00 AM | 12/16/2022 5:00:00 AM | 12/20/2022 3:00:00 PM | 9/8/2023 12:00:00 AM | 29.50 |
| F-04 | Corrective | MINOR | 60654617 | F04 Yaw COnverter Error | 3/10/2023 12:00:00 AM | 3/10/2023 5:00:00 AM | 3/10/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 28.00 |
| B-01 | Corrective | MINOR | 60656179 | B01 Gen/Grid Delta 1&2 Exchange | 3/11/2023 12:00:00 AM | 3/11/2023 6:00:00 AM | 3/13/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 48.50 |
| J-02 | Corrective | MINOR | 60656223 | J02 Yaw Converter TS'ing | 3/12/2023 12:00:00 AM | 3/12/2023 10:00:00 AM | 3/12/2023 1:30:00 PM | 9/8/2023 12:00:00 AM | 7.00 |
| L-04 | Corrective | MINOR | 60656226 | L04 Yaw converter TS'ing | 3/12/2023 12:00:00 AM | 3/12/2023 6:00:00 AM | 3/12/2023 10:00:00 AM | 9/8/2023 12:00:00 AM | 8.00 |
| M-03 | Corrective | MINOR | 60657421 | M03 Internal Blade Inspection | 3/14/2023 12:00:00 AM | 3/14/2023 6:30:00 AM | 3/15/2023 3:30:00 PM | 9/8/2023 12:00:00 AM | 32.50 |
| M-04 | Corrective | MINOR | 60657422 | M04 Internal Blade Inspection | 3/14/2023 12:00:00 AM | 3/14/2023 5:00:00 AM | 3/14/2023 5:30:00 PM | 9/8/2023 12:00:00 AM | 27.50 |
| M-02 | Corrective | MINOR | 60657425 | M02 Internal Blade Inspection | 3/14/2023 12:00:00 AM | 3/14/2023 11:00:00 AM | 3/14/2023 3:30:00 PM | 9/8/2023 12:00:00 AM | 13.00 |
| M-06 | Corrective | MINOR | 60657426 | M06 Internal Blade Inspection | 3/14/2023 12:00:00 AM | 3/14/2023 11:00:00 AM | 3/15/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 24.00 |
| M-05 | Corrective | MINOR | 60657436 | M05 Internal Blade Inspection | 3/14/2023 12:00:00 AM | 3/14/2023 7:00:00 AM | 3/14/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 12.00 |
| L-07 | Corrective | MINOR | 60657574 | L07 Knob for Escape Hatch | 3/14/2023 12:00:00 AM | 3/14/2023 7:00:00 AM | 3/14/2023 8:00:00 AM | 9/8/2023 12:00:00 AM | 1.00 |
| C-07 | Corrective | MINOR | 60657688 | C-07 inspect gen brg lube | 3/14/2023 12:00:00 AM | 3/14/2023 11:00:00 AM | 3/14/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 8.00 |
| P-04 | Corrective | MINOR | 60657689 | P-04 replace brake pads | 3/14/2023 12:00:00 AM | 3/14/2023 7:00:00 AM | 3/14/2023 11:00:00 AM | 10/5/2023 12:00:00 AM | 8.00 |
| M-04 | Corrective | MINOR | 60657692 | M-04 replace hydro filter gasket | 3/14/2023 12:00:00 AM | 3/14/2023 4:30:00 PM | 3/14/2023 5:30:00 PM | 10/5/2023 12:00:00 AM | 1.00 |
| G-07 | Corrective | MINOR | 60544554 | reset yaw system G-07 | 12/10/2022 12:00:00 AM | 12/10/2022 7:30:00 AM | 12/10/2022 11:00:00 AM | 9/6/2023 12:00:00 AM | 7.00 |
| D-08 | Corrective | MINOR | 60544555 | reset yaw system D-08 | 12/10/2022 12:00:00 AM | 12/10/2022 11:00:00 AM | 12/10/2022 12:00:00 PM | 9/8/2023 12:00:00 AM | 2.00 |
| I-07 | Corrective | MINOR | 60544558 | reset yaw system I-07 | 12/12/2022 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-04 | Corrective | MINOR | 60544587 | replace yaw motor I-04 | 12/10/2022 12:00:00 AM | 12/10/2022 12:00:00 PM | 12/10/2022 3:00:00 PM | 9/7/2023 12:00:00 AM | 6.00 |
| L-07 | Corrective | MINOR | 60544635 | reset yaw system L-07 | 12/10/2022 12:00:00 AM | 12/10/2022 3:00:00 PM | 12/10/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 4.00 |
| A-02 | Corrective | MINOR | 60544745 | internal blade insp. A-02 | 12/12/2022 12:00:00 AM | 12/12/2022 9:00:00 AM | 12/12/2022 1:00:00 PM | 4/26/2023 12:00:00 AM | 12.00 |
| A-02 | Corrective | MINOR | 60544746 | replace yaw motor A-02 | 12/12/2022 12:00:00 AM | 12/12/2022 6:00:00 AM | 12/12/2022 5:30:00 PM | 9/8/2023 12:00:00 AM | 46.50 |
| A-04 | Corrective | MINOR | 60544747 | internal blade insp. A-04 | 12/12/2022 12:00:00 AM | 12/12/2022 1:00:00 PM | 12/12/2022 5:30:00 PM | 4/26/2023 12:00:00 AM | 13.50 |
| A-03 | Corrective | MINOR | 60544749 | internal blade insp. A-03 | 12/12/2022 12:00:00 AM | 12/12/2022 7:00:00 AM | 12/12/2022 11:00:00 AM | 9/6/2023 12:00:00 AM | 12.00 |
| A-05 | Corrective | MINOR | 60544750 | internal blade insp. A-05 | 12/12/2022 12:00:00 AM | 12/12/2022 11:00:00 AM | 12/12/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 12.00 |
| A-06 | Corrective | MINOR | 60545672 | internal blade insp. A-06 | 12/13/2022 12:00:00 AM | 12/13/2022 6:30:00 AM | 12/13/2022 3:00:00 PM | 4/26/2023 12:00:00 AM | 28.50 |
| A-07 | Corrective | MINOR | 60545675 | internal blade insp. A-07 | 12/13/2022 12:00:00 AM | 12/13/2022 5:30:00 AM | 12/13/2022 5:30:00 PM | 9/8/2023 12:00:00 AM | 25.50 |
| A-09 | Corrective | MINOR | 60545676 | internal blade insp. A-09 | 12/13/2022 12:00:00 AM | 12/13/2022 7:00:00 AM | 12/13/2022 5:30:00 PM | 9/8/2023 12:00:00 AM | 30.00 |
| B-01 | Corrective | MINOR | 60545679 | internal blade insp. B-01 | 12/13/2022 12:00:00 AM | 12/13/2022 7:00:00 AM | 12/13/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 35.00 |
| P-03 | Corrective | MINOR | 60545752 | replace yaw pinions P-03 | 12/15/2022 12:00:00 AM | 12/15/2022 6:30:00 AM | 12/15/2022 7:00:00 AM | 2/17/2023 12:00:00 AM | 0.50 |
| K-06 | Corrective | MINOR | 60651603 | K-06 replace blade C 116 valve | 3/7/2023 12:00:00 AM | 3/7/2023 3:00:00 PM | 3/7/2023 4:00:00 PM | 9/8/2023 12:00:00 AM | 1.00 |
| K-02 | Corrective | MINOR | 60651619 | K-02 t/s yaw errors | 3/7/2023 12:00:00 AM | 3/7/2023 3:00:00 PM | 3/7/2023 4:30:00 PM | 9/7/2023 12:00:00 AM | 4.50 |
| K-09 | Corrective | MINOR | 60651644 | K-09 t/s yaw error | 3/7/2023 12:00:00 AM | 3/7/2023 4:00:00 PM | 3/7/2023 5:00:00 PM | 10/5/2023 12:00:00 AM | 1.00 |
| K-08 | Corrective | MINOR | 60652143 | K08 Internal Blade Inspections | 3/8/2023 12:00:00 AM | 3/8/2023 6:30:00 AM | 3/8/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 16.50 |
| K-09 | Corrective | MINOR | 60652145 | K09 Internal Blade Inspections | 3/8/2023 12:00:00 AM | 3/8/2023 11:00:00 AM | 3/8/2023 4:00:00 PM | 10/5/2023 12:00:00 AM | 10.00 |
| L-01 | Corrective | MINOR | 60652147 | L01 Internal Blade Inspections | 3/8/2023 12:00:00 AM | 3/8/2023 5:00:00 AM | 3/8/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 18.00 |
| L-02 | Corrective | MINOR | 60652149 | L02 Internal Blade inspecitons | 3/8/2023 12:00:00 AM | 3/8/2023 11:00:00 AM | 3/8/2023 3:30:00 PM | 9/8/2023 12:00:00 AM | 9.00 |
| L-03 | Corrective | MINOR | 60652150 | L03 Internal Blade Inspection | 3/8/2023 12:00:00 AM | 3/8/2023 7:00:00 AM | 3/8/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 8.00 |
| L-04 | Corrective | MINOR | 60652152 | L04 Internal Blade Inspection | 3/8/2023 12:00:00 AM | 3/8/2023 11:00:00 AM | 3/8/2023 3:30:00 PM | 9/8/2023 12:00:00 AM | 9.00 |
| L-05 | Corrective | MINOR | 60652153 | L05 Internal Blade Inspection | 3/8/2023 12:00:00 AM | 3/8/2023 7:00:00 AM | 3/8/2023 12:00:00 PM | 9/8/2023 12:00:00 AM | 5.00 |
| L-06 | Corrective | MINOR | 60652154 | L06 Internal Blade Inspection | 3/8/2023 12:00:00 AM | 3/8/2023 12:00:00 PM | 3/8/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 9.50 |
| L-05 | Corrective | MINOR | 60652625 | L05 Yaw Deck Bracket | 3/8/2023 12:00:00 AM | 3/8/2023 7:00:00 AM | 3/8/2023 12:00:00 PM | 9/8/2023 12:00:00 AM | 5.00 |
| L-07 | Corrective | MINOR | 60653334 | L07 Internal Blade Inspection | 3/14/2023 12:00:00 AM | 3/9/2023 6:30:00 AM | 3/14/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 28.50 |
| L-08 | Corrective | MINOR | 60653337 | L08 Internal Blade Inspection | 3/9/2023 12:00:00 AM | 3/9/2023 7:00:00 AM | 3/9/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 16.00 |
| L-09 | Corrective | MINOR | 60653338 | L09 Internal Balde Inspections | 3/9/2023 12:00:00 AM | 3/9/2023 5:00:00 AM | 3/9/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 20.00 |
| M-01 | Corrective | MINOR | 60653340 | M01 Internal Blade Inspection | 3/9/2023 12:00:00 AM | 3/9/2023 11:00:00 AM | 3/9/2023 3:30:00 PM | 9/8/2023 12:00:00 AM | 9.00 |
| A-01 | Corrective | MINOR | 60653346 | A01 Tower Cable Rings Replacement | 3/9/2023 12:00:00 AM | 3/9/2023 7:00:00 AM | 3/9/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 24.00 |
| A-02 | Corrective | MINOR | 60653348 | A02 Cable Ring Replacement | 3/9/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-03 | Corrective | MINOR | 60653353 | A03 Cable Ring Replacement | 3/9/2023 12:00:00 AM | 3/9/2023 6:30:00 AM | 3/10/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 47.00 |
| A-04 | Corrective | MINOR | 60653354 | A04 Cable RIng Replacement | 3/9/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| L-09 | Corrective | MINOR | 60653504 | L09 Daisy Knob Replacement | 3/9/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-06 | Corrective | MINOR | 60627341 | J06 Replacement of Crane Hoses | 2/16/2023 12:00:00 AM | 2/16/2023 6:00:00 AM | 2/16/2023 5:00:00 PM | 9/7/2023 12:00:00 AM | 20.00 |
| H-02 | Corrective | MINOR | 60649999 | H02 Main Breaker Reset, | 3/5/2023 12:00:00 AM | 3/5/2023 10:00:00 AM | 3/5/2023 12:00:00 PM | 9/6/2023 12:00:00 AM | 4.00 |
| I-04 | Corrective | MINOR | 60650040 | I04 main breaker reset | 3/5/2023 12:00:00 AM | 3/5/2023 8:00:00 AM | 3/5/2023 9:00:00 AM | 9/7/2023 12:00:00 AM | 2.00 |
| K-08 | Corrective | MINOR | 60650054 | K08 main breaker reset | 3/5/2023 12:00:00 AM | 3/5/2023 9:00:00 AM | 3/5/2023 10:00:00 AM | 10/5/2023 12:00:00 AM | 2.00 |
| A-07 | Corrective | MINOR | 60650132 | A07 Grid FIlter Current Over load | 3/6/2023 12:00:00 AM | 3/6/2023 5:00:00 AM | 3/6/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 20.00 |
| G-04 | Corrective | MINOR | 60650135 | G04 Gear Box Gear Inspection | 3/6/2023 12:00:00 AM | 3/6/2023 6:30:00 AM | 3/6/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 20.50 |
| J-08 | Corrective | MINOR | 60650137 | J08 Internal Blade Inspections | 3/6/2023 12:00:00 AM | 3/6/2023 7:00:00 AM | 3/6/2023 11:00:00 AM | 9/7/2023 12:00:00 AM | 12.00 |
| J-09 | Corrective | MINOR | 60650138 | J09 Internal Blade Inspection | 3/6/2023 12:00:00 AM | 3/6/2023 11:00:00 AM | 3/6/2023 3:00:00 PM | 9/7/2023 12:00:00 AM | 12.00 |
| G-06 | Corrective | MINOR | 60650139 | G06 Low Hydro | 3/6/2023 12:00:00 AM | 3/6/2023 7:00:00 AM | 3/6/2023 11:00:00 AM | 10/5/2023 12:00:00 AM | 8.00 |
| H-02 | Corrective | MINOR | 60650180 | H02 Yaw Converter errors | 3/6/2023 12:00:00 AM | 3/6/2023 7:00:00 AM | 3/6/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 16.00 |
| K-01 | Corrective | MINOR | 60650182 | K01 Internal Blade Inspection | 3/6/2023 12:00:00 AM | 3/6/2023 7:00:00 AM | 3/6/2023 11:00:00 AM | 9/7/2023 12:00:00 AM | 12.00 |
| K-02 | Corrective | MINOR | 60650195 | K02 Internal Blade Inspection | 3/6/2023 12:00:00 AM | 3/6/2023 11:00:00 AM | 3/6/2023 3:00:00 PM | 9/7/2023 12:00:00 AM | 12.00 |
| K-03 | Corrective | MINOR | 60651327 | K03 Internal Blade Inspection | 3/7/2023 12:00:00 AM | 3/7/2023 7:00:00 AM | 3/7/2023 11:00:00 AM | 9/7/2023 12:00:00 AM | 12.00 |
| K-04 | Corrective | MINOR | 60651329 | K04 Internal Blade Inspection | 3/7/2023 12:00:00 AM | 3/7/2023 11:00:00 AM | 3/7/2023 3:30:00 PM | 9/8/2023 12:00:00 AM | 12.50 |
| K-05 | Corrective | MINOR | 60651331 | K05 Internal Blade Inspections | 3/7/2023 12:00:00 AM | 3/7/2023 6:30:00 AM | 3/7/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 16.50 |
| K-06 | Corrective | MINOR | 60651332 | K06 Internal Blade Inspection | 3/7/2023 12:00:00 AM | 3/7/2023 11:00:00 AM | 3/7/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 8.00 |
| K-07 | Corrective | MINOR | 60651333 | K07 Internal Blade Inspection | 3/7/2023 12:00:00 AM | 3/7/2023 5:00:00 AM | 3/7/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 36.00 |
| G-06 | Corrective | MINOR | 60651334 | G06 Hydro Filter Pressure | 3/7/2023 12:00:00 AM | 3/7/2023 7:00:00 AM | 3/7/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 28.50 |
| E-04 | Corrective | MINOR | 60541449 | t/s m system E-04 | 12/8/2022 12:00:00 AM | 12/8/2022 6:30:00 AM | 12/8/2022 3:30:00 PM | 9/8/2023 12:00:00 AM | 17.00 |
| O-06 | Corrective | MINOR | 60541451 | replace gen pur O-06 | 12/8/2022 12:00:00 AM | 12/8/2022 11:00:00 AM | 12/8/2022 3:00:00 PM | 2/18/2023 12:00:00 AM | 8.00 |
| N-08 | Corrective | MINOR | 60541454 | replace gen pur N-08 | 12/8/2022 12:00:00 AM | 12/8/2022 7:00:00 AM | 12/8/2022 11:00:00 AM | 2/18/2023 12:00:00 AM | 8.00 |
| A-08 | Corrective | MINOR | 60541458 | internal blade insp. A-08 | 12/8/2022 12:00:00 AM | 12/8/2022 5:00:00 AM | 12/9/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 45.00 |
| B-08 | Corrective | MINOR | 60541459 | internal blade insp. B-08 | 12/8/2022 12:00:00 AM | 12/8/2022 7:00:00 AM | 12/8/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 24.00 |
| N-05 | Corrective | MINOR | 60541534 | reset mainbreaker N-05 | 12/8/2022 12:00:00 AM | 12/8/2022 7:00:00 AM | 12/8/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 12.00 |
| I-09 | Corrective | MINOR | 60542801 | t/s smoke in the converter I-09 | 12/9/2022 12:00:00 AM | 12/9/2022 6:30:00 AM | 12/9/2022 3:00:00 PM | 9/7/2023 12:00:00 AM | 14.00 |
| N-05 | Corrective | MINOR | 60542802 | replace main breaker N-05 | 12/9/2022 12:00:00 AM | 12/9/2022 5:00:00 AM | 12/9/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 26.50 |
| R-02 | Corrective | MINOR | 60542808 | replace gen pur R-02 | 12/9/2022 12:00:00 AM | 12/9/2022 7:00:00 AM | 12/9/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 23.00 |
| D-03 | Corrective | MINOR | 60542994 | top up coolant D-03 | 12/9/2022 12:00:00 AM | 12/9/2022 12:00:00 PM | 12/9/2022 12:30:00 PM | 8/18/2023 12:00:00 AM | 1.50 |
| D-04 | Corrective | MINOR | 60542997 | top up coolant D-04 | 12/9/2022 12:00:00 AM | 12/9/2022 12:30:00 PM | 12/9/2022 1:00:00 PM | 8/18/2023 12:00:00 AM | 1.50 |
| D-07 | Corrective | MINOR | 60542998 | top up coolant D-07 | 12/9/2022 12:00:00 AM | 12/9/2022 1:00:00 PM | 12/9/2022 1:30:00 PM | 8/18/2023 12:00:00 AM | 1.50 |
| D-08 | Corrective | MINOR | 60543060 | top up coolant D-08 | 12/9/2022 12:00:00 AM | 12/9/2022 1:30:00 PM | 12/9/2022 2:00:00 PM | 8/18/2023 12:00:00 AM | 1.50 |
| E-02 | Corrective | MINOR | 60543063 | top up coolant E-02 | 12/9/2022 12:00:00 AM | 12/9/2022 2:00:00 PM | 12/9/2022 2:30:00 PM | 8/18/2023 12:00:00 AM | 1.50 |
| E-03 | Corrective | MINOR | 60543064 | top up coolant E-03 | 12/9/2022 12:00:00 AM | 12/9/2022 2:30:00 PM | 12/9/2022 3:00:00 PM | 8/18/2023 12:00:00 AM | 1.50 |
| C-09 | Corrective | MINOR | 60538138 | C09 Low Hydro TS Topped Up | 12/5/2022 12:00:00 AM | 12/5/2022 12:00:00 PM | 12/5/2022 6:00:00 PM | 9/8/2023 12:00:00 AM | 12.00 |
| L-07 | Corrective | MINOR | 60538936 | L07 Hydro Motor Pump Replacement | 12/7/2022 12:00:00 AM | 12/6/2022 7:00:00 AM | 12/7/2022 3:00:00 PM | 9/8/2023 12:00:00 AM | 32.00 |
| M-06 | Corrective | MINOR | 60540374 | t/s yaw system errors M-06 | 12/7/2022 12:00:00 AM | 12/7/2022 5:00:00 AM | 12/7/2022 5:30:00 PM | 9/8/2023 12:00:00 AM | 29.50 |
| O-04 | Corrective | MINOR | 60540375 | replace gen pur O-04 | 12/7/2022 12:00:00 AM | 12/7/2022 7:00:00 AM | 12/7/2022 11:00:00 AM | 2/18/2023 12:00:00 AM | 8.00 |
| O-05 | Corrective | MINOR | 60540376 | replace gen pur O-05 | 12/7/2022 12:00:00 AM | 12/7/2022 11:00:00 AM | 12/7/2022 3:00:00 PM | 2/18/2023 12:00:00 AM | 8.00 |
| I-06 | Corrective | MINOR | 60540377 | top up coolant I-06 | 12/7/2022 12:00:00 AM | 12/7/2022 7:00:00 AM | 12/7/2022 5:00:00 PM | 9/7/2023 12:00:00 AM | 60.00 |
| C-05 | Corrective | MINOR | 60535472 | replace IO board C-05 | 12/2/2022 12:00:00 AM | 12/2/2022 7:00:00 AM | 12/2/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 16.00 |
| A-01 | Corrective | MINOR | 60535826 | internal blade insp. A-01 | 12/2/2022 12:00:00 AM | 12/2/2022 6:00:00 AM | 12/2/2022 3:30:00 PM | 4/26/2023 12:00:00 AM | 33.50 |
| C-07 | Corrective | MINOR | 60535827 | internal blade insp. C-07 | 12/2/2022 12:00:00 AM | 12/2/2022 7:00:00 AM | 12/2/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 32.00 |
| L-04 | Corrective | MINOR | 60536022 | t/s yaw system errors L-04 | 12/2/2022 12:00:00 AM | 12/2/2022 3:00:00 PM | 12/2/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 4.00 |
| F-04 | Corrective | MINOR | 60537711 | F04 Replaced yaw motor 7 | 12/4/2022 12:00:00 AM | 12/4/2022 9:00:00 AM | 12/5/2022 7:30:00 AM | 9/8/2023 12:00:00 AM | 10.50 |
| J-07 | Corrective | MINOR | 60537712 | J07 Yaw COnverter issues | 12/5/2022 12:00:00 AM | 12/5/2022 5:00:00 AM | 12/5/2022 12:00:00 PM | 9/7/2023 12:00:00 AM | 14.50 |
| K-09 | Corrective | MINOR | 60537716 | K09 Low Hydro TOpped up | 12/5/2022 12:00:00 AM | 12/5/2022 6:30:00 AM | 12/5/2022 3:00:00 PM | 9/8/2023 12:00:00 AM | 16.50 |
| N-01 | Corrective | MINOR | 60537970 | replace gen pur N-01 | 12/5/2022 12:00:00 AM | 12/5/2022 7:00:00 AM | 12/5/2022 5:00:00 PM | 2/18/2023 12:00:00 AM | 20.00 |
| N-02 | Corrective | MINOR | 60537973 | replace gen pur N-02 | 12/6/2022 12:00:00 AM | 12/6/2022 5:00:00 AM | 12/6/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 37.00 |
| P-03 | Corrective | MINOR | 60533036 | t/s yaw system errors P-03 | 11/30/2022 12:00:00 AM | 11/30/2022 5:30:00 AM | 11/30/2022 7:00:00 PM | 10/5/2023 12:00:00 AM | 70.50 |
| I-06 | Corrective | MINOR | 60534900 | replace IO board I-06 | 12/1/2022 12:00:00 AM | 12/1/2022 5:00:00 AM | 12/1/2022 5:00:00 PM | 9/7/2023 12:00:00 AM | 52.00 |
| D-07 | Corrective | MINOR | 60534901 | reset m system D-07 | 12/1/2022 12:00:00 AM | 12/1/2022 7:00:00 AM | 12/1/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 54.00 |
| N-08 | Corrective | MINOR | 60641627 | N08 Yaw motor Super Heat | 2/28/2023 12:00:00 AM | 2/28/2023 3:00:00 PM | 2/28/2023 6:00:00 PM | 9/8/2023 12:00:00 AM | 7.00 |
| J-08 | Corrective | MINOR | 60643921 | J08 Yaw Converter TS | 3/2/2023 12:00:00 AM | 3/2/2023 5:00:00 AM | 3/2/2023 5:00:00 PM | 9/7/2023 12:00:00 AM | 36.00 |
| R-03 | Corrective | MINOR | 60639561 | R03 I03 Board replaced TS | 2/25/2023 12:00:00 AM | 2/25/2023 7:00:00 AM | 2/25/2023 12:30:00 PM | 9/6/2023 12:00:00 AM | 11.00 |
| S-04 | Corrective | MINOR | 60639566 | S04 Yaw COnverter Reset | 2/26/2023 12:00:00 AM | 2/26/2023 7:00:00 AM | 2/26/2023 11:30:00 AM | 9/6/2023 12:00:00 AM | 9.00 |
| G-06 | Corrective | MINOR | 60639578 | G06 Hydro Level Low | 2/27/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60639606 | P03 Yawmotor Super Heat | 2/27/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60639732 | P-03 t/s yaw system errors | 2/27/2023 12:00:00 AM | 2/27/2023 6:30:00 AM | 2/27/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 24.50 |
| G-06 | Corrective | MINOR | 60639733 | G-06 t/s low hydro | 2/27/2023 12:00:00 AM | 2/27/2023 5:00:00 AM | 2/27/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 20.00 |
| B-10 | Corrective | MINOR | 60639735 | B-10 replace #2 yaw pinion | 2/27/2023 12:00:00 AM | 2/27/2023 7:00:00 AM | 2/27/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 22.00 |
| K-05 | Corrective | MINOR | 60640269 | K05 Yaw Motor Super Heat | 2/27/2023 12:00:00 AM | 2/27/2023 11:00:00 AM | 2/27/2023 5:00:00 PM | 10/5/2023 12:00:00 AM | 14.00 |
| G-06 | Corrective | MINOR | 60640274 | G06 Climb Assist TS | 2/27/2023 12:00:00 AM | 2/27/2023 11:00:00 AM | 2/27/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 8.00 |
| P-03 | Corrective | MINOR | 60640481 | P-03 REPLACE YAW PINION #1 | 2/27/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60641209 | G06 In Local TS | 2/28/2023 12:00:00 AM | 2/28/2023 7:00:00 AM | 2/28/2023 10:00:00 AM | 9/6/2023 12:00:00 AM | 6.00 |
| F-02 | Corrective | MINOR | 60641211 | F02 UPS Bypass TS | 2/28/2023 12:00:00 AM | 2/28/2023 10:00:00 AM | 2/28/2023 1:00:00 PM | 9/8/2023 12:00:00 AM | 6.00 |
| A-01 | Corrective | MINOR | 60641214 | A01 No Comm Issues | 2/28/2023 12:00:00 AM | 2/28/2023 6:30:00 AM | 3/3/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 40.00 |
| D-03 | Corrective | MINOR | 60641216 | D03 No Comm | 2/28/2023 12:00:00 AM | 2/28/2023 10:00:00 AM | 2/28/2023 1:00:00 PM | 9/8/2023 12:00:00 AM | 6.00 |
| K-08 | Corrective | MINOR | 60641217 | K08 Off Line Super Heat | 2/28/2023 12:00:00 AM | 2/28/2023 5:00:00 AM | 2/28/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 22.00 |
| N-03 | Corrective | MINOR | 60641218 | N03 Main Breaker Cut Out | 2/28/2023 12:00:00 AM | 2/28/2023 7:00:00 AM | 2/28/2023 10:00:00 AM | 9/8/2023 12:00:00 AM | 6.00 |
| J-04 | Corrective | MINOR | 60641219 | J04 No comm | 2/28/2023 12:00:00 AM | 2/28/2023 11:00:00 AM | 2/28/2023 3:00:00 PM | 9/7/2023 12:00:00 AM | 8.00 |
| K-01 | Corrective | MINOR | 60641240 | K01 No Comm TS | 2/28/2023 12:00:00 AM | 2/28/2023 7:00:00 AM | 2/28/2023 11:00:00 AM | 9/7/2023 12:00:00 AM | 8.00 |
| C-03 | Corrective | MINOR | 60641242 | C03 Yaw Converter issues | 2/28/2023 12:00:00 AM | 2/28/2023 1:00:00 PM | 2/28/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 4.00 |
| L-07 | Corrective | MINOR | 60641244 | L07 Yaw issues TS | 2/28/2023 12:00:00 AM | 2/28/2023 1:00:00 PM | 3/2/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 12.00 |
| J-03 | Corrective | MINOR | 60626676 | J03 A4 Fans replaced | 2/15/2023 12:00:00 AM | 2/15/2023 6:00:00 AM | 2/15/2023 5:00:00 PM | 9/7/2023 12:00:00 AM | 29.50 |
| J-08 | Corrective | MINOR | 60628210 | J08 Internal Blade Inspection | 2/17/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-09 | Corrective | MINOR | 60628212 | J09 Internal Blade Inspection | 2/17/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| N-01 | Corrective | MINOR | 60628218 | N01 RPM Sensor | 2/17/2023 12:00:00 AM | 2/17/2023 5:00:00 AM | 2/17/2023 5:00:00 PM | 10/5/2023 12:00:00 AM | 38.00 |
| M-07 | Corrective | MINOR | 60628219 | M07 Hydro Top up | 2/17/2023 12:00:00 AM | 2/17/2023 6:30:00 AM | 2/17/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 24.50 |
| D-04 | Corrective | MINOR | 60628281 | D04 Coolant Top up | 2/17/2023 12:00:00 AM | 2/17/2023 7:00:00 AM | 2/17/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 18.00 |
| L-01 | Corrective | MINOR | 60628537 | L01 Internal Blade inspection | 2/17/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-01 | Corrective | MINOR | 60628538 | K01 nternal blade Inspections | 2/17/2023 12:00:00 AM |  |  | 10/2/2023 12:00:00 AM |  |
| M-02 | Corrective | MINOR | 60628542 | M02 internal blade inspection | 2/17/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| B-03 | Corrective | MINOR | 60572915 | internal blade insp B-03 | 1/10/2023 12:00:00 AM | 1/10/2023 7:00:00 AM | 1/10/2023 1:00:00 PM | 2/18/2023 12:00:00 AM | 18.00 |
| B-09 | Corrective | MINOR | 60572918 | internal blade insp B-09 | 1/10/2023 12:00:00 AM | 1/10/2023 7:00:00 AM | 1/10/2023 11:00:00 AM | 2/18/2023 12:00:00 AM | 8.00 |
| B-10 | Corrective | MINOR | 60572919 | internal blade insp B-10 | 1/10/2023 12:00:00 AM | 1/10/2023 11:00:00 AM | 1/10/2023 3:00:00 PM | 2/18/2023 12:00:00 AM | 8.00 |
| J-06 | Corrective | MINOR | 60627312 | J06 replacement of Lightning Card | 2/16/2023 12:00:00 AM | 2/16/2023 10:00:00 AM | 2/16/2023 11:00:00 AM | 8/18/2023 12:00:00 AM | 1.00 |
| G-06 | Corrective | MINOR | 60885280 | G-06 replace reactor fan | 9/17/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| N-03 | Corrective | MINOR | 60885281 | N-03 replace deltas | 9/17/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-01 | Corrective | MINOR | 60885560 | L-01 check coolant level | 9/18/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-03 | Corrective | MINOR | 60885561 | L-03 replace cabinet fan | 9/18/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| N-03 | Corrective | MINOR | 60885562 | N-03 t/s delta temp error | 9/18/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-01 | Corrective | MINOR | 60885563 | K-01 t/s brake temp error | 9/18/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| E-07 | Corrective | MINOR | 60887155 | E07 GBX rebuild | 9/19/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-07 | Corrective | MINOR | 60887156 | L07 CCj Replacement | 9/19/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| F-02 | Corrective | MINOR | 60888038 | F02 UPS By Pass T/S | 9/20/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| A-08 | Corrective | MINOR | 60622201 | A-08 Blade A Webstart Repair | 2/10/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-09 | Corrective | MINOR | 60622298 | C-09 Blade A Filler Repair | 2/10/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-09 | Corrective | MINOR | 60622326 | replace crane hose I-09 | 2/10/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-07 | Corrective | MINOR | 60622327 | replace cabinet fan I-07 | 2/10/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| A-03 | Corrective | MINOR | 60622341 | A-08 Blade A Filler Repair | 2/10/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-10 | Corrective | MINOR | 60624026 | B10 Yaw Gear Pulled TS | 2/11/2023 12:00:00 AM | 2/11/2023 7:00:00 AM | 2/13/2023 8:00:00 AM | 9/6/2023 12:00:00 AM | 17.00 |
| L-07 | Corrective | MINOR | 60624080 | L07 No Comm | 2/13/2023 12:00:00 AM | 2/13/2023 7:00:00 AM | 2/13/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 23.00 |
| L-07 | Corrective | MINOR | 60624098 | t/s no comms L-07 | 2/13/2023 12:00:00 AM | 2/13/2023 5:00:00 AM | 2/13/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 18.50 |
| K-03 | Corrective | MINOR | 60625223 | t/s yaw system errors K-03 | 2/14/2023 12:00:00 AM | 2/14/2023 6:00:00 AM | 2/14/2023 3:00:00 PM | 9/7/2023 12:00:00 AM | 33.00 |
| R-03 | Corrective | MINOR | 60625224 | t/s yaw system errors R-03 | 2/14/2023 12:00:00 AM | 2/14/2023 7:00:00 AM | 2/14/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 24.00 |
| J-02 | Corrective | MINOR | 60626251 | J02 Internal Blade Inspection | 2/15/2023 12:00:00 AM | 2/15/2023 5:00:00 AM | 2/15/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 28.00 |
| J-03 | Corrective | MINOR | 60626255 | J03 Internal Blade Inspections | 2/15/2023 12:00:00 AM | 2/15/2023 6:30:00 AM | 2/15/2023 3:30:00 PM | 9/7/2023 12:00:00 AM | 25.00 |
| J-04 | Corrective | MINOR | 60626257 | J04 Internal Blade Inspection | 2/15/2023 12:00:00 AM | 2/15/2023 7:00:00 AM | 2/15/2023 11:00:00 AM | 9/7/2023 12:00:00 AM | 8.00 |
| J-05 | Corrective | MINOR | 60626259 | J05 Internal Blade Inspection | 2/15/2023 12:00:00 AM | 2/15/2023 11:00:00 AM | 2/15/2023 4:00:00 PM | 9/7/2023 12:00:00 AM | 9.50 |
| B-07 | Corrective | MINOR | 60882007 | B07 Valve 119/109 Replacement | 9/14/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-05 | Corrective | MINOR | 60882011 | K05 Gear Oil Pump Replacement | 9/14/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| A-03 | Corrective | MINOR | 60882012 | A03 Blade A Repair | 9/13/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| C-09 | Corrective | MINOR | 60882015 | C09 Blade A External Blade Repair | 9/16/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| A-08 | Corrective | MINOR | 60882017 | A08 Blade A Internal Repair | 9/14/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| C-07 | Corrective | MINOR | 60882019 | C07 Blade A Internal repair | 9/17/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-08 | Corrective | MINOR | 60882042 | R08 Hydro Check T/S | 9/14/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| L-01 | Corrective | MINOR | 60882044 | L01 IMS Pinion Inspection | 9/15/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-01 | Corrective | MINOR | 60882829 | R01 GBX Support | 9/16/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-08 | Corrective | MINOR | 60882907 | K08 A21 Fan REplacement | 9/15/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| E-01 | Corrective | MINOR | 60883239 | E01 GBX Re-build | 9/15/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| E-06 | Corrective | MINOR | 60877031 | E06 Replacing IO1 Board | 9/11/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-09 | Corrective | MINOR | 60877035 | K09 A 21 Fan Replacement | 9/15/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-06 | Corrective | MINOR | 60878031 | K06 Converter Parameter change | 9/12/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| B-06 | Corrective | MINOR | 60878036 | B06 IO Board Replacement | 9/12/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| I-09 | Corrective | MINOR | 60878060 | I-09 converter param change | 9/12/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-05 | Corrective | MINOR | 60879279 | K05 Yaw Gear Retro | 9/13/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-04 | Corrective | MINOR | 60880620 | R04 Msystem TS | 9/13/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60880621 | R05 Msystem TS | 9/13/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-06 | Corrective | MINOR | 60878061 | K-06 replace cabinet fan | 9/13/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| S-07 | Corrective | MINOR | 60528487 | replace #6 yaw pinion | 11/29/2022 12:00:00 AM | 11/29/2022 6:30:00 AM | 11/29/2022 3:30:00 PM | 8/18/2023 12:00:00 AM | 33.00 |
| J-03 | Corrective | MINOR | 60528488 | t/s yaw system errors J-03 | 11/29/2022 12:00:00 AM | 11/29/2022 7:00:00 AM | 11/29/2022 11:00:00 AM | 2/18/2023 12:00:00 AM | 12.00 |
| G-06 | Corrective | MINOR | 60528494 | t/s yaw system errors G-06 | 11/29/2022 12:00:00 AM | 11/29/2022 11:00:00 AM | 11/29/2022 5:00:00 PM | 9/6/2023 12:00:00 AM | 17.50 |
| K-03 | Corrective | MINOR | 60874398 | K03 Lightning Card Holders | 9/8/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-09 | Corrective | MINOR | 60874399 | O09 Gen Bearing Lube T/S | 9/8/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-05 | Corrective | MINOR | 60874581 | O05 Main Bearing Lube T/S | 9/8/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| N-01 | Corrective | MINOR | 60874582 | N01 Gen V Phase Temp T/S | 9/8/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-08 | Corrective | MINOR | 60875077 | R08 GBX Support | 9/9/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60876679 | K04 Replacement of Yaw Gear #6 | 9/11/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60876721 | K04 A21 Fan Replacement | 9/11/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-07 | Corrective | MINOR | 60876747 | K07 A21 Fan Replacement | 9/11/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-05 | Corrective | MINOR | 60876749 | K05 A21 Fan Replacement | 9/13/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-04 | Corrective | MINOR | 60877027 | R04 No Comm UPS Failure | 9/11/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| A-04 | Corrective | MINOR | 60526433 | A04 Yaw Motor #3 Replaced | 11/26/2022 12:00:00 AM | 11/26/2022 2:00:00 PM | 11/26/2022 6:00:00 PM | 4/26/2023 12:00:00 AM | 8.00 |
| E-07 | Corrective | MINOR | 60526438 | E07 Main CPU Exchange TS | 11/26/2022 12:00:00 AM | 11/26/2022 7:00:00 AM | 11/26/2022 2:00:00 PM | 8/18/2023 12:00:00 AM | 11.00 |
| J-01 | Corrective | MINOR | 60526461 | J01 Generator Issues | 11/27/2022 12:00:00 AM | 11/27/2022 9:00:00 AM | 11/28/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 32.00 |
| L-05 | Corrective | MINOR | 60526463 | L05 Converter Reset TS | 11/27/2022 12:00:00 AM | 11/27/2022 9:30:00 AM | 11/27/2022 10:00:00 AM | 8/18/2023 12:00:00 AM | 1.00 |
| O-09 | Corrective | MINOR | 60526466 | O09 Reset Smoke Detector TS | 11/27/2022 12:00:00 AM | 11/27/2022 10:00:00 AM | 11/27/2022 10:30:00 AM | 2/17/2023 12:00:00 AM | 1.00 |
| S-06 | Corrective | MINOR | 60526467 | S06 Yaw Issues TS | 11/27/2022 12:00:00 AM | 11/27/2022 10:30:00 AM | 11/28/2022 4:30:00 PM | 9/6/2023 12:00:00 AM | 26.50 |
| E-07 | Corrective | MINOR | 60526469 | E07 Replaced Gen 2 Delta | 11/27/2022 12:00:00 AM | 11/27/2022 11:00:00 AM | 11/27/2022 6:00:00 PM | 2/17/2023 12:00:00 AM | 14.00 |
| B-07 | Corrective | MINOR | 60526471 | B07 Pitch Hydrulics Superheat | 11/28/2022 12:00:00 AM | 11/28/2022 6:30:00 AM | 11/28/2022 3:30:00 PM | 9/6/2023 12:00:00 AM | 33.50 |
| J-01 | Corrective | MAJOR | 60526813 | LSR J01 Generator Replacement | 11/27/2022 12:00:00 AM | 12/18/2022 7:00:00 AM | 12/19/2022 3:00:00 PM | 9/8/2023 12:00:00 AM | 72.00 |
| J-06 | Corrective | MINOR | 60872159 | J06 Gear Oil Pump Replacement | 9/6/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-05 | Corrective | MINOR | 60872442 | J06 Main Shaft Hoses | 9/6/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-09 | Corrective | MINOR | 60872446 | J09 twisted bracket | 9/6/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-01 | Corrective | MINOR | 60872448 | K01 Stic box replacement | 9/7/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| E-05 | Corrective | MINOR | 60872449 | E05 Replace IO3 | 9/6/2023 12:00:00 AM |  |  | 9/28/2023 12:00:00 AM |  |
| B-05 | Corrective | MINOR | 60872450 | B05 MotorValve Replacement | 9/6/2023 12:00:00 AM |  |  | 9/28/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60872451 | G06 Coolant Top up | 9/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-05 | Corrective | MINOR | 60872452 | M05 Coolant Top Up | 9/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-08 | Corrective | MINOR | 60872453 | N08 Coolant Top Up | 9/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-08 | Corrective | MINOR | 60872454 | O08 Coolant Top Up | 9/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| P-01 | Corrective | MINOR | 60872455 | P01 Coolant Top Up | 9/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-05 | Corrective | MINOR | 60569620 | t/s avi light errors D-05 | 1/6/2023 12:00:00 AM | 1/6/2023 7:00:00 AM | 1/6/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 30.50 |
| H-04 | Corrective | MINOR | 60586825 | H04Low Hydro TS | 1/18/2023 12:00:00 AM | 1/18/2023 10:00:00 AM | 1/18/2023 6:00:00 PM | 9/6/2023 12:00:00 AM | 24.00 |
| J-05 | Corrective | MINOR | 60569622 | t/s yaw system error J-05 | 1/6/2023 12:00:00 AM | 1/6/2023 5:00:00 AM | 1/6/2023 5:30:00 PM | 9/7/2023 12:00:00 AM | 37.00 |
| K-02 | Corrective | MINOR | 60873426 | K02 Light Bulb Replacement | 9/7/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60873427 | R05 Hydro testing | 9/7/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| N-06 | Corrective | MINOR | 60873428 | N06 A21 External Temp T/S | 9/7/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-09 | Corrective | MINOR | 60873429 | R09 A21 Temp High T/S | 9/7/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-01 | Corrective | MINOR | 60873430 | K01 IMS Pinion Ins | 9/7/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60478900 | M07 M System replacement | 10/17/2022 12:00:00 AM |  |  | 9/12/2023 12:00:00 AM |  |
| N-08 | Corrective | MINOR | 60480087 | N08 TS UPS Failure | 10/18/2022 12:00:00 AM |  |  | 9/12/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60480091 | P03 A21 Fan Replacement TS | 10/18/2022 12:00:00 AM |  |  | 9/12/2023 12:00:00 AM |  |
| P-06 | Corrective | MINOR | 60480093 | P06 Lightning Card Replacment TS | 10/18/2022 12:00:00 AM |  |  | 9/12/2023 12:00:00 AM |  |
| P-06 | Corrective | MINOR | 60480094 | P03 Coolant Repair TS | 10/18/2022 12:00:00 AM |  |  | 9/12/2023 12:00:00 AM |  |
| K-05 | Corrective | MINOR | 60484758 | K05 Coolant Leak Repair | 10/19/2022 12:00:00 AM |  |  | 8/30/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60730814 | R05 Gear Oil Blower S. Heat | 5/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-08 | Corrective | MINOR | 60733421 | A08 Yaw Gear repair | 5/15/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-04 | Corrective | MINOR | 60733763 | E04 Gear Box re-build | 5/15/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-06 | Corrective | MINOR | 60732659 | B06 Delta Fan Exchange | 5/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| G-02 | Corrective | MINOR | 60732660 | G02 LMU RPM sensor | 5/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-01 | Corrective | MINOR | 60732662 | O01 Smoke Detector Replaced | 5/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-09 | Corrective | MINOR | 60732666 | O09 Yaw Motor 8/6 replaced | 5/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-08 | Corrective | MINOR | 60732667 | A08 KK breaker for P Valves Tripped | 5/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60734612 | M07 Yaw Converter Errors | 5/16/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| A-07 | Corrective | MINOR | 60735222 | A07 Stic Box replacement | 5/16/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-01 | Corrective | MINOR | 60735224 | K01 Yaw converter error | 5/15/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| A-06 | Corrective | MINOR | 60735227 | A06 Grounding Strap Replacement | 5/16/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| P-03 | Corrective | MINOR | 60870778 | P03 Yaw Converter error | 9/4/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-08 | Corrective | MINOR | 60871094 | J08 A21 Fan | 9/5/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-06 | Corrective | MINOR | 60871464 | J06 hydro fitting replacement | 9/5/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-02 | Corrective | MINOR | 60842384 | P02 COnvertoer Comm | 8/8/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60842398 | J03 Replment 215V | 8/8/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| A-01 | Corrective | MINOR | 60842479 | A01 Converter Comm issues | 8/8/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-03 | Corrective | MINOR | 60842585 | B03 Yaw COnverter | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-08 | Corrective | MINOR | 60842687 | M08 Smoke in the Inverter | 8/8/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60516501 | top up coolant B-01 | 11/18/2022 12:00:00 AM | 11/18/2022 5:00:00 AM | 11/18/2022 5:00:00 PM | 4/26/2023 12:00:00 AM | 24.00 |
| J-02 | Corrective | MINOR | 60516502 | top up coolant J-02 | 11/18/2022 12:00:00 AM | 11/18/2022 8:00:00 AM | 11/18/2022 9:00:00 AM | 9/7/2023 12:00:00 AM | 2.00 |
| J-08 | Corrective | MINOR | 60516504 | top up coolant J-08 | 11/18/2022 12:00:00 AM | 11/18/2022 9:00:00 AM | 11/18/2022 10:00:00 AM | 9/7/2023 12:00:00 AM | 2.00 |
| J-09 | Corrective | MINOR | 60516505 | top up coolant J-09 | 11/18/2022 12:00:00 AM | 11/18/2022 10:00:00 AM | 11/18/2022 11:00:00 AM | 9/7/2023 12:00:00 AM | 2.00 |
| K-02 | Corrective | MINOR | 60516507 | top up coolant K-02 | 11/18/2022 12:00:00 AM | 11/18/2022 11:00:00 AM | 11/18/2022 12:00:00 PM | 9/7/2023 12:00:00 AM | 2.00 |
| K-04 | Corrective | MINOR | 60516508 | top up coolant K-04 | 11/18/2022 12:00:00 AM | 11/18/2022 12:00:00 PM | 11/18/2022 1:00:00 PM | 9/8/2023 12:00:00 AM | 2.00 |
| R-07 | Corrective | MINOR | 60516766 | R07 Pitch Pawl Breaker Replacement | 11/18/2022 12:00:00 AM | 11/18/2022 1:00:00 PM | 11/18/2022 5:00:00 PM | 9/6/2023 12:00:00 AM | 8.00 |
| C-09 | Corrective | MINOR | 60518021 | C09 Low Hydro TS Topped Up | 11/19/2022 12:00:00 AM | 11/19/2022 7:00:00 AM | 11/20/2022 5:30:00 PM | 2/17/2023 12:00:00 AM | 17.00 |
| M-05 | Corrective | MINOR | 60519302 | t/s low hydro M-05 | 11/21/2022 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-07 | Corrective | MINOR | 60519304 | top up coolant K-07 | 11/21/2022 12:00:00 AM | 11/21/2022 9:00:00 AM | 11/21/2022 10:00:00 AM | 9/8/2023 12:00:00 AM | 2.00 |
| K-06 | Corrective | MINOR | 60519305 | top up coolant K-06 | 11/21/2022 12:00:00 AM | 11/21/2022 10:00:00 AM | 11/21/2022 11:00:00 AM | 9/8/2023 12:00:00 AM | 2.00 |
| N-03 | Corrective | MINOR | 60519306 | top up coolant N-03 | 11/21/2022 12:00:00 AM | 11/21/2022 11:00:00 AM | 11/21/2022 12:00:00 PM | 10/5/2023 12:00:00 AM | 2.00 |
| B-02 | Corrective | MINOR | 60519307 | top up coolant B-02 | 11/21/2022 12:00:00 AM | 11/21/2022 12:00:00 PM | 11/21/2022 1:00:00 PM | 9/8/2023 12:00:00 AM | 2.00 |
| B-06 | Corrective | MINOR | 60519308 | top up coolant B-06 | 11/21/2022 12:00:00 AM | 11/21/2022 2:00:00 PM | 11/21/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| B-03 | Corrective | MINOR | 60519310 | top up coolant B-03 | 11/21/2022 12:00:00 AM | 11/21/2022 1:00:00 PM | 11/21/2022 2:00:00 PM | 9/8/2023 12:00:00 AM | 2.00 |
| B-07 | Corrective | MINOR | 60519311 | top up coolant B-07 | 11/21/2022 12:00:00 AM | 11/21/2022 3:00:00 PM | 11/21/2022 4:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| C-06 | Corrective | MINOR | 60519312 | top up coolant C-06 | 11/21/2022 12:00:00 AM | 11/21/2022 4:00:00 PM | 11/21/2022 5:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| C-08 | Corrective | MINOR | 60519313 | top up coolant C-08 | 11/21/2022 12:00:00 AM | 11/21/2022 5:00:00 PM | 11/21/2022 6:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| M-08 | Corrective | MINOR | 60519316 | t/s low hydro M-08 | 11/21/2022 12:00:00 AM | 11/21/2022 5:00:00 AM | 11/22/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 28.50 |
| F-04 | Corrective | MINOR | 60600446 | blade insp. F-04 | 1/30/2023 12:00:00 AM | 1/30/2023 7:00:00 AM | 1/30/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 19.00 |
| F-05 | Corrective | MINOR | 60600449 | blade insp. F-05 | 1/30/2023 12:00:00 AM | 1/30/2023 7:00:00 AM | 1/30/2023 12:00:00 PM | 8/18/2023 12:00:00 AM | 5.00 |
| F-06 | Corrective | MINOR | 60600450 | blade insp. F-06 | 1/30/2023 12:00:00 AM | 1/30/2023 12:00:00 PM | 1/30/2023 5:00:00 PM | 8/18/2023 12:00:00 AM | 5.00 |
| S-06 | Corrective | MINOR | 60600452 | replace 116 valve S-06 | 1/30/2023 12:00:00 AM | 1/30/2023 6:30:00 AM | 1/30/2023 6:30:00 PM | 9/6/2023 12:00:00 AM | 40.00 |
| F-06 | Corrective | MINOR | 60600459 | replace crane hose F-06 | 1/30/2023 12:00:00 AM | 1/30/2023 11:00:00 AM | 1/30/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 6.00 |
| F-05 | Corrective | MINOR | 60600480 | replace 116 valve F-05 | 1/30/2023 12:00:00 AM | 1/30/2023 7:00:00 AM | 1/30/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 4.00 |
| F-07 | Corrective | MINOR | 60604231 | blade insp. F-07 | 1/31/2023 12:00:00 AM | 1/31/2023 7:00:00 AM | 1/31/2023 12:00:00 PM | 9/8/2023 12:00:00 AM | 10.00 |
| G-02 | Corrective | MINOR | 60604232 | blade insp. G-02 | 1/31/2023 12:00:00 AM | 1/31/2023 12:00:00 PM | 1/31/2023 4:00:00 PM | 9/8/2023 12:00:00 AM | 8.00 |
| G-02 | Corrective | MINOR | 60604234 | blade insp. G-02 | 1/31/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| S-06 | Corrective | MINOR | 60604237 | t/s converter cooling errors S-06 | 1/31/2023 12:00:00 AM | 1/31/2023 6:30:00 AM | 1/31/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 37.50 |
| G-01 | Corrective | MINOR | 60604329 | blade insp. G-01 | 1/31/2023 12:00:00 AM | 2/1/2023 7:00:00 AM | 2/1/2023 11:00:00 AM | 8/18/2023 12:00:00 AM | 4.00 |
| F-09 | Corrective | MINOR | 60604332 | blade insp. F-09 | 1/31/2023 12:00:00 AM | 1/31/2023 7:00:00 AM | 1/31/2023 3:00:00 PM | 8/18/2023 12:00:00 AM | 8.00 |
| F-09 | Corrective | MINOR | 60604343 | replace 109/119 valves F-09 | 1/31/2023 12:00:00 AM | 1/31/2023 7:00:00 AM | 1/31/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 8.00 |
| G-01 | Corrective | MINOR | 60605685 | replace crane hose G-01 | 2/1/2023 12:00:00 AM | 2/1/2023 7:00:00 AM | 2/1/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 4.00 |
| G-03 | Corrective | MINOR | 60605686 | blade insp. G-03 | 2/1/2023 12:00:00 AM | 2/1/2023 11:00:00 AM | 2/1/2023 4:00:00 PM | 9/8/2023 12:00:00 AM | 10.00 |
| G-03 | Corrective | MINOR | 60605687 | replace hydro filter gasket G-03 | 2/1/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| G-04 | Corrective | MINOR | 60605688 | blade insp. G-04 | 2/1/2023 12:00:00 AM | 2/1/2023 7:00:00 AM | 2/1/2023 12:00:00 PM | 9/8/2023 12:00:00 AM | 15.00 |
| G-05 | Corrective | MINOR | 60605689 | blade insp. G-05 | 2/1/2023 12:00:00 AM | 2/1/2023 12:00:00 PM | 2/1/2023 4:00:00 PM | 9/8/2023 12:00:00 AM | 11.00 |
| E-04 | Corrective | MINOR | 60605690 | t/s m-system error E-04 | 2/1/2023 12:00:00 AM | 2/1/2023 6:30:00 AM | 2/1/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 28.50 |
| G-05 | Corrective | MINOR | 60605836 | replace crane hose G-05 | 2/1/2023 12:00:00 AM | 2/1/2023 3:00:00 PM | 2/1/2023 4:00:00 PM | 10/5/2023 12:00:00 AM | 1.00 |
| G-06 | Corrective | MINOR | 60606672 | blade insp. G-06 | 2/2/2023 12:00:00 AM | 2/2/2023 7:00:00 AM | 2/2/2023 11:00:00 AM | 9/6/2023 12:00:00 AM | 8.00 |
| G-07 | Corrective | MINOR | 60606673 | blade insp. G-07 | 2/2/2023 12:00:00 AM | 2/2/2023 11:00:00 AM | 2/2/2023 4:00:00 PM | 9/6/2023 12:00:00 AM | 8.00 |
| G-07 | Corrective | MINOR | 60606674 | replace crane contoler G-07 | 2/2/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60606675 | replace cabinet lock G-06 | 2/2/2023 12:00:00 AM | 2/2/2023 6:30:00 AM | 2/2/2023 3:00:00 PM | 10/5/2023 12:00:00 AM | 8.50 |
| H-01 | Corrective | MINOR | 60606676 | blade insp. H-01 | 2/2/2023 12:00:00 AM | 2/2/2023 7:00:00 AM | 2/2/2023 11:00:00 AM | 9/6/2023 12:00:00 AM | 8.00 |
| H-02 | Corrective | MINOR | 60606677 | blade insp. H-02 | 2/2/2023 12:00:00 AM | 2/2/2023 11:00:00 AM | 2/2/2023 4:30:00 PM | 9/6/2023 12:00:00 AM | 5.50 |
| A-01 | Corrective | MINOR | 60713579 | A01 Valve 28 replacment TS | 5/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| R-01 | Corrective | MINOR | 60713250 | R-01 replace sonic | 5/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-02 | Corrective | MINOR | 60713254 | replace ccjpump/motor A-02 | 5/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-04 | Corrective | MINOR | 60713950 | A04 Reactor Fan Replacement | 5/11/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60716439 | B-01 check hydro oil level | 5/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60716763 | B01 Gear Box Assyembly | 5/2/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| P-02 | Corrective | MINOR | 60717602 | P02 Gear Oil Level Low | 5/2/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-04 | Corrective | MINOR | 60717781 | A04 Crane Hose replacement | 5/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-03 | Corrective | MINOR | 60717782 | A03 Hydro Cork Seal Replacement | 5/3/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60717910 | B01 Lube System Hoses | 7/18/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-02 | Corrective | MINOR | 60718098 | A02 Resolver Motor Replacement | 5/3/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-02 | Corrective | MINOR | 60718695 | A02 Yaw Gear #4 Replacement | 5/4/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-01 | Corrective | MINOR | 60766786 | O01 Delta Exchange | 6/15/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| H-06 | Corrective | MINOR | 60766788 | H06 Delta Exchange | 6/15/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60767011 | K04 Gear Box Support | 6/15/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-02 | Corrective | MINOR | 60767012 | D02 Replacement of Crane Hose | 6/15/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-07 | Corrective | MINOR | 60767668 | B07 Main Breaker reset | 6/15/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| I-01 | Corrective | MINOR | 60767669 | I01 Main Breaker reset | 6/15/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-04 | Corrective | MINOR | 60767670 | I04 Main Breaker rest | 6/15/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| M-04 | Corrective | MINOR | 60768629 | M04 Can Hub Communication | 6/16/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| H-02 | Corrective | MINOR | 60768640 | H02 Low Hydro TS | 6/16/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| M-01 | Corrective | MINOR | 60768649 | M01 Pitch Hydo SuprHeat | 6/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-07 | Corrective | MINOR | 60831142 | G07 Filter replaement | 7/31/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60831151 | G06 Replace Cork on Hydro station | 7/31/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-05 | Corrective | MINOR | 60832531 | H05 Yaw Issues | 8/1/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-01 | Corrective | MINOR | 60832532 | H01 CCJ Pump replacemnet | 8/1/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-01 | Corrective | MINOR | 60832533 | H01 Crane Hoses | 8/1/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60832651 | G06 Coolant Air Breather Replmt | 8/1/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-04 | Corrective | MINOR | 60861257 | R04 UPS Head Unit | 8/28/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| I-03 | Corrective | MINOR | 60861258 | I03 Pitch Pawl issues | 8/28/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-04 | Corrective | MINOR | 60861400 | J04 Replace Deck Shoe | 8/28/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-05 | Corrective | MINOR | 60861382 | J-05 replace crane hose | 8/28/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| E-07 | Corrective | MAJOR | 60862277 | Lower Snake River E07 GearBox Exchange | 8/29/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-07 | Corrective | MINOR | 60523401 | O07 Yaw Converter Errors | 11/23/2022 12:00:00 AM | 11/23/2022 10:00:00 AM | 11/23/2022 1:00:00 PM | 9/6/2023 12:00:00 AM | 3.00 |
| M-08 | Corrective | MINOR | 60524144 | Breaker for CCJ replaced in M08 | 9/26/2022 12:00:00 AM | 9/26/2022 12:00:00 AM | 9/27/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| M-02 | Corrective | MINOR | 60524145 | Delta IO, Twisted Bracket, A21 Fan M02 | 9/27/2022 12:00:00 AM | 9/27/2022 12:00:00 AM | 9/27/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| M-07 | Corrective | MINOR | 60524147 | Coil Relay for Contactor, M07 | 9/29/2022 12:00:00 AM | 9/29/2022 12:00:00 AM | 9/29/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| K-08 | Corrective | MINOR | 60524150 | Installed a SMISS Rail in the A3 K08 | 10/4/2022 12:00:00 AM | 10/4/2022 12:00:00 AM | 10/4/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| B-04 | Corrective | MINOR | 60524151 | Hydro Temp Issues TS'ing B04 | 10/4/2022 12:00:00 AM | 10/4/2022 12:00:00 AM | 10/5/2022 12:00:00 AM | 9/8/2023 12:00:00 AM | 0.00 |
| E-07 | Corrective | MINOR | 60524152 | GB Inspection FOr signs of spalling E07 | 10/4/2022 12:00:00 AM | 10/4/2022 12:00:00 AM | 10/4/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| D-06 | Corrective | MINOR | 60524154 | Low Coolant/Top up | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 8/18/2023 12:00:00 AM | 0.00 |
| G-05 | Corrective | MINOR | 60524155 | Low Coolant/Top up | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 6/26/2023 12:00:00 AM | 0.00 |
| G-07 | Corrective | MINOR | 60524156 | Low Coolant/Top up | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| H-01 | Corrective | MINOR | 60524158 | Low Coolant/Top up | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 10/7/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| E-02 | Corrective | MINOR | 60524159 | Low Coolant/Top up | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 8/18/2023 12:00:00 AM | 0.00 |
| G-01 | Corrective | MINOR | 60524162 | Generator PT sensor Swap | 10/7/2022 12:00:00 AM | 10/7/2022 12:00:00 AM | 10/7/2022 12:00:00 AM | 6/26/2023 12:00:00 AM | 0.00 |
| G-02 | Corrective | MINOR | 60524163 | Accumulator Troubleshooting | 10/10/2022 12:00:00 AM | 10/10/2022 12:00:00 AM | 10/10/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| A-07 | Corrective | MINOR | 60524165 | Replaced Breaker in the A4, PP errors. | 10/10/2022 12:00:00 AM | 10/10/2022 12:00:00 AM | 10/10/2022 12:00:00 AM | 8/18/2023 12:00:00 AM | 0.00 |
| G-07 | Corrective | MINOR | 60524166 | Gen Inspection | 10/11/2022 12:00:00 AM | 10/11/2022 12:00:00 AM | 10/11/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| G-07 | Corrective | MAJOR | 60524167 | Generator Replacement | 11/1/2022 12:00:00 AM | 11/1/2022 12:00:00 AM | 11/1/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| K-08 | Corrective | MINOR | 60524168 | Pitch Pawl Breaker 506.F5 | 10/11/2022 12:00:00 AM | 10/11/2022 12:00:00 AM | 10/11/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| D-08 | Corrective | MINOR | 60524170 | I/O 3 replaced | 10/12/2022 12:00:00 AM | 10/12/2022 12:00:00 AM | 10/12/2022 12:00:00 AM | 8/18/2023 12:00:00 AM | 0.00 |
| B-09 | Corrective | MINOR | 60524174 | Coolant leak | 10/14/2022 12:00:00 AM | 10/14/2022 12:00:00 AM | 10/14/2022 12:00:00 AM | 4/26/2023 12:00:00 AM | 0.00 |
| G-06 | Corrective | MINOR | 60524175 | Coolant leak | 10/14/2022 12:00:00 AM | 10/14/2022 12:00:00 AM | 10/14/2022 12:00:00 AM | 8/18/2023 12:00:00 AM | 0.00 |
| D-05 | Corrective | MINOR | 60524176 | Replacement of Hydro Pump | 10/14/2022 12:00:00 AM | 10/14/2022 12:00:00 AM | 10/14/2022 12:00:00 AM | 8/18/2023 12:00:00 AM | 0.00 |
| L-02 | Corrective | MINOR | 60524177 | Yaw Motor replaced Motor #1. | 10/17/2022 12:00:00 AM | 10/17/2022 12:00:00 AM | 10/17/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| M-07 | Corrective | MINOR | 60524178 | M-system replacment | 10/17/2022 12:00:00 AM | 10/17/2022 12:00:00 AM | 10/17/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| M-07 | Corrective | MINOR | 60524179 | Slew Hose for Crane | 10/17/2022 12:00:00 AM | 10/17/2022 12:00:00 AM | 10/17/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| K-05 | Corrective | MINOR | 60524180 | IO Board #3 Replacement | 10/18/2022 12:00:00 AM | 10/18/2022 12:00:00 AM | 10/18/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| O-09 | Corrective | MINOR | 60524183 | A21 Fan | 10/18/2022 12:00:00 AM | 10/18/2022 12:00:00 AM | 10/18/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| K-05 | Corrective | MINOR | 60524190 | Coolant Leak | 10/19/2022 12:00:00 AM | 10/19/2022 12:00:00 AM | 10/19/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| H-01 | Corrective | MINOR | 60524191 | Converter Coolant Leak | 10/20/2022 12:00:00 AM | 10/20/2022 12:00:00 AM | 10/20/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| E-04 | Corrective | MINOR | 60524193 | Coolant top up | 10/20/2022 12:00:00 AM | 10/20/2022 12:00:00 AM | 10/20/2022 12:00:00 AM | 8/18/2023 12:00:00 AM | 0.00 |
| C-06 | Corrective | MINOR | 60524194 | Coolant top up | 10/20/2022 12:00:00 AM | 10/20/2022 12:00:00 AM | 10/20/2022 12:00:00 AM | 8/18/2023 12:00:00 AM | 0.00 |
| K-08 | Corrective | MINOR | 60524195 | Main Breaker Reset | 10/24/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| M-06 | Corrective | MINOR | 60524199 | M-system replacment | 10/27/2022 12:00:00 AM | 10/27/2022 12:00:00 AM | 10/27/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| G-06 | Corrective | MINOR | 60524203 | Yaw Switch Issues | 11/1/2022 12:00:00 AM | 11/1/2022 12:00:00 AM | 11/1/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| G-01 | Corrective | MINOR | 60524204 | A21 short Replacement | 11/2/2022 12:00:00 AM | 11/2/2022 12:00:00 AM | 11/2/2022 12:00:00 AM | 8/18/2023 12:00:00 AM | 0.00 |
| M-01 | Corrective | MINOR | 60524208 | Yaw Converter issuese Reset | 11/7/2022 12:00:00 AM | 11/7/2022 12:00:00 AM | 11/7/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| M-08 | Corrective | MINOR | 60524209 | Replaced Yaw motor #1 | 11/7/2022 12:00:00 AM | 11/7/2022 12:00:00 AM | 11/7/2022 12:00:00 AM | 10/5/2023 12:00:00 AM | 0.00 |
| L-02 | Corrective | MINOR | 60524210 | Yaw Converter issues | 11/9/2022 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| H-03 | Corrective | MINOR | 60612312 | H03 Internal Blade Inspection | 2/7/2023 12:00:00 AM | 2/7/2023 7:00:00 AM | 2/7/2023 11:00:00 AM | 9/6/2023 12:00:00 AM | 11.50 |
| H-04 | Corrective | MINOR | 60613054 | H04 Internal Blade Inspection | 2/7/2023 12:00:00 AM | 2/7/2023 6:30:00 AM | 2/8/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 25.00 |
| H-06 | Corrective | MINOR | 60613055 | H06 Internal Blade Inspection | 2/7/2023 12:00:00 AM | 2/7/2023 11:00:00 AM | 2/7/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 12.00 |
| N-01 | Corrective | MINOR | 60613057 | N01 Converter Issues | 2/7/2023 12:00:00 AM | 2/7/2023 5:00:00 AM | 2/7/2023 5:30:00 PM | 9/8/2023 12:00:00 AM | 21.50 |
| N-05 | Corrective | MINOR | 60613059 | N05 No Communication | 2/7/2023 12:00:00 AM | 2/7/2023 10:00:00 AM | 2/7/2023 12:00:00 PM | 10/5/2023 12:00:00 AM | 6.00 |
| I-01 | Corrective | MINOR | 60613066 | I01 Internal Blade Inspection | 2/7/2023 12:00:00 AM | 2/7/2023 11:00:00 AM | 2/8/2023 3:00:00 PM | 9/7/2023 12:00:00 AM | 17.00 |
| H-03 | Corrective | MINOR | 60613070 | H03 valve 27 exchange | 2/7/2023 12:00:00 AM | 2/7/2023 10:30:00 AM | 2/7/2023 11:00:00 AM | 8/18/2023 12:00:00 AM | 0.50 |
| O-04 | Corrective | MINOR | 60613072 | O04 I0 board replacemenst #3 | 2/7/2023 12:00:00 AM | 2/7/2023 1:30:00 PM | 2/7/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 4.50 |
| I-09 | Corrective | MINOR | 60613074 | I09 IO board Replacement #3 | 2/7/2023 12:00:00 AM | 2/7/2023 12:00:00 PM | 2/7/2023 1:30:00 PM | 9/7/2023 12:00:00 AM | 4.50 |
| I-01 | Corrective | MINOR | 60613132 | I01 replaced 116valve | 2/7/2023 12:00:00 AM | 2/7/2023 3:00:00 PM | 2/7/2023 4:00:00 PM | 9/7/2023 12:00:00 AM | 1.00 |
| N-01 | Corrective | MAJOR | 60615680 | LSR Generator Replacement N01 | 2/16/2023 12:00:00 AM | 2/16/2023 7:00:00 AM | 2/16/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 40.00 |
| M-07 | Corrective | MINOR | 60618672 | M07 IO board replament TS | 2/9/2023 12:00:00 AM | 2/9/2023 5:00:00 AM | 2/9/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 21.00 |
| L-06 | Corrective | MINOR | 60618674 | L06 IO Board Replacement TS | 2/9/2023 12:00:00 AM | 2/9/2023 10:00:00 AM | 2/9/2023 1:00:00 PM | 9/8/2023 12:00:00 AM | 9.00 |
| I-02 | Corrective | MINOR | 60618676 | I02 internal Blade Inspection | 2/9/2023 12:00:00 AM | 2/9/2023 7:00:00 AM | 2/9/2023 11:00:00 AM | 9/7/2023 12:00:00 AM | 12.00 |
| I-04 | Corrective | MINOR | 60618678 | I04 Internal Blade Inspection | 2/9/2023 12:00:00 AM | 2/9/2023 11:00:00 AM | 2/9/2023 5:00:00 PM | 9/7/2023 12:00:00 AM | 17.00 |
| I-03 | Corrective | MINOR | 60619761 | I03 Internal Blade Inspection | 2/9/2023 12:00:00 AM | 2/9/2023 6:30:00 AM | 2/9/2023 3:00:00 PM | 9/7/2023 12:00:00 AM | 17.50 |
| I-05 | Corrective | MINOR | 60619764 | I05 Internal Blade Inspection | 2/9/2023 12:00:00 AM | 2/9/2023 11:30:00 AM | 2/9/2023 3:30:00 PM | 9/7/2023 12:00:00 AM | 8.00 |
| H-06 | Corrective | MINOR | 60621248 | H06 IO Board / STIC replacement | 2/9/2023 12:00:00 AM | 2/9/2023 1:00:00 PM | 2/9/2023 3:30:00 PM | 9/6/2023 12:00:00 AM | 7.00 |
| I-06 | Corrective | MINOR | 60622092 | blade insp. I-06 | 2/10/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-08 | Corrective | MINOR | 60622093 | blade insp. I-08 | 2/10/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-07 | Corrective | MINOR | 60622094 | blade insp. I-07 | 2/10/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-09 | Corrective | MINOR | 60622097 | blade insp. I-09 | 2/10/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| O-03 | Corrective | MINOR | 60622100 | replace delta IOBs O-03 | 2/10/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| S-07 | Corrective | MINOR | 60622101 | replace delta IOBs S-07 | 2/10/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-07 | Corrective | MINOR | 60622158 | C-07 Blade A Webstart Repair | 2/10/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| S-07 | Corrective | MINOR | 60725903 | S-07 t/s yaw converter | 5/10/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-08 | Corrective | MINOR | 60726075 | A08 Chain And Crane | 5/10/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-05 | Corrective | MINOR | 60730166 | A05 Light Fixture Replacement | 5/12/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| A-07 | Corrective | MINOR | 60730168 | A07 HMF Breaker | 5/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-08 | Corrective | MINOR | 60770819 | M-08 t/s yaw system errors | 6/20/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-05 | Corrective | MINOR | 60772740 | D-05 replace hydro connect | 6/20/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-07 | Corrective | MINOR | 60772747 | D-07 replace cabinet fan | 6/20/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-07 | Corrective | MINOR | 60772748 | D-07 replace accumulator | 6/20/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-04 | Corrective | MAJOR | 60773007 | Lower Snake River L04 GearBox Exchange | 7/5/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| L-07 | Corrective | MAJOR | 60773016 | Lower Snake River L07 GearBox Exchange | 7/5/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| M-03 | Corrective | MAJOR | 60773019 | Lower Snake River M03 GearBox Exchange | 7/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| R-08 | Corrective | MAJOR | 60773046 | Lower Snake River R08 GearBox Exchange | 9/14/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-05 | Corrective | MAJOR | 60773053 | Lower Snake River R05 GearBox Exchange | 8/23/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| D-08 | Corrective | MINOR | 60772808 | D-08 yaw retro | 6/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-08 | Corrective | MINOR | 60772809 | D-08 replace crane hoses | 6/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-09 | Corrective | MINOR | 60772810 | D-09 replace crane hoses | 6/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-04 | Corrective | MINOR | 60772814 | C-04 check hydro level | 6/21/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-07 | Corrective | MINOR | 60772815 | B-07 replace I.O board | 6/21/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60772816 | B-01 check hydro | 6/21/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-07 | Corrective | MINOR | 60775480 | B07 IO Board replacement | 6/22/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-05 | Corrective | MINOR | 60835624 | H05 Motor Mod Replacement | 8/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| M-07 | Corrective | MINOR | 60836631 | M07 Yaw Converter Error | 8/3/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60836639 | J03 GBX Xchange Support | 8/6/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| O-05 | Corrective | MINOR | 60865136 | O05 Main Breaker Replacement | 8/31/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-07 | Corrective | MINOR | 60865521 | J07 O Ring replacement | 8/31/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-02 | Preventive | Basic Maintenance | 60467270 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| O-03 | Preventive | Basic Maintenance | 60467271 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| O-04 | Preventive | Basic Maintenance | 60467272 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| O-05 | Preventive | Basic Maintenance | 60467273 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| O-06 | Preventive | Basic Maintenance | 60467274 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| O-07 | Preventive | Basic Maintenance | 60467275 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| R-03 | Preventive | Basic Maintenance | 60467286 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| R-04 | Preventive | Basic Maintenance | 60467287 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| R-06 | Preventive | Basic Maintenance | 60467289 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| R-08 | Preventive | Basic Maintenance | 60467291 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| R-09 | Preventive | Basic Maintenance | 60467292 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| R-10 | Preventive | Basic Maintenance | 60467293 | DELETED DO NOT USE | 12/12/2022 12:00:00 AM |  |  | 4/25/2023 12:00:00 AM |  |
| H-06 | Corrective | MINOR | 60519596 | t/s low hydro H-06 | 11/22/2022 12:00:00 AM | 11/21/2022 6:00:00 PM | 11/21/2022 7:00:00 PM | 2/17/2023 12:00:00 AM | 2.00 |
| K-08 | Corrective | MINOR | 60520256 | K08 Low Hydro Topped up | 11/22/2022 12:00:00 AM | 11/22/2022 7:00:00 AM | 11/23/2022 3:00:00 PM | 2/17/2023 12:00:00 AM | 20.50 |
| M-06 | Corrective | MINOR | 60520320 | M06 Low Hydro Topped up TS | 11/22/2022 12:00:00 AM | 11/22/2022 5:00:00 AM | 11/22/2022 4:30:00 PM | 9/8/2023 12:00:00 AM | 13.50 |
| K-03 | Corrective | MINOR | 60520662 | top up coolant K-03 | 11/22/2022 12:00:00 AM | 11/22/2022 9:00:00 AM | 11/22/2022 1:00:00 PM | 2/17/2023 12:00:00 AM | 2.00 |
| K-05 | Corrective | MINOR | 60520663 | top up coolant K-05 | 11/22/2022 12:00:00 AM | 11/22/2022 10:00:00 AM | 11/22/2022 2:00:00 PM | 2/17/2023 12:00:00 AM | 2.00 |
| K-09 | Corrective | MINOR | 60520664 | top up coolant K-09 | 11/22/2022 12:00:00 AM | 11/22/2022 11:00:00 AM | 11/22/2022 3:00:00 PM | 2/17/2023 12:00:00 AM | 2.00 |
| N-08 | Corrective | MINOR | 60520665 | top up coolant N-08 | 11/22/2022 12:00:00 AM | 11/22/2022 12:00:00 PM | 11/22/2022 5:00:00 PM | 2/17/2023 12:00:00 AM | 3.00 |
| O-02 | Corrective | MINOR | 60520666 | top up coolant O-02 | 11/22/2022 12:00:00 AM | 11/22/2022 10:00:00 AM | 11/22/2022 2:00:00 PM | 2/17/2023 12:00:00 AM | 2.00 |
| I-06 | Corrective | MINOR | 60520667 | top up coolant I-06 | 11/22/2022 12:00:00 AM | 11/22/2022 11:00:00 AM | 11/22/2022 3:00:00 PM | 2/17/2023 12:00:00 AM | 2.00 |
| P-03 | Corrective | MINOR | 60522818 | P03 Yaw Motor Super Heat | 11/23/2022 12:00:00 AM | 11/23/2022 5:00:00 AM | 11/23/2022 10:00:00 AM | 9/6/2023 12:00:00 AM | 5.00 |
| M-05 | Corrective | MINOR | 60522819 | M05 Grid Filter Current Overload | 11/23/2022 12:00:00 AM | 11/23/2022 1:00:00 PM | 11/24/2022 9:00:00 AM | 9/8/2023 12:00:00 AM | 5.00 |
| G-07 | Corrective | MINOR | 60607315 | replace cabinet lock G-07 | 2/3/2023 12:00:00 AM | 2/2/2023 2:00:00 PM | 2/2/2023 3:00:00 PM | 10/5/2023 12:00:00 AM | 1.00 |
| G-07 | Corrective | MINOR | 60607316 | replace crane contoler G-07 | 2/3/2023 12:00:00 AM | 2/2/2023 3:00:00 PM | 2/2/2023 4:00:00 PM | 10/5/2023 12:00:00 AM | 1.00 |
| K-02 | Corrective | MINOR | 60607442 | t/s no comms K-02 | 2/3/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| A-01 | Corrective | MINOR | 60607443 | inspect Q2 breaker A-01 | 2/3/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60607444 | inspect Q2 breaker B-01 | 2/3/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| C-01 | Corrective | MINOR | 60607445 | inspect Q2 breaker C-01 | 2/3/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| D-01 | Corrective | MINOR | 60607446 | inspect Q2 breaker D-01 | 2/3/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-01 | Corrective | MINOR | 60611608 | O01 Coolant Top up TS | 2/6/2023 12:00:00 AM | 2/6/2023 7:00:00 AM | 2/6/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 26.00 |
| L-01 | Corrective | MINOR | 60611610 | L01 Coolant Leak, TS | 2/6/2023 12:00:00 AM | 2/6/2023 7:00:00 AM | 2/6/2023 3:00:00 PM | 10/5/2023 12:00:00 AM | 16.00 |
| R-01 | Corrective | MINOR | 60611611 | R01 Coolant Leak TS | 2/6/2023 12:00:00 AM | 2/6/2023 5:00:00 AM | 2/6/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 30.00 |
| K-02 | Corrective | MINOR | 60721005 | K02 Grid Filter Over Load | 5/5/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60721006 | B01 Site Support Gear Box | 5/5/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-02 | Corrective | MINOR | 60722201 | I02 Grid Inverter Phase sharing | 5/7/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| C-05 | Corrective | MINOR | 60722202 | C05 IO1 board replaced TS | 5/7/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60722262 | K04 Yaw Converter Error TS | 5/6/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-03 | Corrective | MINOR | 60769182 | D03 Internal Blade Inspe and tap | 6/16/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60769194 | K04 Pilz Replacement | 6/16/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| P-02 | Corrective | MINOR | 60769284 | P02 Converter Comm Issues | 6/16/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| D-05 | Corrective | MINOR | 60769285 | D05 Licthining Card Replace. | 6/16/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-03 | Corrective | MINOR | 60770800 | K-03 hydro leak repair | 6/17/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| G-02 | Corrective | MINOR | 60770801 | G-02 adjust RPM sensor | 6/17/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-06 | Corrective | MINOR | 60770805 | D-06 replace 116 valve | 6/19/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60834620 | J-03 replace contactors | 8/2/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| H-03 | Corrective | MINOR | 60834647 | H03 Expansion Tank Bracket | 8/2/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-02 | Corrective | MINOR | 60834649 | H02 Replacement of light bulb | 8/2/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| J-06 | Corrective | MINOR | 60863652 | J06 Delta Replacement | 8/30/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60863653 | J03 Delta REplacement | 8/29/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| O-05 | Corrective | MINOR | 60863654 | O05 SMPS TS'ing | 8/30/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| P-05 | Corrective | MINOR | 60863655 | P05 Pitch Tracking TS'ing | 8/30/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| M-01 | Preventive | Basic Maintenance | 60527871 | 11th Annual Service | 9/26/2022 12:00:00 AM | 9/26/2022 12:00:00 AM | 9/27/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| M-02 | Preventive | Basic Maintenance | 60527872 | 11th Annual Service | 9/26/2022 12:00:00 AM | 9/26/2022 12:00:00 AM | 9/27/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| M-05 | Preventive | Basic Maintenance | 60527873 | 11th Annual Service | 9/26/2022 12:00:00 AM | 9/26/2022 12:00:00 AM | 9/26/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| M-08 | Preventive | Basic Maintenance | 60527874 | 11th Annual Service | 9/26/2022 12:00:00 AM | 9/26/2022 12:00:00 AM | 9/26/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| M-06 | Preventive | Basic Maintenance | 60527875 | 11th Annual Service | 9/27/2022 12:00:00 AM | 9/27/2022 12:00:00 AM | 9/28/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| M-07 | Preventive | Basic Maintenance | 60527876 | 11th Annual Service | 9/28/2022 12:00:00 AM | 9/28/2022 12:00:00 AM | 9/29/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| N-01 | Preventive | Basic Maintenance | 60527877 | 11th Annual Service | 9/28/2022 12:00:00 AM | 9/28/2022 12:00:00 AM | 9/29/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| N-03 | Preventive | Basic Maintenance | 60527878 | 11th Annual Service | 9/28/2022 12:00:00 AM | 9/28/2022 12:00:00 AM | 9/29/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| N-02 | Preventive | Basic Maintenance | 60527879 | 11th Annual Service | 9/30/2022 12:00:00 AM | 9/30/2022 12:00:00 AM | 10/5/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| N-04 | Preventive | Basic Maintenance | 60527880 | 11th Annual Service | 9/30/2022 12:00:00 AM | 9/30/2022 12:00:00 AM | 10/5/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| N-05 | Preventive | Basic Maintenance | 60527881 | 11th Annual Service | 9/30/2022 12:00:00 AM | 9/30/2022 12:00:00 AM | 10/4/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| N-06 | Preventive | Basic Maintenance | 60527882 | 11th Annual Service | 9/30/2022 12:00:00 AM | 9/30/2022 12:00:00 AM | 10/5/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| N-07 | Preventive | Basic Maintenance | 60527883 | 11th Annual Service | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 10/11/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| N-08 | Preventive | Basic Maintenance | 60527884 | 11th Annual Service | 9/30/2022 12:00:00 AM | 9/30/2022 12:00:00 AM | 10/5/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| O-02 | Preventive | Basic Maintenance | 60527885 | 11th Annual Service | 10/5/2022 12:00:00 AM | 10/5/2022 12:00:00 AM | 10/10/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| O-05 | Preventive | Basic Maintenance | 60527886 | 11th Annual Service | 10/5/2022 12:00:00 AM | 10/5/2022 12:00:00 AM | 10/10/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| O-01 | Preventive | Basic Maintenance | 60527887 | 11th Annual Service | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 10/10/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| O-03 | Preventive | Basic Maintenance | 60527888 | 11th Annual Service | 10/6/2022 12:00:00 AM | 10/6/2022 12:00:00 AM | 10/11/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| O-06 | Preventive | Basic Maintenance | 60527889 | 11th Annual Service | 10/11/2022 12:00:00 AM | 10/11/2022 12:00:00 AM | 10/14/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| O-07 | Preventive | Basic Maintenance | 60527890 | 11th Annual Service | 10/11/2022 12:00:00 AM | 10/11/2022 12:00:00 AM | 10/13/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| O-04 | Preventive | Basic Maintenance | 60527891 | 11th Annual Service | 10/12/2022 12:00:00 AM | 10/12/2022 12:00:00 AM | 10/14/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| P-01 | Preventive | Basic Maintenance | 60527892 | 11th Annual Service | 10/12/2022 12:00:00 AM | 10/12/2022 12:00:00 AM | 10/14/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| P-03 | Preventive | Basic Maintenance | 60527893 | 11th Annual Service | 10/14/2022 12:00:00 AM | 10/14/2022 12:00:00 AM | 10/17/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| P-06 | Preventive | Basic Maintenance | 60527894 | 11th Annual Service | 10/17/2022 12:00:00 AM | 10/17/2022 12:00:00 AM | 10/19/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| O-09 | Preventive | Basic Maintenance | 60527895 | 11th Annual Service | 10/17/2022 12:00:00 AM | 10/17/2022 12:00:00 AM | 10/20/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| P-02 | Preventive | Basic Maintenance | 60527896 | 11th Annual Service | 10/17/2022 12:00:00 AM | 10/17/2022 12:00:00 AM | 10/19/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| R-02 | Preventive | Basic Maintenance | 60527897 | 11th Annual Service | 10/19/2022 12:00:00 AM | 10/19/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| O-08 | Preventive | Basic Maintenance | 60527898 | 11th Annual Service | 10/19/2022 12:00:00 AM | 10/19/2022 12:00:00 AM | 10/24/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| R-01 | Preventive | Basic Maintenance | 60527899 | 11th Annual Service | 10/20/2022 12:00:00 AM | 10/20/2022 12:00:00 AM | 10/27/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| R-05 | Preventive | Basic Maintenance | 60527900 | 11th Annual Service | 10/20/2022 12:00:00 AM | 10/20/2022 12:00:00 AM | 10/27/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| R-07 | Preventive | Basic Maintenance | 60527901 | 11th Annual Service | 10/20/2022 12:00:00 AM | 10/20/2022 12:00:00 AM | 10/21/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| P-05 | Preventive | Basic Maintenance | 60527902 | 11th Annual Service | 10/21/2022 12:00:00 AM | 10/21/2022 12:00:00 AM | 10/28/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| P-04 | Preventive | Basic Maintenance | 60527903 | 11th Annual Service | 10/21/2022 12:00:00 AM | 10/21/2022 12:00:00 AM | 10/21/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| P-04 | Preventive | Basic Maintenance | 60527904 | 11th Annual Service | 10/25/2022 12:00:00 AM | 10/25/2022 12:00:00 AM | 11/3/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| R-07 | Preventive | Basic Maintenance | 60527905 | 11th Annual Service | 10/25/2022 12:00:00 AM | 10/25/2022 12:00:00 AM | 10/26/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| S-09 | Preventive | Basic Maintenance | 60527906 | 11th Annual Service | 11/3/2022 12:00:00 AM | 11/3/2022 12:00:00 AM | 11/3/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| R-06 | Preventive | Basic Maintenance | 60531967 | 11th Annual Service | 10/28/2022 12:00:00 AM | 10/28/2022 12:00:00 AM | 11/3/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| R-04 | Preventive | Basic Maintenance | 60531968 | 11th Annual Service | 11/3/2022 12:00:00 AM | 11/3/2022 12:00:00 AM | 11/9/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| R-08 | Preventive | Basic Maintenance | 60531969 | 11th Annual Service | 11/7/2022 12:00:00 AM | 11/7/2022 12:00:00 AM | 11/9/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| R-03 | Preventive | Basic Maintenance | 60531970 | 11th Annual Service | 11/8/2022 12:00:00 AM | 11/8/2022 12:00:00 AM | 11/9/2022 12:00:00 AM | 4/25/2023 12:00:00 AM | 0.00 |
| J-03 | Corrective | MINOR | 60514636 | t/s yaw system errors J-03 | 11/16/2022 12:00:00 AM | 11/16/2022 5:00:00 AM | 11/16/2022 5:30:00 PM | 9/7/2023 12:00:00 AM | 20.50 |
| F-08 | Corrective | MINOR | 60514689 | t/s grid filter error F-08 | 11/16/2022 12:00:00 AM | 11/16/2022 11:00:00 AM | 11/16/2022 2:00:00 PM | 8/18/2023 12:00:00 AM | 6.00 |
| L-05 | Corrective | MINOR | 60515390 | t/s low hydro L-05 | 11/17/2022 12:00:00 AM | 11/17/2022 5:00:00 AM | 11/17/2022 5:00:00 PM | 9/8/2023 12:00:00 AM | 24.50 |
| N-04 | Corrective | MINOR | 60515606 | t/s yaw system errors N-04 | 11/17/2022 12:00:00 AM | 11/17/2022 9:00:00 AM | 11/17/2022 12:00:00 PM | 10/5/2023 12:00:00 AM | 6.00 |
| E-05 | Corrective | MINOR | 60596600 | E05 Internal Blade Insp | 1/26/2023 12:00:00 AM | 1/26/2023 7:00:00 AM | 1/26/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 12.00 |
| E-06 | Corrective | MINOR | 60596619 | E06 Internal Blade Inspection | 1/26/2023 12:00:00 AM | 1/26/2023 11:00:00 AM | 1/26/2023 4:00:00 PM | 9/8/2023 12:00:00 AM | 13.00 |
| E-07 | Corrective | MINOR | 60596640 | E07 Internal blade Inspection | 1/26/2023 12:00:00 AM | 1/26/2023 6:30:00 AM | 1/27/2023 3:00:00 PM | 9/8/2023 12:00:00 AM | 25.50 |
| F-03 | Corrective | MINOR | 60596641 | F03 Internal Blade Inspection | 1/26/2023 12:00:00 AM | 1/26/2023 6:00:00 AM | 1/26/2023 5:00:00 PM | 8/18/2023 12:00:00 AM | 16.00 |
| F-01 | Corrective | MINOR | 60596642 | F01 Internal Blade Inspection | 1/26/2023 12:00:00 AM | 1/26/2023 7:00:00 AM | 1/26/2023 11:00:00 AM | 8/18/2023 12:00:00 AM | 8.00 |
| F-02 | Corrective | MINOR | 60596644 | F02 Internal Blade Inspection | 1/26/2023 12:00:00 AM | 1/26/2023 11:00:00 AM | 1/26/2023 3:00:00 PM | 8/18/2023 12:00:00 AM | 8.00 |
| R-10 | Corrective | MINOR | 60596648 | R10 CCJ Super Heat TS | 1/26/2023 12:00:00 AM | 1/26/2023 5:00:00 AM | 1/26/2023 5:00:00 PM | 9/6/2023 12:00:00 AM | 30.00 |
| E-07 | Corrective | MINOR | 60596722 | E07 A21 Fan Replacement | 1/26/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| F-03 | Corrective | MINOR | 60596786 | replace 116 valve F-03 | 1/26/2023 12:00:00 AM | 1/26/2023 11:00:00 AM | 1/26/2023 4:00:00 PM | 9/8/2023 12:00:00 AM | 5.00 |
| H-06 | Corrective | MINOR | 60597810 | H06 Yaw motor relacement TS | 1/27/2023 12:00:00 AM | 1/27/2023 5:00:00 AM | 1/27/2023 6:00:00 PM | 9/6/2023 12:00:00 AM | 33.00 |
| L-04 | Corrective | MINOR | 60599942 | replace yaw motor 4 L-04 | 1/28/2023 12:00:00 AM | 1/28/2023 7:00:00 AM | 1/28/2023 10:00:00 AM | 9/8/2023 12:00:00 AM | 6.00 |
| P-03 | Corrective | MINOR | 60599944 | replace yaw motor 7 P-03 | 1/28/2023 12:00:00 AM | 1/28/2023 10:00:00 AM | 1/28/2023 2:00:00 PM | 9/6/2023 12:00:00 AM | 8.00 |
| A-07 | Corrective | MINOR | 60708947 | A07 Base Bolt Tension | 4/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-09 | Corrective | MINOR | 60708948 | A09 Base Bolt Tension | 4/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-01 | Corrective | MINOR | 60708952 | B01 Base Bolt Tension | 4/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| A-08 | Corrective | MINOR | 60708955 | A08 Base Bolt Tension | 4/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-02 | Corrective | MINOR | 60708959 | B02 Base Bolt Tension | 4/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-04 | Corrective | MINOR | 60708981 | B04 Base Bolt Tension | 4/25/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-01 | Corrective | MAJOR | 60709167 | Lower Snake River B01 GearBox Exchange | 5/1/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-04 | Corrective | MAJOR | 60709168 | Lower Snake River E04 GearBox Exchange | 4/26/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-05 | Corrective | MAJOR | 60709169 | Lower Snake River E05 GearBox Exchange | 6/7/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| R-10 | Corrective | MINOR | 60710137 | R10 RPM Sensor | 4/26/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-03 | Corrective | MINOR | 60710849 | B03 Base Bolt Tension | 4/27/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-05 | Corrective | MINOR | 60710850 | B05 Base Bolt Tension | 4/27/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-06 | Corrective | MINOR | 60710851 | B06 Base Bolt Tension | 4/27/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-07 | Corrective | MINOR | 60710852 | B07 Base Bolt Tension | 4/27/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| E-02 | Corrective | MINOR | 60711492 | E02 RPM reset | 4/27/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| B-08 | Corrective | MINOR | 60712057 | B08 Base Bolt Tension | 4/28/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-09 | Corrective | MINOR | 60712058 | B09 Base Bolt Tension | 4/28/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| B-10 | Corrective | MINOR | 60712060 | B10 Base Bolt Tension | 4/28/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| C-01 | Corrective | MINOR | 60712062 | C01 Base Bolt Tension | 4/28/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60712467 | K04 No Communication TS | 4/28/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-01 | Corrective | MINOR | 60762846 | D01 A21 Fan Replacement | 6/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| I-03 | Corrective | MINOR | 60762847 | I03 Yaw COnverter Errors | 6/10/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| N-02 | Corrective | MINOR | 60762848 | N02 yaw converter errors | 6/10/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| E-05 | Corrective | MINOR | 60762902 | E05 Smoke in the A18 | 6/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60762904 | K04 No Comm | 6/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| K-08 | Corrective | MINOR | 60762909 | K08 Yaw COnverter errors | 6/12/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| D-02 | Corrective | MINOR | 60763214 | D-02 replace coolant blow off valve | 6/12/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| N-07 | Corrective | MINOR | 60764459 | N07 A21 Temp High | 6/13/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| S-04 | Corrective | MINOR | 60764251 | S-04 a21 temp too high | 6/13/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| I-05 | Corrective | MINOR | 60764252 | I-05 a21 temp too high | 6/13/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| G-02 | Corrective | MINOR | 60765281 | G02 LMU Over Speed T/S | 6/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-03 | Corrective | MINOR | 60765283 | G03 Grid Filter Res Temp T/S | 6/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| H-06 | Corrective | MINOR | 60765285 | H06 Phase Sharing | 6/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| K-01 | Corrective | MINOR | 60765286 | K01 Break Temp T/S | 6/14/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| H-01 | Corrective | MINOR | 60765288 | M01 Hydro Temp T/S | 6/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| N-07 | Corrective | MINOR | 60765291 | N07 RPM Sensor | 6/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| O-01 | Corrective | MINOR | 60765293 | O01 Gen Inverter T/S | 6/14/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60765296 | R05 Gen Invet Errors T/S | 6/14/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| D-03 | Corrective | MINOR | 60765299 | D03 Escape Hatch Knob | 6/16/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| D-04 | Corrective | MINOR | 60765302 | D04 Hoist Cable restrant | 6/16/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| H-05 | Corrective | MINOR | 60827530 | T/S Yaw errors H05 | 7/28/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| G-05 | Corrective | MINOR | 60828027 | Replace A21 fan G05 | 7/28/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| G-06 | Corrective | MINOR | 60828030 | G06 coolant Exp tank bracket | 8/1/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| G-07 | Corrective | MINOR | 60829342 | T/S slip ring errors G07 | 7/29/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| H-05 | Corrective | MINOR | 60829343 | T/S H05 Yaw | 7/29/2023 12:00:00 AM |  |  | 9/6/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60829345 | T/S No Comm K04 | 7/29/2023 12:00:00 AM |  |  | 9/8/2023 12:00:00 AM |  |
| J-03 | Corrective | MINOR | 60857577 | J03 Valve 116 Replacement | 8/24/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| I-09 | Corrective | MINOR | 60857578 | I09 Replace A21 Fan | 8/24/2023 12:00:00 AM |  |  | 9/7/2023 12:00:00 AM |  |
| J-02 | Corrective | MINOR | 60857660 | J02 Reactor Cab Capacitor | 8/24/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| A-02 | Corrective | MINOR | 60857661 | A02 Yaw COnverter TS | 8/24/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-04 | Corrective | MINOR | 60857663 | K04 SlinpRIng and Wire | 8/24/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-05 | Corrective | MINOR | 60857936 | R05 Repair of Elecrtical | 8/24/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| A-03 | Corrective | MINOR | 60859500 | A03 UPS Low Battery | 8/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| E-02 | Corrective | MINOR | 60859503 | E02 Low Coolant | 8/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| K-06 | Corrective | MINOR | 60859505 | K06 Low Coolant | 8/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| G-05 | Corrective | MINOR | 60859506 | G05 Low Coolant | 8/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| I-03 | Corrective | MINOR | 60859487 | I-03 top up coolant | 8/25/2023 12:00:00 AM |  |  | 10/5/2023 12:00:00 AM |  |
| R-07 | Corrective | MINOR | 60512456 | R07 Grid FIlter Current Over Load TS | 11/12/2022 12:00:00 AM | 11/12/2022 8:00:00 AM | 11/14/2022 5:00:00 PM | 9/6/2023 12:00:00 AM | 22.00 |
| N-02 | Corrective | MINOR | 60512457 | N02 Yaw Motor #2 Replacement | 11/13/2022 12:00:00 AM | 11/13/2022 8:00:00 AM | 11/13/2022 12:30:00 PM | 2/17/2023 12:00:00 AM | 8.50 |
| H-04 | Corrective | MINOR | 60512659 | top up coolant H-04 | 11/14/2022 12:00:00 AM | 11/14/2022 7:00:00 AM | 11/14/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 10.00 |
| J-03 | Corrective | MINOR | 60512700 | top up coolant J-03 | 11/14/2022 12:00:00 AM | 11/14/2022 9:00:00 AM | 11/14/2022 10:00:00 AM | 9/7/2023 12:00:00 AM | 2.00 |
| K-07 | Corrective | MINOR | 60512701 | top up coolant K-07 | 11/14/2022 12:00:00 AM | 11/14/2022 10:00:00 AM | 11/14/2022 11:00:00 AM | 10/5/2023 12:00:00 AM | 2.00 |
| M-05 | Corrective | MINOR | 60512702 | top up coolant M-05 | 11/14/2022 12:00:00 AM | 11/14/2022 11:00:00 AM | 11/14/2022 12:00:00 PM | 10/5/2023 12:00:00 AM | 2.00 |
| P-03 | Corrective | MINOR | 60512703 | top up coolant P-03 | 11/14/2022 12:00:00 AM | 11/14/2022 12:00:00 PM | 11/14/2022 1:00:00 PM | 10/5/2023 12:00:00 AM | 2.00 |
| H-06 | Corrective | MINOR | 60512705 | top up coolant H-06 | 11/14/2022 12:00:00 AM | 11/14/2022 2:00:00 PM | 11/14/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 2.00 |
| H-01 | Corrective | MINOR | 60512943 | top up gearoil H-01 | 11/14/2022 12:00:00 AM | 11/14/2022 3:00:00 PM | 11/14/2022 5:00:00 PM | 10/5/2023 12:00:00 AM | 4.00 |
| I-01 | Corrective | MINOR | 60513514 | I01 Low Hydro Topped Up | 11/15/2022 12:00:00 AM | 11/15/2022 5:00:00 AM | 11/15/2022 6:00:00 PM | 9/7/2023 12:00:00 AM | 15.00 |
| C-01 | Corrective | MINOR | 60513974 | C01 Coolant Top up | 11/15/2022 12:00:00 AM | 11/15/2022 7:00:00 AM | 11/17/2022 3:00:00 PM | 9/6/2023 12:00:00 AM | 10.00 |
| D-09 | Corrective | MINOR | 60513975 | D09 Coolant Top Up | 11/15/2022 12:00:00 AM | 11/17/2022 4:00:00 PM | 11/17/2022 5:00:00 PM | 8/18/2023 12:00:00 AM | 2.00 |
| F-09 | Corrective | MINOR | 60513979 | F09 Coolant Top Up | 11/17/2022 12:00:00 AM | 11/17/2022 12:00:00 PM | 11/17/2022 1:00:00 PM | 9/8/2023 12:00:00 AM | 2.00 |
| B-09 | Corrective | MINOR | 60514016 | t/s grid filter error B-09 | 11/15/2022 12:00:00 AM | 11/15/2022 2:00:00 PM | 11/16/2022 5:00:00 PM | 4/26/2023 12:00:00 AM | 9.00 |
| A-07 | Corrective | MINOR | 60514021 | A07 Low Hydro Top Up | 11/15/2022 12:00:00 AM | 11/15/2022 3:00:00 PM | 11/15/2022 4:00:00 PM | 9/8/2023 12:00:00 AM | 2.00 |
| J-03 | Corrective | MINOR | 60514037 | J03 Yaw Issues TS | 11/15/2022 12:00:00 AM | 11/15/2022 4:00:00 PM | 11/16/2022 11:00:00 AM | 9/7/2023 12:00:00 AM | 10.00 |
| I-02 | Corrective | MINOR | 60514100 | I02 Coolant top up | 11/15/2022 12:00:00 AM | 11/15/2022 8:00:00 AM | 11/15/2022 9:00:00 AM | 9/7/2023 12:00:00 AM | 2.00 |
| I-05 | Corrective | MINOR | 60514101 | I05 Coolant Top Up | 11/15/2022 12:00:00 AM | 11/15/2022 9:00:00 AM | 11/15/2022 10:00:00 AM | 9/7/2023 12:00:00 AM | 2.00 |
| D-02 | Corrective | MINOR | 60593047 | D02 Pitch Pawl Feed Back | 1/21/2023 12:00:00 AM | 1/21/2023 8:00:00 AM | 1/21/2023 11:00:00 AM | 9/8/2023 12:00:00 AM | 6.00 |
| M-04 | Corrective | MINOR | 60593048 | M04 Yaw COnverter errors TS | 1/21/2023 12:00:00 AM | 1/21/2023 11:00:00 AM | 1/21/2023 2:30:00 PM | 9/8/2023 12:00:00 AM | 7.00 |
| C-08 | Corrective | MINOR | 60593050 | C08 Internal Blade Inspection | 1/23/2023 12:00:00 AM | 1/23/2023 7:00:00 AM | 1/23/2023 11:00:00 AM | 9/6/2023 12:00:00 AM | 12.00 |
| C-09 | Corrective | MINOR | 60593053 | C09 Internal Blade Inspections | 1/23/2023 12:00:00 AM | 1/23/2023 11:00:00 AM | 1/23/2023 3:30:00 PM | 9/8/2023 12:00:00 AM | 13.50 |
| B-09 | Corrective | MINOR | 60593054 | B09 TOR Converter Fan | 1/23/2023 12:00:00 AM | 1/23/2023 5:00:00 AM | 1/23/2023 5:00:00 PM | 9/8/2023 12:00:00 AM | 22.00 |
| A-06 | Corrective | MINOR | 60593056 | A06 Motor Valve TS | 1/23/2023 12:00:00 AM | 1/23/2023 6:30:00 AM | 1/24/2023 3:00:00 PM | 9/6/2023 12:00:00 AM | 27.00 |

Parts Consumed for Completed Service

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Turbine** | **Order Type** | **Order Number** | **Material Number** | **Material Description** | **Total Quantity** | **Unit** |
| S-07 | Corrective | 60622101 | A9B10101453 | PCB FAN I/O MONITOR OPTICAL | 1.00 | PC |
| F-06 | Corrective | 60555427 | A9B00521008 | RUBBER PLATE 1 F GEN. < 2MW | 1.00 | PC |
| B-07 | Corrective | 60526471 | A9B00080279 | MOTOR 10KW 1450 O/M 400/690V | 1.00 | PC |
| F-05 | Corrective | 60530409 | A9B00080824 | PISTON ACCUMULAT 0,15L 10BAR (#) | 1.00 | PC |
| J-05 | Corrective | 60569622 | A9B10101453 | PCB FAN I/O MONITOR OPTICAL | 1.00 | PC |
| S-06 | Corrective | 60581816 | A9B00026971 | TEST POINT ISO 15171-2 - ISO 1179-2 G1/8 | 5.00 | PC |
| H-06 | Corrective | 60621248 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 1.00 | PC |
| S-06 | Corrective | 60547821 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| F-09 | Corrective | 60604343 | A9B00081228 | SOLENOID VALVE (NC) | 6.00 | PC |
| N-08 | Corrective | 60641627 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| A-09 | Corrective | 60490526 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 1.00 | PC |
| A-06 | Corrective | 60566113 | A9B10101453 | PCB FAN I/O MONITOR OPTICAL | 1.00 | PC |
| F-07 | Corrective | 60566144 | A9B10198293 | Grid delta controller DSP and ethernet | 2.00 | PC |
| E-04 | Corrective | 60541449 | A9B00031001 | BLOW WHEEL F YAW MOTOR | 138.00 | PC |
| F-07 | Corrective | 60566144 | A9B10035533 | House Holder 3Pole 22x58 + Micro Switch | 1.00 | PC |
| G-06 | Corrective | 60651334 | A9B10062897 | Rotating union GAT E M60EPX2-1 w < Mk3 | 1.00 | PC |
| F-08 | Corrective | 60548589 | A9B00018236 | COIL 240VAC 50/60 Hz | 1.00 | PC |
| N-01 | Corrective | 60628218 | A9B00030717 | Inductivesensor With Shielded Cable M18 | 1.00 | PC |
| R-07 | Corrective | 60666289 | A9B00026357 | GREASE BOX F YAW SYSTEM 2,3MW | 1.00 | PC |
| B-06 | Corrective | 60567497 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 3.00 | PC |
| C-02 | Corrective | 60581845 | A9B10027485 | Hose 1/4 " x 2650 L/90 | 1.00 | PC |
| P-03 | Corrective | 60634978 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 2.00 | PC |
| P-04 | Corrective | 60566146 | A9B10076316 | Cable A3-705.W1D L= 3.30M SWT-2.3-xxx | 1.00 | PC |
| E-02 | Corrective | 60578690 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| O-07 | Corrective | 60634976 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 0.00 | PC |
| E-05 | Corrective | 60572997 | A9B00017802 | PT100 3 Wire Class B IEC60751 6M L&S | 1.00 | PC |
| R-03 | Corrective | 60636878 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 1.00 | PC |
| F-08 | Corrective | 60504335 | A9B10087553 | Generator ass. Loher C3, 2.3MW Service | 1.00 | PC |
| J-08 | Corrective | 60577768 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| F-03 | Corrective | 60596786 | A9B10009948 | Poppet valve 3/2 Hawe M27 400bar 70L | 1.00 | PC |
| F-06 | Corrective | 60555427 | A9B00015780 | Bolt M20x80 8.8 ISO4014 tZn | 2.00 | PC |
| K-06 | Corrective | 60530410 | A9B00018417 | Retaining Rope Miller 1M < | 20.00 | PC |
| G-01 | Corrective | 60636838 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| I-08 | Corrective | 60530404 | A9B00020978 | Slave SMPS F 690VAC DELTA ISSUE E | 1.00 | PC |
| K-02 | Corrective | 60607442 | A9B10188933 | STIC PROG. SIMATIC PC627D SW: STIC # | 1.00 | PC |
| P-03 | Corrective | 60672926 | A9B10016421 | Hydraulic hose 1/4" L=1,230M 90GR. f < | 3.00 | PC |
| C-03 | Corrective | 60672935 | A9B10027485 | Hose 1/4 " x 2650 L/90 | 1.00 | PC |
| P-03 | Corrective | 60635227 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| L-07 | Corrective | 60641244 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| O-07 | Corrective | 60632951 | A9B10243059 | Yaw motor w/o brakes w resolver | 1.00 | PC |
| E-07 | Corrective | 60558447 | A9B10056511 | Gear oil 12572 Synthetic 5 gallon < | 36.00 | PC |
| P-03 | Corrective | 60639732 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| O-06 | Corrective | 60541451 | A9B00543237 | RUBBER PLATE 1 F GEN.< 2,3MW | 2.00 | PC |
| D-03 | Corrective | 60594148 | A9B10000703 | TERMINAL WAGO 281-620 4MM2 Double | 7.00 | PC |
| A-06 | Corrective | 60663407 | A9B00095093 | SOLENOID VALVE DSL081ND024LD'NO' | 1.00 | PC |
| F-06 | Corrective | 60555427 | A9B00082119 | Shackle G-4163 WLL 2T | 1.00 | PC |
| L-04 | Corrective | 60656226 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| E-07 | Corrective | 60558447 | A9B00030717 | Inductivesensor With Shielded Cable M18 | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10076319 | Cable A3-705.W1G L= 8.61M SWT-2.3-xxx | 1.00 | PC |
| J-04 | Corrective | 60558446 | A9B10088083 | CORK GASKET F RETURNFILTER BGTS50 | 1.00 | PC |
| G-06 | Corrective | 60528494 | A9B10243059 | Yaw motor w/o brakes w resolver | 1.00 | PC |
| C-05 | Corrective | 60559261 | A9B00036516 | EDGING 15-623 EPDM 3-5MM | 100.00 | M |
| J-04 | Corrective | 60641219 | A9B10043151 | Thermostat -20-+60ºC 230VAC | 1.00 | PC |
| I-09 | Corrective | 60622326 | A9B10027485 | Hose 1/4 " x 2650 L/90 | 2.00 | PC |
| I-01 | Corrective | 60613132 | A9B10009948 | Poppet valve 3/2 Hawe M27 400bar 70L | 1.00 | PC |
| M-07 | Corrective | 60618672 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 1.00 | PC |
| L-04 | Corrective | 60536022 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| L-07 | Corrective | 60538936 | A9B00080279 | MOTOR 10KW 1450 O/M 400/690V | 1.00 | PC |
| O-07 | Corrective | 60523401 | A9B10243059 | Yaw motor w/o brakes w resolver | 1.00 | PC |
| A-04 | Corrective | 60526433 | A9B10243057 | Yaw motor w/o brakes high power | 2.00 | PC |
| P-02 | Corrective | 60584686 | A9B00017554 | THERMAL RELAY TA25DU 4,5-6,5A | 1.00 | PC |
| S-06 | Corrective | 60600452 | A9B10062897 | Rotating union GAT E M60EPX2-1 w < Mk3 | 1.00 | PC |
| F-06 | Corrective | 60600459 | A9B10027485 | Hose 1/4 " x 2650 L/90 | 1.00 | PC |
| R-01 | Corrective | 60672934 | A9B00913165 | Lightning card holder w S. log | 7.00 | PC |
| B-10 | Corrective | 60639735 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| K-09 | Corrective | 60651644 | A9B10243057 | Yaw motor w/o brakes high power | 2.00 | PC |
| D-03 | Corrective | 60594148 | A9B00030554 | Cable 2x1.00 LiHCH 70°C 250V | 2.00 | M |
| P-04 | Corrective | 60566146 | A9B00083099 | END BARRIER WAGO 281340 | 1.00 | PC |
| S-06 | Corrective | 60604237 | A9B10017156 | Line circuit breaker mo325 4A | 1.00 | PC |
| S-05 | Corrective | 60663411 | A9B10037257 | HyHC6286/-/2SC/-/12/SWSA12/SWSA16 | 1.00 | PC |
| A-01 | Corrective | 60568868 | A9B10087553 | Generator ass. Loher C3, 2.3MW Service | 1.00 | PC |
| D-05 | Corrective | 60577081 | A9B00031001 | BLOW WHEEL F YAW MOTOR | 50.00 | PC |
| L-06 | Corrective | 60618674 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 1.00 | PC |
| O-04 | Corrective | 60540375 | A9B00521013 | RUBBER PLATE 2 F GENERATOR SUSPENSION2MW | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B00017968 | SOCKET P2RF-05-F | 1.00 | PC |
| C-05 | Corrective | 60586954 | A9B10028242 | Delta module Skiip III/V3 f type 28 | 2.00 | PC |
| O-09 | Corrective | 60635746 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| K-05 | Corrective | 60640269 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| I-07 | Corrective | 60530408 | A9B00080824 | PISTON ACCUMULAT 0,15L 10BAR (#) | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10257543 | PRG. CF CARD CU320 VER 20180129 HW 3 | 1.00 | PC |
| S-05 | Corrective | 60663411 | A9B10037258 | HyHC6326/-/1SC/-/32/SWSA32/SWSA25 | 1.00 | PC |
| J-02 | Corrective | 60656223 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B00400719 | MAIN COMPUTER WTC3 V301-2-S # | 1.00 | PC |
| A-08 | Corrective | 60565973 | A9B10072309 | FAN 230VAC 1865M3/H 60degC at 50/60Hz | 1.00 | PC |
| G-06 | Corrective | 60651334 | A9B10051701 | Slipring 10-rings GAT ESR70/16/11 L=2.85 | 1.00 | PC |
| A-06 | Corrective | 60593056 | A9B00011567 | OIL RESERVOIR KIT F.YAW-GEAR 11560. | 1.00 | PC |
| M-05 | Corrective | 60530407 | A9B00026875 | PUMP/MOTOR PV4-18 3X690V | 1.00 | PC |
| J-01 | Corrective | 60588523 | A9B10018564 | Adjusting bolt GN 817-10-12-BK-NI | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10076315 | Cable A3-705.W1C L= 5.62M SWT-2.3-xxx | 1.00 | PC |
| P-03 | Corrective | 60634978 | A9B00059166 | LINE CIRCUIT BREAK. MAN. 20-25A< | 1.00 | PC |
| F-05 | Corrective | 60600480 | A9B00052195 | COVER F US DUPLEX RECEPTABLE | 1.00 | PC |
| C-01 | Corrective | 60572986 | A9B10024952 | Fan Filter 230V Installation Size 6 | 2.00 | PC |
| G-07 | Corrective | 60607315 | A9B10023394 | A18/A3 Cabinet/twistlock w double insert | 2.00 | PC |
| A-06 | Corrective | 60566113 | A9B10095239 | FAN FOR CUBICLE 230VAC | 1.00 | PC |
| O-03 | Corrective | 60622100 | A9B10101453 | PCB FAN I/O MONITOR OPTICAL | 2.00 | PC |
| N-01 | Corrective | 60615680 | A9B00554616 | GEN. MOUNTED 2,3MW MK2 US | 1.00 | PC |
| P-05 | Corrective | 60506751 | A9B00015780 | Bolt M20x80 8.8 ISO4014 tZn | 2.00 | PC |
| F-06 | Corrective | 60555427 | A9B10069006 | Ergogrip positioning rope | 1.00 | PC |
| F-09 | Corrective | 60604343 | A9B00913165 | Lightning card holder w S. log | 2.00 | PC |
| G-07 | Corrective | 60581841 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| L-04 | Corrective | 60599942 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| N-04 | Corrective | 60575939 | A9B10035519 | Fuse 250A 1250VAC GE standard PSC Blades | 4.00 | PC |
| F-07 | Corrective | 60566144 | A9B10101453 | PCB FAN I/O MONITOR OPTICAL | 2.00 | PC |
| G-06 | Corrective | 60650139 | A9B10088083 | CORK GASKET F RETURNFILTER BGTS50 | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B00030554 | Cable 2x1.00 LiHCH 70°C 250V | 50.00 | M |
| P-04 | Corrective | 60566146 | A9B00054163 | COUNTER NUT F M16 W EDGE F EMC | 8.00 | PC |
| L-05 | Corrective | 60652625 | A9B10071806 | Twisted retrofit bracket for Yaw platfor | 1.00 | PC |
| O-02 | Corrective | 60666286 | A9B10016421 | Hydraulic hose 1/4" L=1,230M 90GR. f < | 3.00 | PC |
| P-03 | Corrective | 60599944 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| C-05 | Corrective | 60630409 | A9B10232100 | HP G8 300GB SAS 15K rpm SFF 2,5" | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10076481 | Yaw breaking module 6 channels | 1.00 | PC |
| C-03 | Corrective | 60671276 | A9B00017559 | CONTACTOR A12-30-10/230 ABB | 1.00 | PC |
| R-03 | Corrective | 60663453 | A9B10164692 | Inline pump-motor unit 60Hz | 1.00 | PC |
| M-03 | Corrective | 60657421 | A9B10018564 | Adjusting bolt GN 817-10-12-BK-NI | 1.00 | PC |
| E-07 | Corrective | 60558447 | A9B10028242 | Delta module Skiip III/V3 f type 28 | 4.00 | PC |
| I-07 | Corrective | 60622327 | A9B10024952 | Fan Filter 230V Installation Size 6 | 1.00 | PC |
| F-07 | Corrective | 60566144 | A9B10034212 | Pre-charge contactor | 1.00 | PC |
| F-06 | Corrective | 60555427 | A9B10020084 | Contact block 1NO+1NC HKF-11 | 1.00 | PC |
| F-06 | Corrective | 60555427 | A9B00020061 | OIL ABSORBER ROLL 210MMX50M | 400.00 | M |
| O-04 | Corrective | 60613072 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 1.00 | PC |
| O-05 | Corrective | 60540376 | A9B00543237 | RUBBER PLATE 1 F GEN.< 2,3MW | 2.00 | PC |
| P-04 | Corrective | 60566146 | A9B10076314 | Cable A3-705.W1B L= 3.54M SWT-2.3-xxx | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10076320 | Cable A3-705.W1H L= 2.41M SWT-2.3-xxx | 1.00 | PC |
| J-08 | Corrective | 60643921 | A9B10243057 | Yaw motor w/o brakes high power | 2.00 | PC |
| G-07 | Corrective | 60487924 | A9B00400437 | GEN. 2300KW VS, 690V ABB, C3 | -1.00 | PC |
| F-06 | Corrective | 60555427 | A9B00913165 | Lightning card holder w S. log | 2.00 | PC |
| H-01 | Corrective | 60512943 | A9B10056511 | Gear oil 12572 Synthetic 5 gallon < | 48.00 | PC |
| I-09 | Corrective | 60613074 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 1.00 | PC |
| P-01 | Corrective | 60671527 | A9B10027485 | Hose 1/4 " x 2650 L/90 | 2.00 | PC |
| K-06 | Corrective | 60530410 | A9B00080824 | PISTON ACCUMULAT 0,15L 10BAR (#) | 1.00 | PC |
| E-04 | Corrective | 60605690 | A9B10043235 | Computer M-system MKII 6 channels | 1.00 | PC |
| O-02 | Corrective | 60577771 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10084868 | Relay Contactor 6NO+2NC 230V AC 50/60Hz | 1.00 | PC |
| M-06 | Corrective | 60495316 | A9B10144676 | Cables MKI-MKII upgrade kit 8 ch | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10076313 | Cable A3-705.W1A L= 5.56M SWT-2.3-xxx | 1.00 | PC |
| L-07 | Corrective | 60624080 | A9B10188933 | STIC PROG. SIMATIC PC627D SW: STIC # | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B00017418 | RELAY K908 G2R-1-SND-24DC | 1.00 | PC |
| C-05 | Corrective | 60630409 | A9B10243059 | Yaw motor w/o brakes w resolver | 1.00 | PC |
| B-09 | Corrective | 60560320 | A9B00080824 | PISTON ACCUMULAT 0,15L 10BAR (#) | 1.00 | PC |
| G-07 | Corrective | 60636870 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| J-04 | Corrective | 60558446 | A9B10239945 | Glideloc univ II wind fall arrester USA | 1.00 | PC |
| N-04 | Corrective | 60575939 | A9B10205292 | Shroud delta barrier, back to back > | 1.00 | PC |
| F-03 | Corrective | 60596786 | A9B10024952 | Fan Filter 230V Installation Size 6 | 1.00 | PC |
| L-07 | Corrective | 60538936 | A9B10204558 | Coupling pump 38/45.25H7 cast iron | 1.00 | PC |
| G-06 | Corrective | 60651334 | A9B10037257 | HyHC6286/-/2SC/-/12/SWSA12/SWSA16 | 1.00 | PC |
| R-10 | Corrective | 60596648 | A9B00026946 | MOTOR FOR 26943 CC JENSEN 60HZ | 1.00 | PC |
| P-03 | Corrective | 60634978 | A9B00017511 | CONTACTOR A16-30-10/230 ABB | 1.00 | PC |
| P-03 | Corrective | 60634978 | A9B00018219 | COIL 15AM 101 903 R230 | 1.00 | PC |
| A-06 | Corrective | 60593056 | A9B10101453 | PCB FAN I/O MONITOR OPTICAL | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B00020977 | Master SMPS F 690VAC DELTA ISSUE E | 1.00 | PC |
| S-06 | Corrective | 60581816 | A9B10088083 | CORK GASKET F RETURNFILTER BGTS50 | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10358171 | Motor module 45A | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10011145 | Overload Relay 200A-330A -TYPE: LR9-F735 | 1.00 | PC |
| M-07 | Corrective | 60660084 | A9B00018219 | COIL 15AM 101 903 R230 | 2.00 | PC |
| D-03 | Corrective | 60594148 | A9B00015774 | Bolt M16x170 10.9 ISO4014 tZn | 3.00 | PC |
| F-07 | Corrective | 60566144 | A9B10035526 | MCCB 250A 3 Pole T4HD 250 PR222DS/P LSIG | 1.00 | PC |
| H-03 | Corrective | 60613070 | A9B00017128 | DRAIN VALVE DN10 | 1.00 | PC |
| J-08 | Corrective | 60577768 | A9B00018030 | Emergency Relay PNOZXV3 24VDC 4.5W | 1.00 | PC |
| N-04 | Corrective | 60575939 | A9B10028242 | Delta module Skiip III/V3 f type 28 | 5.00 | PC |
| F-07 | Corrective | 60566144 | A9B10035524 | Surge Arrester Type 2 Base Unit | 3.00 | PC |
| G-06 | Corrective | 60640274 | A9B10140432 | Avanti Climb Sensor | 1.00 | PC |
| P-05 | Corrective | 60506751 | A9B00054006 | NEON TUBE 18W/84 Color 840 | 5.00 | PC |
| J-01 | Corrective | 60551836 | A9B00052195 | COVER F US DUPLEX RECEPTABLE | 1.00 | PC |
| L-07 | Corrective | 60624098 | A9B10188933 | STIC PROG. SIMATIC PC627D SW: STIC # | 1.00 | PC |
| J-01 | Corrective | 60547872 | A9B10088083 | CORK GASKET F RETURNFILTER BGTS50 | 1.00 | PC |
| B-03 | Corrective | 60497211 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 1.00 | PC |
| I-04 | Corrective | 60544587 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| J-05 | Corrective | 60578694 | A9B10243059 | Yaw motor w/o brakes w resolver | 1.00 | PC |
| I-09 | Corrective | 60586963 | A9B10028242 | Delta module Skiip III/V3 f type 28 | 3.00 | PC |
| M-04 | Corrective | 60593048 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| D-03 | Corrective | 60671525 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 1.00 | PC |
| P-03 | Corrective | 60635230 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| O-07 | Corrective | 60636833 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 0.00 | PC |
| B-10 | Corrective | 60624026 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| C-03 | Corrective | 60671276 | A9B10164692 | Inline pump-motor unit 60Hz | 1.00 | PC |
| D-05 | Corrective | 60569620 | A9B10033257 | Aviation obs.light for 1xOrga L350 | 1.00 | PC |
| D-03 | Corrective | 60594148 | A9B00095067 | MOUNTING PARTS F GAT ROTATING | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B00030940 | Joint socket 2.5Q single | 16.00 | PC |
| F-07 | Corrective | 60566144 | A9B10035532 | Fuse Holder 3Pole 22x58 | 3.00 | PC |
| M-06 | Corrective | 60495316 | A9B10043235 | Computer M-system MKII 6 channels | 1.00 | PC |
| F-08 | Corrective | 60504335 | A9B00400437 | GEN. 2300KW VS, 690V ABB, C3 | -1.00 | PC |
| B-07 | Corrective | 60526471 | A9B00081353 | Hydraulic pump 60Hz - 12cm/r | 1.00 | PC |
| B-01 | Corrective | 60656179 | A9B00020977 | Master SMPS F 690VAC DELTA ISSUE E | 1.00 | PC |
| R-02 | Corrective | 60542808 | A9B00543237 | RUBBER PLATE 1 F GEN.< 2,3MW | 2.00 | PC |
| P-04 | Corrective | 60657689 | A9B00080218 | Brake pad sinter "MIBA" 1 set | 2.00 | PC |
| D-03 | Corrective | 60594148 | A9B10155832 | Line module 16kW SML SINAMICS | 1.00 | PC |
| H-04 | Corrective | 60595520 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| G-07 | Corrective | 60487924 | A9B00554616 | GEN. MOUNTED 2,3MW MK2 US | 1.00 | PC |
| F-07 | Corrective | 60566144 | A9B10163914 | Retrofit Power Supply G2 | 1.00 | PC |
| O-04 | Corrective | 60540375 | A9B00543237 | RUBBER PLATE 1 F GEN.< 2,3MW | 2.00 | PC |
| L-07 | Corrective | 60538936 | A9B10208827 | Coupling motor cast iron 38/45 38H7 | 1.00 | PC |
| M-05 | Corrective | 60522819 | A9B00021051 | CONTACTOR 230VAC 3NO 400A | 1.00 | PC |
| P-04 | Corrective | 60672731 | A9B10009948 | Poppet valve 3/2 Hawe M27 400bar 70L | 1.00 | PC |
| C-05 | Corrective | 60559261 | A9B00018030 | Emergency Relay PNOZXV3 24VDC 4.5W | 1.00 | PC |
| K-02 | Corrective | 60651619 | A9B10243057 | Yaw motor w/o brakes high power | 2.00 | PC |
| P-04 | Corrective | 60566146 | A9B10000703 | TERMINAL WAGO 281-620 4MM2 Double | 1.00 | PC |
| O-04 | Corrective | 60666288 | A9B00031136 | CIRCUIT BREAKER 1P 4A | 1.00 | PC |
| A-06 | Corrective | 60663407 | A9B10037256 | HyHC3039/-/1SC/-/32/SWSA32/SWES32 | 1.00 | PC |
| P-05 | Corrective | 60506751 | A9B00016840 | Washer M24 200-ST ISO7090 tZn | 4.00 | PC |
| F-06 | Corrective | 60555427 | A9B00088511 | RUBBER STOP FOR HOOK ABB | 1.00 | PC |
| J-01 | Corrective | 60526813 | A9B00400437 | GEN. 2300KW VS, 690V ABB, C3 | -1.00 | PC |
| B-05 | Corrective | 60577087 | A9B00020977 | Master SMPS F 690VAC DELTA ISSUE E | 1.00 | PC |
| C-05 | Corrective | 60559261 | A9B00018193 | SENSOR PT100 PEAS 4456,1 T.48 | 1.00 | PC |
| F-07 | Corrective | 60566144 | A9B10062101 | PCB DELTA CONTROLLER New Xylinx chipset> | 1.00 | PC |
| G-01 | Corrective | 60636879 | A9B10003353 | ACTUATOR FOR 3 WAY WATER VALVE DN50 | 1.00 | PC |
| G-07 | Corrective | 60607316 | A9B00082157 | OPERATING LEVER F TACKLE B2M < | 1.00 | PC |
| F-07 | Corrective | 60566144 | A9B10035525 | MCCB 250A 3 Pole T4HD 250 FF 3P | 1.00 | PC |
| J-01 | Corrective | 60526813 | A9B10087553 | Generator ass. Loher C3, 2.3MW Service | 1.00 | PC |
| M-07 | Corrective | 60660084 | A9B10011612 | Conductor brush holder f blade bearing | 1.00 | PC |
| A-07 | Corrective | 60514021 | A9B10248237 | Hose Clamp 58-62mm 1,0mm w.spring packet | 2.00 | PC |
| N-05 | Corrective | 60613059 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 1.00 | PC |
| D-06 | Corrective | 60594366 | A9B10253262 | UL FT 2X11 LED.ST EM FH TW | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10076317 | Cable A3-705.W1E L= 6.06M SWT-2.3-xxx | 1.00 | PC |
| P-03 | Corrective | 60639732 | A9B10011583 | Oil absorber felt, w: 840, l: 180 | 376.00 | PC |
| D-06 | Corrective | 60594159 | A9B10101453 | PCB FAN I/O MONITOR OPTICAL | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| P-04 | Corrective | 60577770 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| H-02 | Corrective | 60650180 | A9B10243057 | Yaw motor w/o brakes high power | 2.00 | PC |
| O-04 | Corrective | 60666288 | A9B00031135 | CIRCUIT BREAKER 1P 6A C60N UL | 1.00 | PC |
| O-06 | Corrective | 60668050 | A9B00015780 | Bolt M20x80 8.8 ISO4014 tZn | 1.00 | PC |
| R-02 | Corrective | 60632949 | A9B10018564 | Adjusting bolt GN 817-10-12-BK-NI | 1.00 | PC |
| H-06 | Corrective | 60621248 | A9B10188933 | STIC PROG. SIMATIC PC627D SW: STIC # | 1.00 | PC |
| J-06 | Corrective | 60627312 | A9B00095424 | LIGHTNING CARD OBO BETTERMAN | 1.00 | PC |
| B-07 | Corrective | 60526471 | A9B00081361 | COUPLING HOUSING | 1.00 | PC |
| A-06 | Corrective | 60593056 | A9B10003353 | ACTUATOR FOR 3 WAY WATER VALVE DN50 | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10024434 | EMERGENCY LAMP 2X18W 110-230V/50-60HZ | 1.00 | PC |
| A-06 | Corrective | 60566113 | A9B00083161 | SMOKE DETECTOR S65 OPTICAL | 1.00 | PC |
| D-03 | Corrective | 60594148 | A9B00030109 | Cable 3x2x0.50 LiHCH 70°C 250V | 2.00 | M |
| D-03 | Corrective | 60594148 | A9B00083161 | SMOKE DETECTOR S65 OPTICAL | 1.00 | PC |
| P-03 | Corrective | 60639732 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10252986 | Yaw motor 50Hz 2.5KW G2 Hybrid w encoder | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B00011393 | Cable gland M16 x1.5mm EMV/L Thread 10mm | 17.00 | PC |
| R-10 | Corrective | 60596648 | A9B10024952 | Fan Filter 230V Installation Size 6 | 1.00 | PC |
| A-07 | Corrective | 60650132 | A9B10011145 | Overload Relay 200A-330A -TYPE: LR9-F735 | 1.00 | PC |
| G-01 | Corrective | 60586752 | A9B10006955 | I/O-1 modul WTC3 V302-1.xx | 1.00 | PC |
| L-07 | Corrective | 60538936 | A9B10204555 | Rubber spider 38/45 PUR 98 shore A | 1.00 | PC |
| B-09 | Corrective | 60593054 | A9B00026251 | PRESSURE RELEASE VALVE 1" 3,5 BAR | 1.00 | PC |
| O-09 | Corrective | 60635743 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| P-04 | Corrective | 60657689 | A9B00032900 | Wire Clips Fo-33 For 32910 | 3.00 | PC |
| D-03 | Corrective | 60594148 | A9B00913165 | Lightning card holder w S. log | 3.00 | PC |
| K-06 | Corrective | 60651603 | A9B10009948 | Poppet valve 3/2 Hawe M27 400bar 70L | 1.00 | PC |
| J-04 | Corrective | 60558446 | A9B10139126 | Skylotec Sky safe II dobbelt fall arrest | 12.00 | PC |
| C-02 | Corrective | 60660085 | A9B00026357 | GREASE BOX F YAW SYSTEM 2,3MW | 1.00 | PC |
| J-06 | Corrective | 60627312 | A9B00913165 | Lightning card holder w S. log | 1.00 | PC |
| S-06 | Corrective | 60600452 | A9B10037258 | HyHC6326/-/1SC/-/32/SWSA32/SWSA25 | 2.00 | PC |
| C-08 | Corrective | 60673639 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| J-06 | Corrective | 60498092 | A9B10003353 | ACTUATOR FOR 3 WAY WATER VALVE DN50 | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B00030660 | CABLE 1X 0,75MM2 H05V2-K RED | 3.00 | M |
| P-03 | Corrective | 60545752 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 2.00 | PC |
| C-09 | Corrective | 60593053 | A9B10027485 | Hose 1/4 " x 2650 L/90 | 1.00 | PC |
| G-01 | Corrective | 60633193 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B00080218 | Brake pad sinter "MIBA" 1 set | 2.00 | PC |
| M-04 | Corrective | 60657692 | A9B10088083 | CORK GASKET F RETURNFILTER BGTS50 | 1.00 | PC |
| D-03 | Corrective | 60594148 | A9B00018356 | COMMUNICAT. CARD RS485 INTERFACE WTC2... | 4.00 | PC |
| H-06 | Corrective | 60597810 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| G-01 | Corrective | 60605685 | A9B10027485 | Hose 1/4 " x 2650 L/90 | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10249826 | Yaw motor w 25Nm brake hybrid yaw | 7.00 | PC |
| N-01 | Corrective | 60615680 | A9B00400437 | GEN. 2300KW VS, 690V ABB, C3 | 0.00 | PC |
| F-06 | Corrective | 60555427 | A9B10071533 | Circuit break, 1P K6A | 1.00 | PC |
| S-05 | Corrective | 60663411 | A9B10051701 | Slipring 10-rings GAT ESR70/16/11 L=2.85 | 1.00 | PC |
| F-09 | Corrective | 60604343 | A9B00095424 | LIGHTNING CARD OBO BETTERMAN | 2.00 | PC |
| S-06 | Corrective | 60604237 | A9B00201243 | AUXILIARY CONTACT HKF-20 2 SL | 1.00 | PC |
| J-03 | Corrective | 60626676 | A9B10024952 | Fan Filter 230V Installation Size 6 | 2.00 | PC |
| O-09 | Corrective | 60636865 | A9B10003353 | ACTUATOR FOR 3 WAY WATER VALVE DN50 | 1.00 | PC |
| B-04 | Corrective | 60659860 | A9B00081228 | SOLENOID VALVE (NC) | 6.00 | PC |
| P-04 | Corrective | 60566146 | A9B00052587 | PAD RETRACTION SPRING SET F > | 2.00 | PC |
| M-07 | Corrective | 60660084 | A9B00059165 | LINE CIRCUIT BREAK. MAN. 1,6-2,5A< | 1.00 | PC |
| A-01 | Corrective | 60568868 | A9B00400437 | GEN. 2300KW VS, 690V ABB, C3 | 0.00 | PC |
| O-07 | Corrective | 60634927 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B00030717 | Inductivesensor With Shielded Cable M18 | 1.00 | PC |
| N-08 | Corrective | 60541454 | A9B00543237 | RUBBER PLATE 1 F GEN.< 2,3MW | 4.00 | PC |
| M-07 | Corrective | 60496052 | A9B00026875 | PUMP/MOTOR PV4-18 3X690V | 1.00 | PC |
| D-03 | Corrective | 60594148 | A9B10049503 | Press. pipe pump t bulkhead SWT2.3-101 < | 1.00 | PC |
| G-05 | Corrective | 60605836 | A9B10027485 | Hose 1/4 " x 2650 L/90 | 1.00 | PC |
| A-07 | Corrective | 60650132 | A9B00018236 | COIL 240VAC 50/60 Hz | 1.00 | PC |
| F-08 | Corrective | 60548589 | A9B00021051 | CONTACTOR 230VAC 3NO 400A | 1.00 | PC |
| B-01 | Corrective | 60656179 | A9B10028242 | Delta module Skiip III/V3 f type 28 | 0.00 | PC |
| D-02 | Corrective | 60581818 | A9B10072309 | FAN 230VAC 1865M3/H 60degC at 50/60Hz | 1.00 | PC |
| F-05 | Corrective | 60600480 | A9B10009948 | Poppet valve 3/2 Hawe M27 400bar 70L | 1.00 | PC |
| G-03 | Corrective | 60663448 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| A-07 | Corrective | 60650132 | A9B00021051 | CONTACTOR 230VAC 3NO 400A | 1.00 | PC |
| O-06 | Corrective | 60668050 | A9B10009948 | Poppet valve 3/2 Hawe M27 400bar 70L | 1.00 | PC |
| J-03 | Corrective | 60528488 | A9B10243057 | Yaw motor w/o brakes high power | 1.00 | PC |
| L-07 | Corrective | 60657574 | A9B10018564 | Adjusting bolt GN 817-10-12-BK-NI | 1.00 | PC |
| J-06 | Corrective | 60627312 | A9B10027485 | Hose 1/4 " x 2650 L/90 | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10076318 | Cable A3-705.W1F L= 3.00M SWT-2.3-xxx | 1.00 | PC |
| L-08 | Corrective | 60577769 | A9B10053862 | Yaw gear w gear wheel 2.3MW | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B10027038 | Mains Voltage Monitor unit | 1.00 | PC |
| P-04 | Corrective | 60566146 | A9B00030665 | CABLE 1X 0,75MM2 H05V2-K BLUE | 3.00 | M |
| P-04 | Corrective | 60566146 | A9B00030942 | Crown socket 2.5mm2 | 2.00 | PC |
| H-04 | Corrective | 60595520 | A9B00015780 | Bolt M20x80 8.8 ISO4014 tZn | 1.00 | PC |
| D-09 | Corrective | 60595563 | A9B00026875 | PUMP/MOTOR PV4-18 3X690V | 1.00 | PC |
| N-02 | Corrective | 60537973 | A9B00543237 | RUBBER PLATE 1 F GEN.< 2,3MW | 2.00 | PC |
| G-06 | Corrective | 60651334 | A9B10037258 | HyHC6326/-/1SC/-/32/SWSA32/SWSA25 | 1.00 | PC |
| B-01 | Corrective | 60656179 | A9B10035519 | Fuse 250A 1250VAC GE standard PSC Blades | 6.00 | PC |
| R-01 | Corrective | 60672934 | A9B00095424 | LIGHTNING CARD OBO BETTERMAN | 7.00 | PC |

In Progress

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Turbine** | **Order Type** | **Maintenance Activity Type** | **Order Number** | **Order Description** | **Creation Date** | **Last Hours Booking** |
| T1234567 | Corrective | MINOR | 60780156 | Nacelle\_Oil Supply System\_Air Filter mis | 2023-01-01 | 2023-01-01 |

Modernization/Upgrade

Completed Retrofits

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Turbine** | **Retrofit Type ID** | **Activity Type** | **Order Number** | **Order Description** | **Planned Start Date** | **Actual Start Date** | **Actual End Date** | **TECO Date** | **Total Hours** |
| T1234567 | B900000 | Snagging | 60780156 | Nacelle\_Oil Supply System\_Air Filter mis | 2023-01-01 | 2023-01-01 | 2023-12-31 | 2023-12-31 | 1000.00 |

Parts Consumed for Completed Retrofits

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Turbine** | **Retrofit Type ID** | **Order Number** | **Material Number** | **Material Description** | **Total Quantity** | **Unit** |
| T1234567 | B900000 | 60780156 | A9BAD428142 | Flat seal, DIN EN 1514-1, DN 65, PN 40 | 1000.00 | PC |

Environment, Health and Safety Performance

(placeholder section for EHS info)

Signed on behalf of:

[CONTRACTOR]

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_ Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Place: \_\_\_\_\_\_\_\_\_\_\_\_\_ Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

This monthly report including data of Availability and production has been received and accepted as correct and valid.

Signed on behalf of:

[EMPLOYER]

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_ Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Place: \_\_\_\_\_\_\_\_\_\_\_\_\_ Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_